## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of electrification & giving new connection to various consumers in the area of EUDD-I,Ghaziabad by running Tender (Deposit Scheme) under the jurisdiction of EE, EUDD-I, GZB.
Tender no. 46/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Cartage of ST /PCC meter long from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001113 | 70 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Cartage of 25/63/100 KVA T/F from store center Meerut road GZB to different site including loading and unloading at both side | BI01010001010000000000000515BI0100001114 | 30 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Cartage of 11 KV CT/PT unit from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001115 | 15 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Cartage of 11 KV metering cubical from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001116 | 15 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cartage of 11 KV XLPE cable 3x70/120/185 mm from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001117 | 800 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Cartage of line material ,pin insulator, PVC cable, LT cable ABC channel ,TPMO ,FUSE Set ,stay, ACSR dog and weasel conductor and other line material from store center Meerut road GZB to different site including loading and unloading at both side, | BI01010001010000000000000515BI0100001118 | 15 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Erection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001119 | 35 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Erection of Single pole with ST/PCC pole after digging of pits in proper size 1500x600x500 MM and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001114 | 10 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Fixing of 11 KV CT/PT unit on D/P complete work in all respect | BI01010001010000000000000515BI0100001115 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Fixing of 11 KV metering cubical in meter room complete work in all respect | BI01010001010000000000000515BI0100001116 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Dismantling of old T/F 25/63/100 KVA and cartage from site JE store | BI01010001010000000000000515BI0100001117 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Digging of cable trench inproper size for laying of 11 KV XLPE cable & complete works in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001118 | 650 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | safe Lying of 11 KV XLPE cable size 3x70/120/185 mm2 in cable trench & beck refiling eath in the cable tranch up to grounf level complete works in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001114 | 650 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Filling of 11 KV cable jointing kit size 3x70/120/185 mm2 & complete works in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001115 | 25 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Paint of pole complete work in all respect as per RESPO norms. complete work in all respect | BI01010001010000000000000515BI0100001114 | 80 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Earthing of pole with M S earth road complete work in all respect | BI01010001010000000000000515BI0100001115 | 80 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Concreting of ST pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001116 | 80 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Lying stringing and proper sagging of ACSR weasel conductor in 11 KV/LT line & complete work in all respect | BI01010001010000000000000515BI0100001117 | 1500 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | placing of 25/63/100 KVA T/F on D/P with the helo of crane | BI01010001010000000000000515BI0100001118 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Earthing of 11/0.4 KV T/F with suitable G.I.Pipe and fixing suitable G I stripe including all material complete work in all respect | BI01010001010000000000000515BI0100001119 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | dimentling of old CT/PT unit on D/P after removing of all connection and cartage from site to JE store | BI01010001010000000000000515BI0100001114 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | dimentling of old metring cubical after removing of all connection and cartage from site to JE store | BI01010001010000000000000515BI0100001115 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Fixing of all assoserieses (Top channel, dropper channel, Insulator) on double pole & complete work in all respect. | BI01010001010000000000000515BI0100001116 | 15 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | fixing and providing of all type of MS pole clamps | BI01010001010000000000000515BI0100001117 | 250 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | fixing and providing of defrent size of nut & bolt with washer | BI01010001010000000000000515BI0100001118 | 75 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Laying of LT PVC Cable size 3x70/150/240 mm complete work in all respect | BI01010001010000000000000515BI0100001114 | 250 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Grouting of stay set after digging of pits in proper size and grouting in Ratio 1:4:8 with cement, sand and concrete as per norms of nigam & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001115 | 10 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Dismantling of old ST pole and all fitting on pole and all connection and conductor Span and cartage from site to JE store | BI01010001010000000000000515BI0100001114 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Dismantling of old PCC pole and all fitting on pole and all connection and conductor Span | BI01010001010000000000000515BI0100001115 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Fixing of G I strip from T/F to earthing pipe with electrick welding & complete work in all respect | BI01010001010000000000000515BI0100001116 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | laying and providing of HDPE pipe pipe laying with trenchless system & complete work in all respect as per norms | BI01010001010000000000000515BI0100001117 | 50 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Safe Lying of 11 KV XLPE cable size 3x70/120/185 mm2 in HDPE pipe with trenchless system complete works in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001118 | 50 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | placing of 25/63/100 KVA T/F on Plinth/chair with the helo of crane | BI01010001010000000000000515BI0100001119 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Work related shifting of PCC/STP/TF Pole including carriage of material from store to site. | BI01010001010000000000000515BI0100001114 | 20 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Work related shifting of Double Pole/TF including carriage of material from store to site. | BI01010001010000000000000515BI0100001115 | 25 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Guarding of 11KV/33KV line with fixing of MS Angle complete with all respect | BI01010001010000000000000515BI0100001116 | 500 | Meter |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information