## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : Work of Installation of new VCB at various site Under Business Plan Scheme 2023-24 on Semi Turnkey Basis in the Area of EE, EUDD-I EUDD-V and EUDD-IX Ghaziabad. Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 73/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of XLPE Cable 3x300sqmm from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 156 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 11 KV VCB I/C CTR 600/300/5A,350 MVA,24 volt from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 10 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of 11 KV VCB For O/G CTR 200/100/5A,350 Mva, from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 24 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Carriage of 11 KV VCB For O/G CTR 600/300/5A,350 Mva, from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Carriage of 11 KV BUS COUPLER from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001117 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Carriage of 33 KV VACCUM CIRCUIT BREAKER 1250 AMP from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Carriage of Control Pannel I/C for 33KV VCB Double T/F from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Carriage of CT 400/200/1 from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Carriage of 33 KV VCB 1250Amp from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Carriage of PT 33KV Outdoor(33KV/110) from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001116 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Dismantling of 11 KV VCB Outgoing 200/100/5A, 350 MVA and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001117 | 10 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Dismantling of 11 KV VCB Incomming 600/300/5,350 MVA and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Dismantling of 11 KV VCB I/C CTR 600/300/5A,350 MVA,24 volt and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001114 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Dismantling of 11 KV VCB O/G CTR 600/300/5A,350 MVA,24 volt and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001115 | 7 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Dismantling of 11 KV VCB For O/G CTR 200/100/5A,350 Mva, and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001116 | 14 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Dismantling of 11 KV BUS COUPLER and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Dismantling of 33 KV VACCUM CIRCUIT BREAKER 1250 AMP and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001118 | 5 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Safely placing/Fixing & Commissioning 11 KV VCB I/C CTR 600/300/5A,350 MVA,24 volt at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 10 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Safely placing/Fixing & Commissioning 11 KV VCB For O/G CTR 200/100/5A,350 Mva, at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 24 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Safely placing/Fixing & Commissioning 11 KV VCB For O/G CTR 600/300/5A,350 Mva, at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 6 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Safely placing/Fixing & Commissioning 11 KV BUS COUPLER at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Safely placing/Fixing & Commissioning 33 KV VACCUM CIRCUIT BREAKER 1250 AMP at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Safely placing/Fixing & Commissioning Control Pannel I/C for 33KV VCB Double T/F at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Safely placing/Fixing & Commissioning CT 400/200/1 at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Safely placing/Fixing & Commissioning 33 KV VCB 1250Amp at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Safely placing/Fixing & Commissioning PT 33KV Outdoor(33KV/110) at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Laying, Lifting and sagging of 11 kv XLPE cable 3x300 sqmm at various site with all accessories complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 156 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Providing and 11 KV Deep Water Level Earthing at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Supply & fixing Nut & Bolt off size at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 20 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Supply & fixing 4x2.5 sqmm Control Cable Armoured at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001119 | 300 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Supply & fixing 2x2.5 sqmm Control Cable at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 300 | Mtr |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Supply & fixing Outdoor Cable Box J/K 3x300 sqmm at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 12 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Providing and Construction of Plinth Foundation of VCB at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Supply & fixing Steel Structure at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 11 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Supply & fixing 33KV TPMO Set at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Providing and Panting of Substation Structure at site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001115 | 9 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information