SPECIAL CONDITIONS FOR TENDER SPECIFICATION NO. PVVNL-MT/COM/18(s)/22-23

1.  Sample: Bidders are required to submit four samples of their offered meter and BCS software within the 5 days of the date of opening of part-1 of the tender. Price-bid (Tender Part-II) of only those tenderers shall be opened whose samples are found in order.

2.  	In suppression to clause 30 of General Conditions of Contract ‘Form B’ the guarantee period of the meters shall be For a period of 60 (sixty) calendar months commencing immediately upon the setting to work of the plant or of 66 (sixty six) months from the date of receipt of meters by the Purchaser at site whichever is earlier, called the Maintenance period", the Contractor shall remain liable to replace any defective parts that may develop in plants of his own manufacture under conditions provided for by the Contract under proper use and arising, solely from faulty designs, materials or workmanship. PROVIDED ALWAYS that such defective parts as are not reparable at site and are not essential in the meantime to the maintenance in commercial use to the plant are promptly returned to the Contractor's work at the expense of the contractor unless otherwise arranged. In case any meter becomes defective with in guarantee period it shall further be guaranteed for 60 months from date of returning after repair replacement Bidder shall further be responsible for free replacement at site for another period of three years from the end of guarantee period for any latent defects if noticed and reported by the purchaser.

If any defect be not remedied within a reasonable time the Purchaser may proceed to do the work at the Contractor's risk and expense, but without prejudice to any other rights, which the Purchase may have against the Contractor in respect of such defects.

3.	The manufacturer on receipt of damage report from consignee shall ensure to lift the damaged meters within in fifteen (15) days of such notice and in case, the repair work / replacement of meter is not affected within thirty (30) days, the consignees will ensure deduction of the amount equal to the price of new meter from pending bills of the Contractor. Such defaults should be taken into consideration by the consignee while evaluating and reporting the performance of the contractor.

4.   AFTER SALES SERVICE: The tenderer/supplier shall provide proper and prompt after sale services and in case any query /meter is sent to them, the desired information /report /analysis report etc. shall be given back within maximum 30 days. Moreover, in case of any ambiguity /problem found at the site of any consumer the supplier shall sent their authorized engineer within maximum one week of receiving the complaint from the concerning EE. (Test). In case the after sales service is not properly attended to the satisfaction of purchaser, the cost of such meters may be recovered from the amount available /security/performance guarantee. The supplier should no te carefully that in case repeated complaints from various EE (TEST) are received about non-compliance of above clause, the supplier may be debarred for the next tender.

- The Security amount shall be 5% in place of 1% mentioned elsewhere in the tender specification and shall supersede all such elaborations.

- Price Fall Back: If certain quantity of the equipment ordered under this specification remains unsupplied up to finalization of next/subsequent tender, lowest of the prices of this tender and the subsequent tender shall be payable for balance unsupplied material. In case the tenderer do not agree to supply the balance unsupplied quantity at the lower rates received in new tender, the unsupplied tendered quantity will be cancelled without prejudice.

- The firm will make some special efforts to design the meters in such a way that the problem of “No Display Meter” should not occur & in case of occurrence of such events the firm will preferably apply the entire process of recovering meter reading from such meter in the Departmental Modern Automatic Meter Test Lab at Ganga Nagar Meerut in the presence of the nominated officers of PVVNL but if it is not possible to recover the meter reading from such meters in the departmental lab safely & accurately then the firm may recover the reading in their lab & will provide the same to PVVNL at the earliest. The Firm will provide at least 10 Zig for recovery of meter reading in the departmental lab safely & accurately.

8. In case on receipt of inspection call from the firm after agreement, the material is not found ready or not as per GTP/Drawing/Technical Specification and relevant IS by the inspection team of PVVNL at the works of firm/manufacturer, the penal charges for such futile journeys  shall be levied  as per following:

| 1. | Location of firms works upto a distance of 1000 Kms. from PVVNL headquarter-Meerut | - | Rs. 35,000.00 |
| --- | --- | --- | --- |
| 2. | Location of firms works above distance of 1000 Kms. from PVVNL headquarter-Meerut. | - | Rs. 40,000.00 |

The re-inspection call shall be entertained only after submission of futile journey charges by the firm in the form of demand draft in the name of Managing Director, PVVNL-Meerut and payable at Meerut. The firm shall be responsible for delay in supply of material due to futile journey as above.

The above shall be applicable with the following conditions:

- The firm shall be allowed to withdraw or defer the inspection call only once during the currency of the contract.

- If after withdrawing or deferment of inspection call once as mentioned in (a) above, firm again withdraws or defers inspection call due to reasons beyond their control, the Managing Director, PVVNL-Meerut may waive off the above penalty on merit.

The futile journey charges shall be allowed maximum two times. In case of failure of inspection twice, the action against the firm shall be taken as per rules.

These Special Conditions shall be read and construed along with the general conditions of Form ‘B’ and ‘Instructions to Tenderers’ but in case of any conflict or inconsistency with provisions of Form ‘B’ and ‘Instruction to Tenderers’ the conditions contained herein shall prevail.