## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SE EUDC Muzaffarngar
Name of Work: fo¦qr uxjh; forj.k [k.M&f}rh;] eqt¶Qjuxj ds v/khu fo¦qr uxjh; forj.k mi[k.M&iqjdkth ds vUrxZr xzke rqxydiqj dEgsMk esa xk; vH;kj.k (Cow Century) gsrq fo¦qr la;kstu fuxZr djus dk dk;ZA
Contract No: E-TENDER No. 09/2024-25 OF EUDC MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 7 | 7
1 | Safe carriage of following conductor from store to work site including safe loading &unloading at both end (0 to 50 km.) :-
1.01 | STP Pole 11 Mtr. |  | 35 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | STP Pole 13 Mtr. |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | PCC Pole 8.5 Mtr. |  | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 33 KV XLPE cable 3x120 sqmm |  | 450 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | CT/PT unit 30/5 |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | Met. Cub. Pilfe Proof 11 KV 30/5 |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 1 KV VCB for O/G CTR 200/100/5A |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 3Ph-4W Static TVM 11 KV |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | ACSR Raccon Conductor |  | 12300 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | Line Material |  | 19 | Qntl. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Laying, Lifting, sagging & Binding of Raccon conductor for Construction 11 KV line as per norms. |  | 12300 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Eraction of PCC pole 8.5 mtr. long and fixing all accessories as like clamp, MS angle/channel, X-arm, Pin Insulator and Disc Insulator etc. as per norms (Nut, bolts, Stone Pad and all type clamps will be provided by contractor). |  | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Eraction of STP double pole 11 mtr.long structure and fixing all accessories as like clamp, MS angle/channel, X-arm, Pin Insulator and Disc Insulator etc. as per norms (Nut, bolts, Stone and all type clamps will be provided by contractor). |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Eraction of STP Tri pole 11 mtr. long structure and fixing all accessories as like clamp, MS angle/channel, X-arm, Pin Insulator and Disc Insulator etc. as per norms (Nut, bolts and all type clamps will be provided by contractor). |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Eraction of STP 11 mtr. long and fixing all accessories as like clamp, MS angle/channel, X-arm, Pin Insulator and Disc Insulator etc. as per norms (Nut, bolts and all type clamps will be provided by contractor). |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Eraction of STP 13 mtr. long and fixing all accessories as like clamp, MS angle/channel, X-arm, Pin Insulator and Disc Insulator etc. as per norms (Nut, bolts and all type clamps will be provided by contractor). |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Filling of 11 KV 3x120 sqmm XLPE Cable Jointing Kit (Alluminium Tape will be provided by contractor.) |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Fabrication of MS channel/angle |  | 850 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Concreting of poles with cement, sand, bricks CC ratio 1:4:5 as per RESPO norms (all materila provided by contractor) |  | 102 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Providing and fixing of danger plate |  | 102 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Errection of Stay set complete |  | 34 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Errection of earthing complete. |  | 35 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Nozeling & grouting of stay set with cement, sand, bricks CC ratio 1:4:5 as per RESPO norms (all materila provided by contractor) |  | 34 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Installation of 11 KV VCB panel and making proper connection with all accessories. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Errection of 11 KV CT/PT unit |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Errection of Met. Cub. Pilfe Proof 11 KV 30/5 |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Errection of 3Ph-4W Static TVM 11 KV |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Providing of chemical earthing. The Earth Resistance of Chemical Earthing should be less than 1 Ohm, which ensures a low-impedance path for electrical currents to flow to the earth. The Chemical mixture used in Chemical Earthing consists of Bentonite, Salt, and Charcoal. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Laying of HDPE pipe 6" dia through HDD trenchless machine (HDPE pipe 6" dia will be provided by contractor) |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Under ground laying of XLPE cable 3x120 sqmm |  | 110 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Laying of 11 KV 3x120 sqmm cable through HDPE pipe |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Laying of XLPE cable 3x120 sqmm |  | 300 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Providing & fixing G.I. pipe 4" dia |  | 8 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Work Of 11 KV Line Gaurding and fixing all accessories As Per Norms (Clamp, nut, bolts will be provided by contractor) |  | 5 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information