## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, EDC BIJNOR.
Name of Work: The work of capacity increasing of distribution transformers, installation of new distribution transformers, construction of new LT line, construction and division of 11 KV line, new 11KV VCB, work related to establishment of KV and Strengthening of 11 KV and LT lines etc under System Strengthening in Additional Business Plan 2023-24 under EDD-Ist, Chandpur
Contract No: E-Tender No-42/2023-24/EDC BIJNOR
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price Including Freight & Insurance Charges, Erection charges Excluding GST. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done on ' SemiTurnkey' basis. Therefore the bidder should include the cost of all the items necessary to complete the work for successful commissioning of the equipment as per RESSPO/ REC norms. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Below Schedule Structure and quantities may vary as per site requirement with due approval . 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09.All Permission and documentation regarding road/ railway crossing and Electrical safety & others are in scope of Bidder and no extra amount will be paid to him for that. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 11. TF Fancing should be proper painted with primer and synthetic enamle paint in colour as per norms. 12.Received back materials cost includes the cost of dismentling as well as cost of carriage from site to departmental store.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE PER UNIT In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT WITHOUT TAX In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Safe carriage of the following material from Store Centre Bijnor/JE's store to work site including loading and unloading at both ends :- | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 8.5 Mtr. Long PCC Poles. | BI01010001010000000000000515BI0100001113 | 59 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | ACSR Weasel/Rabbit Conductor. | BI01010001010000000000000515BI0100001114 | 9254 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 11 KV I/C & O/G VCB | BI01010001010000000000000515BI0100001115 | 6 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 33 KV VCB | BI01010001010000000000000515BI0100001116 | 6 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 11/0.4 63 KVA Transformers. | BI01010001010000000000000515BI0100001117 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 11/0.4 100 KVA Transformers. | BI01010001010000000000000515BI0100001118 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 11/0.4 250 KVA Transformers. | BI01010001010000000000000515BI0100001119 | 7 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 11/0.4 400 KVA Transformers. | BI01010001010000000000000515BI0100001120 | 6 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.09 | 11 KV XLPE cable of size 3X185 sq.mm. | BI01010001010000000000000515BI0100001121 | 520 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | LT XLPE cable 1x240 sq.mm. | BI01010001010000000000000515BI0100001122 | 220 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | 33 KV CT of ratio 200/100/5A. | BI01010001010000000000000515BI0100001123 | 7 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | 33 KV control pannel. | BI01010001010000000000000515BI0100001124 | 7 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | A.B.C. Cable of size 3x95 sq.mm. | BI01010001010000000000000515BI0100001125 | 200 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.14 | Line material such as Pin Insulators, Disc Insulators. | BI01010001010000000000000515BI0100001126 | 12 | Qtl. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | For 11 KV Line, Single support 8.5 Mtr. long PCC Poles :- Excavation of foundation pit in size of 75x45 cm. having depth of 1/6th of the full length of the support (pole), providing and laying of stone pad (300x300x75mm.) in the bottom of the pit. Erection of support (pole) complete with fixing of 11 KV V-Type cross-arms and all other accessories by providing 11 kv X-Arm, T-Off channel, stone pad, cross arms holding clamps, f-bracket and nuts & bolts etc. as per RESPO Norms. | BI01010001010000000000000515BI0100001127 | 47 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | For 11 KV Line, Double Pole structure with 8.5 Mtr. long PCC Poles :- Excavation of foundation pit in size of 75x45 cm. having depth of 1/6th of the full length of the support (pole). Erection of support (pole) complete work by fixing of D.P. Clamps and all other accessories. The work includes fabrication work and fixing of cross bracing sets, cutting holes, Top channel, stone pad, cross arms holding clamps, dropper channel and nuts & bolts etc. as per RESPO Norms.complete work as per RESPO Norms. | BI01010001010000000000000515BI0100001128 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Grouting of Poles Single line support :- Grouting of support in CC 1:4:6 (cement, sand and 40 mm. brick ballast) Grouting will be done in the block of size 45cm x 45cm x 1/6th of full length of the support upto ground level as per RESPO Norms. | BI01010001010000000000000515BI0100001129 | 44 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Grouting of stay rods (20x1800mm.) including all works of excavation, cement concrete in size of (0.60x0.60x0.30)M in the ratio of 1:4:6 (cement, sand and 40 mm. brick ballast) including back filling of soil and proper ramming etc. (All type of material such as Stay rod, wire etc will be provided by the contractor.) | BI01010001010000000000000515BI0100001130 | 25 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Fixing, tightening and nozelling of stay wire with stay rod and stay insulators with the pole of required tension by providing stay clamps, nuts, bolts etc. (All type of material such as Stay rod, wire etc will be provided by the contractor.) | BI01010001010000000000000515BI0100001131 | 25 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Earthing of support with MS Earth Rod of (20x2500)mm. long including excavation of pit and driving MS Rod 3.0M apart from support and 0.5M below the ground level and connecting below the earth electrodes with the help of G.I. Wire No.6 SWG tightening with nuts and bolts. (All type of material such as earthing rod, wire etc will be provided by the contractor.) | BI01010001010000000000000515BI0100001132 | 24 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Laying, sagging, stringing and binding of ACSR Weasel/Rabbit Conductor with all other accessories on pole as per RESPO Norms by providing clamps, Nuts & Bolts etc. | BI01010001010000000000000515BI0100001133 | 9254 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Laying, sagging, stringing and binding of AB Conductor of size 3x95 sqmm. with all other accessories on pole as per RESPO Norms by providing clamps, Nuts & Bolts etc. | BI01010001010000000000000515BI0100001134 | 200 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Construction of Plinth suitable for 250 KVA & 400 KVA transformer by providing sand, cement & bricks and other material, complete work as per norms. | BI01010001010000000000000515BI0100001135 | 12 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Providing cable jointing kit suitable for 11 KV XLPE cable of 3x300 (01 No.) & 1x185 sqmm cable (04 No.) and filling & fixing as per RESPO Norms. | BI01010001010000000000000515BI0100001136 | 5 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Construction of fencing around the 250 KVA & 400 KVA transformer plinth by providing G.I. mesh and other material, complete work including painting and other work as per norms. | BI01010001010000000000000515BI0100001137 | 12 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Dismounting of 63 KVA transformer from double pole, complete work including opening L.T./H.T. connection of transformer and other associated work as per norms. | BI01010001010000000000000515BI0100001138 | 2 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Dismounting of 100 KVA transformer from double pole, complete work including opening L.T./H.T. connection of transformer and other associated work as per norms. | BI01010001010000000000000515BI0100001139 | 7 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Uninstalation of 250 KVA transformer from plinth after opening connections, complete work as per norms. | BI01010001010000000000000515BI0100001140 | 4 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
16 | Construction of foundation plinth suitable for VCB by providing sand, cement & bricks and other material, complete work as per norms. | BI01010001010000000000000515BI0100001141 | 1 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Mounting of 63 KVA transformer on newly errected double pole, making connections and other work as per norms by providing angle, nuts and bolts. | BI01010001010000000000000515BI0100001142 | 4 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Mounting of 100 KVA transformer on old double pole, making connections and other work as per norms. | BI01010001010000000000000515BI0100001143 | 2 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Construction of Plinth suitable for 250 KVA & 400 KVA transformer and fencing around plinth suitable for transformer by providing sand, cement & bricks and other material, complete work as per norms. | BI01010001010000000000000515BI0100001144 | 12 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Installation of 250 KVA transformer on plinth, making connections, earthing and other work as per norms. | BI01010001010000000000000515BI0100001145 | 7 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Installation of 400 KVA transformer on plinth, making connections, earthing and other work as per norms. | BI01010001010000000000000515BI0100001146 | 6 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Laying, sagging, stringing and binding of 11 KV XLPE 3x185 sq.mm. with all other accessories on pole as per RESPO Norms by providing clamps, Nuts & Bolts etc. | BI01010001010000000000000515BI0100001147 | 520 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Laying, sagging, stringing and binding of LT XLPE 1x240 sq.mm. with all other accessories on pole as per RESPO Norms by providing clamps, Nuts & Bolts etc. | BI01010001010000000000000515BI0100001148 | 220 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Proper instalation of 33 KV pannel at substation including making connections, complete work as per norms. | BI01010001010000000000000515BI0100001149 | 7 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Proper instalation of 33 KV VCB at substation including making connections, complete work as per norms. | BI01010001010000000000000515BI0100001150 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Proper instalation of 33 KV CT of ratio 200/100/5A at substation including making connections, complete work as per norms. | BI01010001010000000000000515BI0100001151 | 7 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Proper instalation of 11 KV I/C & O/G VCB at substation including making connections, complete work as per norms. | BI01010001010000000000000515BI0100001152 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Laying of control cable of size 4x2.5 ( 980 Mtr) & 2x2x5 (900 Mtr.) sq.mm. and making connections as per RESPO Norms by providing clamps, Nuts & Bolts etc. | BI01010001010000000000000515BI0100001153 | 1880 | Mtr | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Providing 11 KV fuse set and mounting on double pole , making proper connections. Complete work as per norms. | BI01010001010000000000000515BI0100001154 | 12 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Providing 33 KV fuse set and installation including making proper connections. Complete work as per norms. | BI01010001010000000000000515BI0100001155 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Installation of 33 KV Bus isolater at substation yard by providing bus isolater and all other materials. Complete work as per norms. | BI01010001010000000000000515BI0100001156 | 8 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Installation of 400 KVA transformer on plinth, making connections, earthing and other work as per norms. | BI01010001010000000000000515BI0100001157 | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Back Cartage of following Material from site to Store Centre Bijnor including loading and unloading at both ends :- | BI01010001010000000000000515BI0100001158 |  |  | 100
33.01 | Damaged 33 KV fuse set | BI01010001010000000000000515BI0100001159 | 6 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.02 | 11/0.4 63 KVA Transformers. | BI01010001010000000000000515BI0100001160 | 2 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.03 | 11/0.4 100 KVA Transformers. | BI01010001010000000000000515BI0100001161 | 7 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.04 | 11/0.4 250 KVA Transformers. | BI01010001010000000000000515BI0100001162 | 4 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.05 | Damaged 33 KV VCB | BI01010001010000000000000515BI0100001163 | 6 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.06 | Bus Isolater | BI01010001010000000000000515BI0100001164 | 8 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.07 | Dameged 33 KV Control pannel | BI01010001010000000000000515BI0100001165 | 7 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33.08 | Old and used weasel Scrap etc. | BI01010001010000000000000515BI0100001166 | 312 | Kg. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information