## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Eletricity Distribution Circle, Bijnor.
Name of Work: The work of capacity increasing of distribution transformers, installation of new distribution transformers, construction of new LT line, construction and division of 11 KV line, new 11KV VCB, work related to establishment of KV and Strengthening of 11 KV and LT lines under System Strengthening in Business Plan 2023-24 under EDD-IInd, Bijnor.
Contract No: 37/2023-24/EDC BIJNOR
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price Including Freight & Insurance Charges, Erection charges Excluding GST. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done on ' SemiTurnkey' basis. Therefore the bidder should include the cost of all the items necessary to complete the work for successful commissioning of the equipment as per RESSPO/ REC norms. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Below Schedule Structure and quantities may vary as per site requirement with due approval . 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09.All Permission and documentation regarding road/ railway crossing and Electrical safety & others are in scope of Bidder and no extra amount will be paid to him for that. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 11. TF Fancing should be proper painted with primer and synthetic enamle paint in colour as per norms. 12.Received back materials cost includes the cost of dismentling as well as cost of carriage from site to departmental store.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Safe carriage of the following material from Store Centre, Bijnor to work site including loading & unloading at both ends.
1.01 | PCC Pole 8.5 mtr. Long |  | 11 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.02 | 63 KV T/F |  | 2 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | 100 KV T/F |  | 1 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | LT ABC (3X95+1X70+1X16) |  | 245 | Mtr. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | ACSR Weasal conductor |  | 194 | Mtr. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | Line Material |  | 4 | Qtl | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.07 | Disc insulator |  | 12 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | Pin insulator with pin |  | 15 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.09 | 11 KV VCB Incoming CTR 600/300/5A, 350 MVA, 24 Volt |  | 5 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.1 | 11 KV VCB Outgoing CTR 200/100/5A, 350 MVA |  | 14 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.11 | Control cable 4x2.5 sqmm |  | 300 | Mtr. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | Control cable 2x2.5 sqmm |  | 300 | Mtr. | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Supply of following material including freight and insurance charges as per Resspo Norms.
2.01 | Sub-Station Angle |  | 6 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.02 | Tee Channel |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.03 | Top Channel |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.04 | Dropper Channel |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.05 | Complete Stay |  | 8 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | Complete Earthing |  | 6 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | 11 KV Fuse Set |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | 3 Phase D. Box Set |  | 7 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Suspension Clamp with 1 hook installed |  | 8 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | Clamp holding/guarding of top dropper |  | 14 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | M/S NUTS BOLTS |  | 30 | Kg | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.12 | locks for Distribution.Box |  | 6 | Nos. | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.13 | Stone pad |  | 11 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.14 | End Caps for LT Abc |  | 6 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.15 | Transformer Mobile Trolly suitable for 400 KVA with Fencing as per elcosed drawing/GTP. |  | 1 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Installation of the following material as per RESPO manual and direction of the Engineer Incharge (complete in all respect)
3.01 | Digging of pits of PCC pole as per Resspo Norm. |  | 11 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.02 | Erection of PCC pole 8.5 mtr long LT Line with all accessories as per Resspo norms |  | 5 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.03 | Erection of D/P 8.5 mtr long with all accessories as per Resspo norms |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.04 | Laying of lifting sagging & binding properly of ACSR Weasal conductor suitable for 11 kv line |  | 194 | Mtr. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.05 | Laying of lifting sagging & binding properly of AB Conductor suitable for LT line |  | 245 | Mtr. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | Laying of Control cable 4x2.5 sqmm with Proper Connection |  | 300 | Mtr. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.07 | Laying of Control cable 2x2.5 sqmm with Proper Connection |  | 300 | Mtr. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.08 | Mounting of 100/63 KVA T/F proper HT/LT connection |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.09 | Grouting of PCC Pole Cement & Bricks Ballast |  | 11 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.1 | Grouting of stay set in 1:4:8 cement and brick ballast and nozzling of stay wire |  | 8 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.11 | Erection of Top & Dropper Channel |  | 6 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.12 | Erection of MS substaion angle 65x65x6 mm with clamp |  | 6 | Nos. | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.13 | Erection of MS T off Channel 100x1250x50 mm with clamp |  | 3 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.14 | Erection of pole earthing with grouting as per Resspo norms |  | 6 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.15 | Erection of Disc fitting with insulator |  | 11 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.16 | Erection of 11 KV Composit polimer pin insulator with pin |  | 15 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.17 | Erection of 11 KV Incoming VCB Panel with proper HT connection as per Resspo Norms |  | 5 | Nos. | Nos |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.18 | Erection of 11 KV Outgoing VCB Panel with proper HT connection as per Resspo Norms |  | 14 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.19 | Erection of 3 Phase D. Box Set as per Resspo Norms |  | 7 | Nos. | Nos. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.2 | Erection of 11 Fuse Set as per Resspo Norms |  | 3 | Nos. | Mtr. |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Dismentalling and Back Cartage of following Material From Work site to Store Centre Bijnor with Loading & Unloading at both ends.
4.01 | Old VCB With control panel |  | 19 | NO | NO |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information