## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of Increasing the capacity of t/f and other related works under the Business Plan 2023-24 at various places under the jurisdiction of EE, EUDD-V, GZB.
Tender no. 24/2022-23/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Cartage of 11 Mtr ST pole from store center Meerut road GZB to deffrent site including loading and unloading at both side within 25 KM | BI01010001010000000000000515BI0100001113 | 8 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Cartage of 13 Mtr ST pole from store center Meerut road GZB to deffrent site including loading and unloading at both side within 25 KM | BI01010001010000000000000515BI0100001114 | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Cartage of New 250 KVA T/F from store center Meerut road GZB to different site including loading and unloading at both side with in 25 KM | BI01010001010000000000000515BI0100001115 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Cartage of New 400KVA T/F from store center Meerut road GZB to different site including loading and unloading at both side with in 25 KM | BI01010001010000000000000515BI0100001116 | 5 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cartage of line material ,pin insulator, PVC LT cable ABC(200 m) channel ,TPMO ,FUSE Set ,stay, ACSR dog(3000 M) and weasel(290 M ) conductor and other line material from store center Meerut road GZB to different site including loading and unloading at both side, with in 25 KM | BI01010001010000000000000515BI0100001117 | 8 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Cartage of LT Lead XLPE size 1x400/630mm2 from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001118 | 350 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Cartage of 11 KV XLPE Cable size 3x185mm2 from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001119 | 200 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Errection of D/P with 11/13 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001120 | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Errection of Signal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on S/Pole and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001121 | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Making & fixing Fencing of 250/400 KVA T/F with MS Flat and wire mesh cage Fencing around the plinth with all material & complete work in all respect. | BI01010001010000000000000515BI0100001122 | 7 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Making of 250/400 KVA T/F with plinth with all material as cement ,sand,bricks ,corsand and other materials & complete work in all respect. | BI01010001010000000000000515BI0100001123 | 7 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Laying of LT ABC cable 3x120+1x95+1x16 mm complete work in all respect | BI01010001010000000000000515BI0100001124 | 200 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Fixing of all fitting on Double Pole with nut and bolt and Clamp & complete work in all respect. | BI01010001010000000000000515BI0100001125 | 3 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Fixing of 11 KV X-arms on Single Pole with nut and bolt and Clamp & complete work in all respect. | BI01010001010000000000000515BI0100001126 | 10 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Fixing of all fitting on Single Pole with nut and bolt and Clamp & complete work in all respect. | BI01010001010000000000000515BI0100001127 | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Concreting of ST pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001128 | 12 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Chemical Earthing of 11/0.4 KV T/F with fixing suitable G I stripe including all material complete work in all respect | BI01010001010000000000000515BI0100001129 | 15 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Lying stringing and proper sagging of ACSR Weseal conductor in 11KV line & complete work in all respect as per norms. | BI01010001010000000000000515BI0100001130 | 290 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Lying stringing and proper sagging of ACSR Dog conductor in 11KV line & complete work in all respect as per norms. | BI01010001010000000000000515BI0100001131 | 3000 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Grouting of stay set after digging of pits in proper size and grouting in Ratio 1:4:8 with cement, sand and concrete as per norms of nigam & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001132 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Providing & fixing Of MS Holding clamps | BI01010001010000000000000515BI0100001133 | 39 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Digging of 11 KV cable tranch in proper size in Kachha pakka road & complete work in all respect | BI01010001010000000000000515BI0100001134 | 180 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Laying of 11 KV XLPE cable 3x185 mm in cable tranch and beck filling of earth & complete work in all respect | BI01010001010000000000000515BI0100001135 | 180 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Laying of 11 KV XLPE cable 3x185 mm in Loop and riser & complete work in all respect | BI01010001010000000000000515BI0100001136 | 20 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Providing & fixing dead End clamps | BI01010001010000000000000515BI0100001138 | 8 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Filling of 11 KV XLPE Cable J/Kit size 3x182mm2 in door and out door yupe | BI01010001010000000000000515BI0100001139 | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Providing & fixing Of Eye hook | BI01010001010000000000000515BI0100001140 | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Providing & fixing of aluminium crimlping Lugs size 400 Sqmm | BI01010001010000000000000515BI0100001141 | 28 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Providing & fixing of aluminium Bus bar sutable for 250/400 KVA T/F | BI01010001010000000000000515BI0100001142 | 28 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Fixing of MS Earthing rod on pole | BI01010001010000000000000515BI0100001143 | 15 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Dismentling of old and use 100 KVA T/F and carrige of old T/f from site to JE Store | BI01010001010000000000000515BI0100001144 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Dismentling of old and use 250 KVA T/F and carrige of old T/f from site to JE Store | BI01010001010000000000000515BI0100001145 | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Placment of 250 KVA T/F on Plinth with the help of Crane | BI01010001010000000000000515BI0100001146 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Placment of 400 KVA T/F on Plinth with the help of Crane | BI01010001010000000000000515BI0100001147 | 5 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Making of all T/F Connection LT/HT side & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001148 | 8 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information