SPECIAL CONDITIONS / INSTRUCTIONS FOR TENDER SPECIFICATION NO. PVVNL-MT/COM/29(s)/21-22

- BLACK LISTING: The Tender bids of those tenders who have been served with the notice for processing of “Black listing / debar” from any DISCOM of UPPCL or any PSU/Government Department/Financial Institution/Court shall not be considered. The bidder should submit an undertaking that they have not been suspended / blacklisted by any PSU/Government Department/Financial Institution/Court. Undertaking for the Black listing / debar is to be enclosed with bid documents on Rs. 100/- judicial stamp paper with duly notarized failing which price may not be opened.

- In suppression to clause 30 of General Conditions of Contract ‘Form B’ the guarantee period of the meters shall be For a period of 60 (sixty) calendar months commencing immediately upon the setting to work of the plant or of 66 (sixty six) months from the date of receipt of meters by the Purchaser at site whichever is earlier, called the Maintenance period", the Contractor shall remain liable to replace any defective parts that may develop in plants of his own manufacture under conditions provided for by the Contract under proper use and arising, solely from faulty designs, materials or workmanship. PROVIDED ALWAYS that such defective parts as are not reparable at site and are not essential in the meantime to the maintenance in commercial use to the plant are promptly returned to the Contractor's work at the expense of the contractor unless otherwise arranged. In case any meter becomes defective with in guarantee period it shall further be guaranteed for remaining months from date of returning after repair replacement Bidder shall further be responsible for free replacement at site for another period of three years from the end of guarantee period for any latent defects if noticed and reported by the purchaser.

If any defect be not remedied within a reasonable time the Purchaser may proceed to do the work at the Contractor's risk and expense, but without prejudice to any other rights, which the Purchase may have against the Contractor in respect of such defects.

- The manufacturer on receipt of damage report from consignee shall ensure to lift the damaged meters within in fifteen (15) days of such notice and in case, the repair work / replacement of meter is not affected within thirty (30) days, the consignees will ensure deduction of the amount equal to the price of new meter from pending bills of the Contractor. Such defaults should be taken into consideration by the consignee while evaluating and reporting the performance of the contractor.

4.   	AFTER SALES SERVICE: The tenderer/supplier shall provide proper and prompt after sale services and in case any query /meter is sent to them, the desired information /report /analysis report etc. shall be given back within maximum 30 days. Moreover, in case of any ambiguity /problem found at the site of any consumer the supplier shall sent their authorized engineer within maximum one week of receiving the complaint from the concerning EE. (Test). In case the after sales service is not properly attended to the satisfaction of purchaser, the cost of such meters may be recovered from the amount available /security/performance guarantee. The supplier should no te carefully that in case repeated complaints from various EE (TEST) are received about non-compliance of above clause, the supplier may be debarred for the next tender.

5. 	The Successful bidder shall submit security @ 5% of the award value for supply portion in the form of Bank Guarantee on prescribed proforma or FDR/CDR or Govt interest bearing security duly pledged in favour of the Managing Director, Pashchimanchal Vidyut Vitaran Nigam Limited, Meerut or guarantee bond from a schedule Bank of India duly executed on judicial stamp paper of requisite value in the enclosed Performa, as per clause-3 of General condition of contract Form-B.

The validity of the security deposit in any of the above form shall be for a period of 66 months from the date of supply of meters, with a further claim period of six months thereafter, in case the installation are delayed beyond the completion period mentioned in the order, the contractor shall extend the validity of the security deposit so as to cover a period of 66 months for the day by which he anticipates to complete the supplies with a further claim period of 06 (six) months, failing which the Purchaser shall have the right to in cash the bank Guarantee without making any reference to him.

- Price Fall Back: If certain quantity of the equipment ordered under this specification remains unsupplied up to finalization of next/subsequent tender, lowest of the prices of this tender and the subsequent tender shall be payable for balance unsupplied material if both the supplier firm is same. In case the tenderer do not agree to supply the balance unsupplied quantity at the lower rates received in new tender, the unsupplied tendered quantity will be cancelled without prejudice.

- The firm will make some special efforts to design the meters in such a way that the problem of “No Display Meter” should not occur & in case of occurrence of such events the firm will preferably apply the entire process of recovering meter reading from such meter in the Departmental Modern Automatic Meter Test Lab at Ganga Nagar Meerut in the presence of the nominated officers of PVVNL but if it is not possible to recover the meter reading from such meters in the departmental lab safely & accurately then the firm may recover the reading in their lab & will provide the same to PVVNL at the earliest. The Firm will provide at least 10 Zig for recovery of meter reading in the departmental lab safely & accurately.

- Final testing of the three phase meters will be as per technical specification clause no. 43.

- The ex-works rates quoted should be Firm. The component of packing, forwarding, freight and transit plus 30 days storage insurance shall be Firm in all respect during the currency of the contract.

- The purchaser is not bound to accept the lowest or any tender and may reject any or all the tenders without assigning any reason. The purchaser may negotiate or re-tender on limited tender basis if substantial financial benefit is likely to accrue to Pashchimanchal Vidyut Vitran Nigam Limited Meerut. This is known as inviting "Rock Bottom Rates" where in the tenderers are given the choice to reduce their rate to the minimum level possible. The purchaser may also provide the counter offer rates if need be, to the various tenderers in the best interest of the Pashchimanchal Vidyut Vitran Nigam Limited Meerut.

- The quantity of the material to be purchased may be increased or decreased to the extent of 20% of the quantity mentioned in the tender notice.

- Purchaser shall send any randomly selected sample (S) from the each lot of total ordered material for any/all Routine/Acceptance/Type tests as per Technical Specifications/ISS in Govt. Lab. The results of such tests shall be final and binding on the both, the purchaser and supplier. The cost of such tests (s) shall initially be borne by the purchaser and in case the materials is found not conforming to desired specifications, the above cost shall be recovered from the supplier in addition to this following penal action shall also be taken by the purchaser:

- The order for the remaining supplies if any, against the said contract shall be cancelled.

- The supplier will be debarred / blacklisted from participating in Tenders for at least 3 Years from the date of test result into failure of supplied materials.

- The tenderer shall furnish an authenticated copy of results of successful Type Test report. The Type test of the material must be carried out at Govt. testing laboratories such as CPRI/ERDA/ERTL/NTH. In case the bidder submits the Type test report of the material from any other NABL accredited lab then bidder shall have to give an undertaking with tender offer that Type test of the material shall be carried out by the bidder at CPRI/ERDA/ERTL/NTH as per specification and relevant IS at their own cost before commencement of supply.

- These Special Conditions shall be read and construed along with the general conditions of Form ‘B’ and ‘Instructions to Tenderers’ but in case of any conflict or inconsistency with provisions of Form ‘B’ and ‘Instruction to Tenderers’ the conditions contained herein shall prevail.

- 30% quantity to be supplied within 45 days from the Date of LOI as first lot & balance quantity within next 3 months as subsequent lot.

*********************