## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: S.E. EDC SAMBHAL
Name of Work: Repairing/Overhauling of Different make 33 KV VCB/11 KV VCB relay and other electric parts at 33/11 KV Sub-Stations Under EDD BABRALA
Contract No: 76/2023-24/EDC SAMBHAL
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE Without Taxes In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT Without Taxes In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Repairing/Overhauling of Different make 33 KV VCB/11 KV VCB relay and other electric parts at 33/11 KV Sub-Stations Under EDD BABRALA
2 | Repairing and overhauling of Different make VCB Relay and Pannel Opening and cleaning of Operating Mechanism of Circuit breaker/Associated equipment as required (tripping lever, charging lever, interlock lever, locking drum mechanism springs, setling screw, stop pin, trip pop, set screw, spindle, lock nut, Trip roller coll assembly, release roller, ratchet, coil pot, main toggle, Tripping plunger, operating springs, Trip coils etc) and Re-Fitting of Complete VCB All spair parts required for O/H of VCB Provided by Contractor. | Opening of Operating Mechanism of Circuit breaker/Associated equipment as required (tripping lever, charging lever, interlock lever, locking drum mechanism springs, setling screw, stop pin, trip pop, set screw, spindle, lock nut, Trip roller coll assembly, release roller, ratchet, coil pot, main toggle, Tripping plunger, operating springs, Trip coils etc) | 8 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Repairing and General Overhauling of C&R Panel and VCB panel having the work of Cleaning, Decarbonization and Filling the part of panel as required ( Amp. Meter and selector switch, voltmeter and selector switch, Indication lamps, remote control switch, push button, fault alarm bell, fuses , terminal etc) Testing the above parts/instrument, replacement of damaged and defective parts, dressing of wiring, testing and make it into perfect working condition. All spair parts required for C&R Pannel Provided by Contractor. | Repairing and General Overhauling of C&R Panel and VCB panel having the work of Cleaning, Decarbonization and Filling the part of panel as required ( Amp. Meter and selector switch, voltmeter and selector switch, Indication lamps, remote control switch, push button, fault alarm bell, fuses , terminal etc) Testing the above parts/instrument, replacement of damaged and defective parts, dressing of wiring, testing and make it into perfect working condition ( Only labour Charge) | 3 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Repairing of Overcurrent and Earth fault Numerical Relay, English Electric, ER, C&S, Ashida, etc make, having work to opening of relay/associated equipment as required, assembly, alignment etc and make it into perfect working condition. All required spair parts Provided by Contractor. | Repairing of Overcurrent and Earth fault Numerical Relay, English Electric, ER, C&S, Ashida, etc make, having work to opening of relay/associated equipment as required, assembly, alignment etc and make it into perfect working condition | 3 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information