## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer EDC Amroha.
'Name of Work: fo¦qr forj.k [k.M&f}rh;] vejksgk ds u;h ,y0Vh0@,p0Vh0 ykbZuksa dk fuekZ.k o foHkfDrdj.k forj.k ifjorZdksa dh {kerko`f) o u;s forj.k ifjorZdksa dh LFkkiuk rFkk midsUnzksa ij LFkkfir midj.kksa dh ejEer ,oa u;s midj.kksa dh LFkkiuk bR;kfn lseh VuZdh vk/kkj ij iz.kkyh lqn`<hdj.k ,ao foLrkjhdj.k ;kstuk ds varxZr dk;ksZ dks fd;k tkuk A
Contract No: E-Tender Specification No.T-37/2023-24/EDCA Due On:25.10.2023
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price Including Freight & Insurance Charges, Erection charges excluding GST. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done on ' SemiTurnkey' basis. Therefore the bidder should include the cost of all the items necessary to complete the work for successful commissioning of the equipment as per RESSPO/ REC norms. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Below Schedule Structure and quantities may vary as per site requirement with due approval . 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09.All Permission and documentation regarding road/ railway crossing and Electrical safety & others are in scope of Bidder and no extra amount will be paid to him for that. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 11. TF Fancing should be proper painted with primer and synthetic enamle paint in colour as per norms. 12.Received back materials cost includes the cost of dismentling as well as cost of carriage from site to departmental store.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supply of following material including freight and insurance charges. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Earthing set complete |  | 25 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.2 | Stay Rod set complete |  | 54 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.3 | MS angle 75x75x6x2028 mm |  | 52 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.4 | MS Channel T-off 125x65x1300 mm |  | 32 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.5 | MS Dropper channel 100x50x2025 mm |  | 32 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.6 | MS Top Channel 125x65x2240 mm |  | 28 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.7 | 11 KV Cross Arm V Type |  | 29 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.8 | suspension clamp |  | 93 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.9 | Piecring Connector |  | 244 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | F-bracket |  | 14 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.1 | Holding clamp with nut & bolts |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.2 | LT Clamp with nut bolt |  | 246 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.3 | 11 KV TPMO |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.4 | 11 KV Fuse set |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.5 | LT Distribution Box with clamp |  | 68 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.6 | DEAD CLAMP |  | 34 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.7 | Lugs |  | 286 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.8 | Copper L Piece 62x225x12 mm |  | 8 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.9 | Transformer Mobile Trolly suitable for 400 KVA with Fencing as per elcosed drawing/GTP. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | The following material Erection/ Fixing & laying as per RESPO manual and as per direction to Supervising Engineer (complete in all respect). Its includes the cost of labour,T&P & safe cartage etc.required all acessaries for proper completion of work.
4.1 | ACSR Weasel conductor |  | 104793 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.2 | ACSR Rabbit conductor |  | 610 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.3 | ACSR Dog conductor |  | 525 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.4 | P.C.C. Pole 8.5 mtr with grouting as per resspo schedule. |  | 85 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.5 | STP Pole 11 Mtr. with grouting as per resspo schedule. |  | 13 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.6 | LT ABCable 3X50+1x35+1x16 sq mm |  | 4192 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.7 | LT ABCable 3X120+1x95+1x16 sq mm |  | 1380 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.8 | LT ABCable 3X95+1x70+1x16 sq mm |  | 120 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.9 | LT ABCable 1x16+1x25sq mm |  | 490 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | LT PVC/XLPE Cable 1x400 sq mm |  | 3068 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.1 | LT PVC/XLPE Cable 1x630 sq mm |  | 168 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.2 | 25 KVA Transformer |  | 10 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.3 | 63 KVA Transformer |  | 12 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.4 | 100 KVA Transformer |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.5 | 250 KVA Transformer |  | 23 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.6 | 400 KVA Transformer |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.7 | Installation of 11 KV VCB Incoming CTR 600/300/5 A |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.8 | Installation of 11 KV VCB Outgoing CTR 400/200/5 A |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.9 | Installation of 11 KV CT 400/200/5A |  | 25 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Installation of 33 KV VCB |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.1 | Installation of 33 KV CT 200/100/1-1A |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.2 | Installation of 33 KV CT 400/200/1-1A |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.3 | 11 KV pin insulator with pin & nut |  | 219 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.4 | 11 KV disc insulator with fitting |  | 214 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.5 | Earthing of pole by MS Earthing rod of 20x2500 mm and 6 swg earthing wire etc. |  | 25 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.6 | Stay Rod set complete with concreting (complete in all respect). |  | 54 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.7 | MS angle 75x75x6x2028 mm |  | 52 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.8 | MS Channel T-off 125x65x1300 mm |  | 32 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.9 | MS Dropper channel 100x50x2025 mm |  | 32 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | MS Top Channel 125x65x2240 mm |  | 28 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.1 | 11 KV Cross Arm V Type |  | 29 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.2 | suspension clamp |  | 93 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.3 | Piecring Connector |  | 244 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.4 | F-bracket |  | 14 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.5 | Holding clamp with nut & bolts |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.6 | LT Clamp with nut bolt |  | 246 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.7 | 11 KV TPMO |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.8 | 11 KV Fuse set |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7.9 | LT Distribution Box with clamp |  | 68 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | DEAD CLAMP |  | 34 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.1 | Lugs |  | 286 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.2 | Copper L Piece 62x225x12 mm |  | 8 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.3 | Water level Pipe Earthing of 250/400 KVA Transformers/VCB Pannels etc. with all required material complete in all respect.(G.I. Pipe 40 MM dia 60 feet length with provision of cone of the bottom of boring (at ground level) with MS Strip 25x5mm and copper wire 6SWG. ) |  | 46 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.4 | 11/.40 KVA TF Plinth suitable upto 250/400 KVA as per RESSPO Drawing with proper fancing 3500x3500x2200mm in frame (including plinth and fancing material). |  | 23 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.5 | Old & Used 250 KVA TF Received back |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.6 | Old & Used 160 KVA TF Received back |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.7 | Old & Used 100 KVA TF Received back |  | 17 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.8 | Old & Used 10 KVA TF Received back |  | 3 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.9 | Old & Used 16 KVA TF Received back |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | used & old conductor Received back |  | 7153 | K.G. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9.1 | Old & used 11 KV VCB Incoming Received back |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9.2 | Old & used 11 KV VCB Outgoing Received back |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9.3 | old & used 33 kv VCB/Bus Coupler Received back |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9.4 | old & used 11 KV CT Received back |  | 25 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9.5 | old & used 33 KV CT Received back |  | 9 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Superintending Engineer
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information