## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&izFke] eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr 33@11 dsoh midsUnz tlksbZ dh vfrHkkfjrk lekIr djus ds fy;s mDr midsUnz ls fuxZr 11 dsoh tlksbZ Vkmu iks"kd ls iksf"kr xzke&uaxyk fiFkkSjk dks 33@11 dsoh midsUnz ihiygsMk ls tksMus gsrq mDr iks"kd dk foHkfDrdj.k djus dk dk;Z ckg~; ,tsUlh ds ek/;e ls djk;k tkuk gSA
Contract No: 86/2023-24/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | fo¦qr Hk.Mkj dsUnz ls lkbZV rd lkexzh ig¡qpkus dk dk;Z ftlesa nksuksa vksj dh yksfMax o vuyksfMax 'kkfey gSA¼nwjh 0 ls 50 fd0eh0½ | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PCC POLE 8.5 Mtr. |  | 42 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 11 KV VCB OUTGOING 300/150/5 Amp. |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | ACSR RABBIT CONDUCTOR |  | 6615 | ehVj | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | CABLE AL. 3x185 Sqmm XLPE 11 KV |  | 70 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | ykbZu lkexzh ¼fiu bUlqysVj o fMLd bUlqysVj fQfVax lfgr½ |  | 1 | dqary | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Hk.Mkj dsUnz ls izkIr fo¦qr lkexzh dks lkbZV ij LFkkfir djus dk iw.kZ dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | fu;ekuqlkj 33@11 dsoh midsUnz ij ubZ 11 dsoh Lora= ^^cs^^ ds fuekZ.k gsrq oh0lh0ch] dsfcy] Mcy iksy LVªDpj] vkmVMksj o buMksj tksbZfVax fdV] bR;kfn lkexzh dks LFkkfir djus dk iw.kZ dk;ZA ftlesa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 1 | tkc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | jsLiks ekudksa ds vuqlkj x<<k [kksndj ih0lh0lh0@,l0Vh0ih0 iksy [kMk djus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 36 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | jsLiks ekudksa ds vuqlkj x<<k [kksndj ih0lh0lh0@,l0Vh0ih0 Mcy iksy dk fuekZ.k djus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | fu;ekuqlkj lkbZV ij LFkkfir fd;s x;s fo¦qr iksyksa ij ACSR Rabbit Conductor fcNkus@LFkkfir djus dk iw.kZ dk;ZA |  | 6615 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | fu;ekuqlkj 11 dsoh LVs lSV DEiyhV LFkkfir djus dk iw.kZ dk;ZA |  | 8 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.06 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh daØhfVax djus dk iw.kZ dk;ZA ftlesa flesUV] ckyw o vU; fodsUnzh; lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 42 | izfr iksy | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.07 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh vfFkZax jksM LFkkfir djrs gq;s vfFkZax djus dk iw.kZ dk;ZA ftles fodsUnzh; lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 12 | izfr iksy | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.08 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh LikWu Vw LikWu th0vkbZ0 ok;j o ,l0,l0 ,afxy LFkkfir djrs gq;s xkfMZax djus dk dk;ZA ftles fodsUnzh; lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 10 | LikWu Vw LikWu | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | fu;ekuqlkj lkbZV ij orZeku LFkkfir ykbZu dks fMLesaVy djus dk dk;ZA |  | 1 | tkc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | dk;Znk;h laLFkk@Bsdsnkj }kjk fuEufyf[kr lkexzzh vko';Drkuqlkj miyC/k djkukA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 11 KV V-TYPE X-ARM |  | 38 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | 11 KV STAY SET COMPLETE |  | 8 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | X-ARM HOLDING CLAMP |  | 38 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | F-BRACKET |  | 38 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.05 | CLAMP |  | 25 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | 11 KV INDOOR JOINTING KIT 3x185 Sqmm |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.07 | 11 KV OUTDOOR JOINTING KIT 3x185 Sqmm |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.08 | EARTHING COMPLETE |  | 12 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.09 | G.I.WIRE |  | 250 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | NUT & BOLTS |  | 60 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.11 | MS CHANNEL 100x50x6 mm |  | 200 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.12 | MS ANGLE 65x65x6 MM |  | 210 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.13 | SUNDRIES ITEM |  | 1 | tkc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | fu;ekuqlkj lkbZV ls mrkjh xbZ iqjkuh lkexzh dks ts0bZ0 LVksj@LVksj lSUVj eqt+¶Qjuxj igq¡pkus dk dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | ACSR WEASEL CONDUCTOR OLD & USED |  | 120 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information