## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work:For the work of construction of 33 KV underground Line for addition Load existing 600+3400 Total 4000 KVA for DRM NORTHERN RAILWAY, SSGT RO0AD, BHOOD BHARAT NAGAR GZB in the jurisdection of EUDD-5 Ghaziabad.
Contract No: 01/2024-25/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side. | (A) ACSR Weasel, Racoon & Dog Conductor | 60 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Loading safe Cartage & unloading of hevay stock line material ACSR Dog Conductor 600 mtr , Set stay 20 No, MS Earth road 60 No and other line material from store center Meerut road GZB/SBD to different site. | (B) 11 KV/ LT. ABC Cable | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Cartage of 33 KV XLPE Cable size 3x300 sq mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side. | (C) Laying of 11 KV XLPE Cable in Trench | 16500 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Cartage of 33 KV streight through cable box 3x300 sq mm from store center Meerut road GZB/SBD to site including loading and unloading at both side | Making of Guarding of 11· KV line as per RESPO norms | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Cartage of 33 KV outdoor cable box 3x300 sq mm from store center Meerut road GZB/SBD to site including loading and unloading at both side. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 124 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Cartage of 33 KV VCB 800 amp from store center Meerut road GZB/SBD to site including loading and unloading at both side. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Cartage of 33 KV Top channel from store center Meerut road GZB/SBD to site including loading and unloading at both side. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 120 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Cartage of 33 KV CT/PT combined unit from store center Meerut road GZB/SBD to site including loading and unloading at both side. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Cartage of 33 KV metering cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Cartage of 33 KV pin insulator polymer from store center Meerut road GZB/SBD to site including loading and unloading at both side. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 120 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Earthing of pole with M S earth road complete work in all respect. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 60 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Citting /Drilling/welding of MS Channel Top & Dropper Channel & complete work in all respect. | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 30 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Fixing of all accessories (Channeal/Angle, Clamps, Insulator... etc) on 33 KV Double pole & complete work in all respect. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 30 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Providing and Fixing of GI Pipe size 6'' Dia. | Installation of 33.KV Metering cubical in meter room complete work as per RESPO manual | 720 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Laying of 33 KV XLPE cable size 3x300 mm2 in tranch with material (double circuit U/G Line) & complete work in all respect. | Providing and fixing of holding clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 No. bolts and Nuts size 16x100 mm as RESSPO specification. | 7950 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Filling and Fixing of 33 KV straight through cable jointing kit 3x300 sq mm. | Providing and fixing of I/D and O/D , cable box of 11 KV 3x185 mm 2 XPLE Cable | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Filling and fixing of 33 KV out door Jointing kit size 3x300 sq mm2. | Providing and fixing of LT clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 Nos. bolts and nuts size 16x100 mm as RESPO specification. | 124 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Grouting/Errection of stay set after digging of pits in proper size and grouting in Ratio 1:4:8 with cement, sand and concrete as per norms of nigam & complete work in all respect as per RESPO norms. | Providing and fixing of stay / sted/brassing clamp made of MS flat size 50x6 mm suitable for ST pole with 3 Nos. bolts and nuts size 16x65 mm as RESSPO specification. | 20 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Fixing and Providing Danger Board with nut & bolt defrent size with washer. | Providing and fixing of GI pipe B class 6" inch dia. | 60 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Fixing and providing Number Plate with nut & bolt defrent size with washer | Providing and fixing of MS bolt and nuts of size (16x150mm, 4"x1/2" inch, 1.5" x 1/2" inch, 1" x 1/2" inch each) and off size half threaded of good quality. | 120 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Providing and Fixing Stone Pad & complete work in all respect. | (A) ACSR Weasel, Racoon & Dog Conductor | 60 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
23 | Providing and Fixing of G I Barbed wire & complete work in all respect. | (B) 11 KV/ LT. ABC Cable | 200 | KG | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Concreting of ST pole with cement, sand & bricks ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | (C) Laying of 11 KV XLPE Cable in Trench | 60 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Fixing and Providing MS Holding pole clamp with nut & bolt defrent size. | Making of Guarding of 11· KV line as per RESPO norms | 600 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Fixing and Providing cable support pole clamp with nut & bolt defrent size. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 120 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | ROAD RESTORATION CHARGES FOR FOOTPATH & COMPLETE WORK IN ALL RESPECT AS PER RESPO NORMS. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 7350 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Laying of 33 KV XLPE cable size 3x300 mm2(300 MTR) tranchless Method(HDPE Pipe With Machine) with material (double circuit U/G Line) & complete work in all respect For Road and Railway Crossing. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 300 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | ROAD RESORATION CHARGES FOR KACCHA/ PAKKA ROAD & COMPLETE WORK IN ALL RESPECT AS PER RESPO NORMS. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 600 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Fixing of 33 KV Metering cubical in meter room properly & complete work in all respect. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Fixing of 33 KV CT/PT Combiend unit on double pole properly & complete work in all respect. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Fixing of 33 KV VCB properly & complete work in all respect. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | Making of all cable connection VCB/Double pole. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information