## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : CONSTRUCTION WORK OF 11/L.T LINE, DOUBLE POLE FOR RELEASING OF NEW CONNECTION AND LINE SHIFTING WORKS AND OTHER RELATED WORK UNDER DEPOSIT SCHEME IN THE JURISDICTION OF EDD - Gr. NOIDA
Contract No: SHORT TERM E-TENDER NO 19/EUDC-II NOIDA/2023-24
G.S.T. paid extra as applicable
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder without GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Removal of of ACSR Dog/ ACSR/AB CABLE/XLPE CABLE from both side spans of pole and removal of H.T/L.T line accessories from damaged pole. |  | 1 | Span | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Dismantling of single support PCC Pole/S.T Pole from pit and S.T Pole carriage from work site to J.E's store and damaged PCC Pole will be carriage from wotk site to dumping yard/JE Store/Noida Store including loading & unloading at both ends. |  | 1 | Nos. | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Carriage of Distribution box(Single Phase/Three Phase) from Store Center Sahibabad to work site including safe loading and unloading at both ends. AND FIXING AND Installation of single/Three Phase Distribution box on pole with providing suitable L.T clamps and making LT lead connection complete in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 40 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Carriage of New 8.5mt./9mtr Long PCC pole from Central Store, Shaibabad/Sector 20, Noida/J.E Store to work site including safe loading and unloading at both ends. |  | 1 | Per No. | 100 |  |  | Excess(+) | 200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Carriage of New 9Mtr, 11mtr, 13mtr. Long STP from Central Store, Shaibabad/Sector 20, Noida/J.E Store to work site including safe loading and unloading at both ends. |  | 1 | Per No. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Carriage of line accessories, Double pole accessories as cross arm, M.S channel, Angle, Differenct capacity Disc Insulator with fitting, Pin Insulator with pin or other material which was issued from Store for required for work complete and fixing it all accessories on the poles or as required as per site requirement with complete work in all respect. |  | 1 | Ton | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Erection & fabrication of following supports including fitting of all required accessories of H.T/L.T line as per RESPO schedule. All type of M.S clamps, nuts bolts, stone pads ets. required for the above work shall be provided by the contractor at his own cost. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Single support on ST Pole 11/13Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Single support on PCC Pole 8.5/9mtr Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Fabrication of Double Pole on S.T/PCC Pole 11 Mtr./8.5mtr Long Structure with Complete work in all respect AS PER RESPO. |  | 1 | Per No. | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Grouting, concreting & Plinthing of supports as per RESPO norms. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | S.T pole 11/13Mtr. Long |  | 1 | Per No. | 100 |  |  | Excess(+) | 100 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | 8.5/9 Mtr PCC Poles. |  | 1 | Per No. | 100 |  |  | Excess(+) | 200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Fixing, erection & grouting of Stay set complete with binding & Nozzling of stay wire. (All Material and work in the scope of Contractor) |  | 1 | Per No. | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Earthing of supports with the help of Earthing rod & GI wire/earth wire.(All Material and work in the scope of Contractor) |  | 1 | Per No. | 100 |  |  | Excess(+) | 120 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Carriage of Below mentioned conductor form Store Centre, Sahibabad/Noida/Any Store of PVVNL Discomt to work site including safe loading and unloading at both ends. with Laying lifting, stringing & proper sagging of New conductor on H.T/L.T line for New Connection to Consumer with binding, jumpering etc.including complete connections in all respect. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | ACSR Dog Conductor. |  | 1 | Mt. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | ACSR Weasel Conductor. |  | 1 | Mt. | 100 |  |  | Excess(+) | 2000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Carriage of Below mentioned ABC cable 50/70/ 95/120 Sqmm from Store Centre Sahibabad/Noida/Ghaziadad/Any Store of PVVNL Discom to work site including safe loading and unloading at both ends with laying, lifting of sagging of ABC cable and fixing of all types clamps & connection complete in all respect. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | size 50/70 sqmm |  | 1 | Mt. | 100 |  |  | Excess(+) | 1500 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | size 95/120 sqmm |  | 1 | Mt. | 100 |  |  | Excess(+) | 2000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Carriage of 3x50/70/120/185/220/385 sqmm of LT/11KV/33 KV XLPE cable from Store Center, sector 20,Noida/J.E Store/Ghaziabad/Any Store of PVVNL Discom to work site, loading & unloading both side with Laying and comissioning of LT/11KV/33KV XLPE Double Ckt./SINGLE CKT. by digging of trench of size 750 mm wide 1050 mm deep and boxing with brick by three sides, sand, stone slab 600x450x50mm & proving hume pipe 200 mm dia its required filling of trench, leveling and proper rooming as per site requirement. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Providng and Fixing of Different Types of MS Nut & Bolts as per site req. |  | 1 | Kg | 100 |  |  | Excess(+) | 25 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Carriage, Installation and comissioning of 25/63/100/250/400KVA New Transformer from Workshop/any Store of PVVNL to Site including loading and unloading both sides with mounting on double pole or Plith and making all the connections complete in all respect. |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Providing and Fixing of Heat shrinkable type 11/33 KV Outdoor/Indoor jointing kits and Straight Through (DENSON/Compaq/3M) suitable for 3x50/70/120/185/220/385 sqmm cable with Proper connection with the help of Jointer after digging kaccha/pakka road after fill it again and complete connections in all respect. (Material and work in the scope of Contractor) |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Carriage of Metering System, CT-PT, CT & PT, VCB with Cubicle/BREAKER frorm Store Noida/Ghaziabad/BSR to Site including loading and unloading both sides and Installation and commissioning of above system/equipements with mounting on double pole/Meter Room or Plith and making all the connections complete in all respect with required chemical Earthing. (Material will be provided by the Department and Installation and Carriage in the scope of contractor) |  | 1 | Per No. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | The following material is required to supplied by the contractor as per RESPO/PVVNL Approved and Fixing of its material as required as per site requirement. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Supply and fixing of Suspension Clamps as per RESPPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Supply and fixing of F-Brackets as per RESPPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Supply and fixing of Different types of Holding Clamps, Fclamps and as required at site. |  | 1 | Nos | 100 |  |  | Excess(+) | 200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Supply Fuse Wire tinned copper Best Quality AND FIXING IT ON T/F OR AS REQUIRED. |  | 1 | Kg | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Supply and fixing of Piercing Clamp as per RESPPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 200 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Supply and fixing of Fuse Set as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information