## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For the work of Electrification of GST Bulding for 800 KVA HV-I New connection and Electrification of Yashodaplus for 700 KVA HV-I New connection the jurisdiction of EUDD-I Ghaziabad.
Contract No: 51/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | For the work of Electrification of GST Bulding for 800 KVA HV-I New connection the jurisdiction of EUDD-I Ghaziabad | For the work of Electrification of GST Bulding for 800 KVA HV-I New connection the jurisdiction of EUDD-I Ghaziabad | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 9 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Loading safe Cartage & Unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channels cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | Loading safe Cartage & Unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channels cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 820 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Cartage of 11 KV XLPE Cable 3x120 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV XLPE Cable 3x120 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 800 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Cartage of 11 KV Metering cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV Metering cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Citting /Drilling/welding of MS Channel(338KG) angle(210 KG),Top & Dropper Channel & complete work in all respect. | Citting /Drilling/welding of MS Channel(338KG) angle(210 KG),Top & Dropper Channel & complete work in all respect. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on D/P and refilling by earth & complete work in all respect. | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on D/P and refilling by earth & complete work in all respect. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on single pole and refilling by earth & complete work in all respect. | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on single pole and refilling by earth & complete work in all respect. | 7 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Fixing of all accessosries (Channel/angle, clamps, insulator etc) on Double pole & complete work in all respect. | Fixing of all accessosries (Channel/angle, clamps, insulator etc) on Double pole & complete work in all respect. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12 | Laying of 11 KV XLPE cable open cut mathod size 3x120 mm2 including 140 mm HDPE Pipe & restoration of road complete work in all respect. | Laying of 11 KV XLPE cable open cut mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | 570 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | 230 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Laying of 11 KV XLPE cable Trench less mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | Laying of 11 KV XLPE cable Trench less mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | 120 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Filling of 11 KV Jointong kit size 3x120 mm2 & complete work in all respect. | Filling of 11 KV Jointong kit size 3x120 mm2 & complete work in all respect. | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Fixing and providing Danger Board with nut & bolt defrent size with washer. | Fixing and providing Danger Board with nut & bolt defrent size with washer. | 4 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Earthing of pole with MS earth road complete work in all respect. | Earthing of pole with MS earth road complete work in all respect. | 11 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Paint of pole Structure after rubbing/cleaning of surface as per required complete work in all respect as per RESPO norms. | Paint of pole Structure after rubbing/cleaning of surface as per required complete work in all respect as per RESPO norms. | 9 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Fixing of 11 KV Metering cubical in meter room & complete work in all respect as per RESPO norms. | Fixing of 11 KV Metering cubical in meter room & complete work in all respect as per RESPO norms. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Concreting of ST pole with cement, sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | Concreting of ST pole with cement, sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | 9 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Fixing and providing of MS Nut & Bolt different size with washer. | Fixing and providing of MS Nut & Bolt different size with washer. | 4 | K G | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Fixing and providing of Barbed wire around the pole. | Fixing and providing of Barbed wire around the pole. | 4 | K G | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Fixing and providing of stone pad & complete work in all respect as per RESPO norms. | Fixing and providing of stone pad & complete work in all respect as per RESPO norms. | 9 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | Fixing and providing MS pole clamp with nut & bolt defrent size. | Fixing and providing MS pole clamp with nut & bolt defrent size. | 30 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Dismentling of all fitting and conductor on ST pole (Double pole) effected exiting double pole. | Dismentling of all fitting and conductor on ST pole (Double pole) effected exiting double pole. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | Cartage of old materials scrap (Channel/angle, Pin insulator ,Conductor….. etc) from Site to Je/Store center including loading and unloading at both end. | Cartage of old materials scrap (Channel/angle, Pin insulator ,Conductor….. etc) from Site to Je/Store center including loading and unloading at both end. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Dismentling of ACSR Old & Use Weseal conductor exiting 11 KV Line. | Dismentling of ACSR Old & Use Weseal conductor exiting 11 KV Line. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Laying stringing and proper sagging ACSR onductor and proper jumper & complete work in all respect as per norms. | Laying stringing and proper sagging ACSR onductor and proper jumper & complete work in all respect as per norms. | 800 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Making of all cable connection properly. | Making of all cacble connection properly. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | Chemical of Earthing of with suitable size and fixing suitable G I stripe including all material complete work in all respect(all materials providing by contractor) | Chemical of Earthing of with suitable size and fixing suitable G I stripe including all material complete work in all respect(all materials providing by contractor) | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
34 | Cartage of old materials scrap (Pole, Conductor.etc ) from Site to Je/Store center including loading and unloading at both end. | Cartage of old materials scrap(Pole, Conductor.etc ) from Site to Je/Store center including loading and unloading at both end. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
35 | For the work of Electrification of Yashodaplus for 700 KVA HV-I New connection the jurisdiction of EUDD-I Ghaziabad | For the work of Electrification of Yashodaplus for 700 KVA HV-I New connection the jurisdiction of EUDD-I Ghaziabad | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
36 | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 12 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
37 | Loading safe Cartage & unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channals cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | Loading safe Cartage & unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channals cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 525 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
40 | Cartage of 11 KV Metring cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | Cartage of 11 KV Metring cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
41 | Citting /Drilling/welding of MS Channal angle,Top & Dropper Channal & complete work in all respect. | Citting /Drilling/welding of MS Channal angle,Top & Dropper Channal & complete work in all respect. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
42 | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
43 | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on single pole and refilling by earth & complete work in all respect. | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on single pole and refilling by earth & complete work in all respect. | 10 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
44 | Fixing of all accessories (Channal/angle,clamps , insulator etc) on Double pole & complete work in all respect. | Fixing of all accessories (Channal/angle,clamps , insulator etc) on Double pole & complete work in all respect. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
45 | Laying of 11 KV XLPE cable on air size 3x185 mm2 with support GI wire 4/8 SWG at single pole after fixing angle/channal pices with the help & complete work in all respect. | Laying of 11 KV XLPE cable on air size 3x185 mm2 with support GI wire 4/8 SWG at single pole after fixing angle/channal pices with the help & complete work in all respect. | 500 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
46 | laying of 11 KV XLPE cable size 3x185 mm2 in loop and riser & complete work in all respect. | laying of 11 KV XLPE cable size 3x185 mm2 in loop and riser & complete work in all respect. | 25 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
47 | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | 4 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
48 | Fixing and providing Danger Board with nut & bolt defrent size with washer | Fixing and providing Danger Board with nut & bolt defrent size with washer | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
49 | Earthing of pole with M S earth road complete work in all respect | Earthing of pole with M S earth road complete work in all respect | 16 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
50 | Paint of Double pole Stricture after rubbing/cleaing of surface as per required complete work in all respect as per RESPO norms. | Paint of Double pole Stricture after rubbing/cleaing of surface as per required complete work in all respect as per RESPO norms. | 12 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
51 | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
52 | Fixing of 11 KV Metring cubical in meter room & complete work in all respect as per RESPO norms. | Fixing of 11 KV Metring cubical in meter room & complete work in all respect as per RESPO norms. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
53 | Concreting of ST pole with cement,sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | Concreting of ST pole with cement,sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | 12 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
54 | Fixing and providing of MS Nut & Bolt different size with washer | Fixing and providing of MS Nut & Bolt different size with washer | 15 | K G | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
55 | Fixing and providing of barbed wire around the pole | Fixing and providing of barbed wire around the pole | 2 | K G | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
56 | Removing of old & use 400 KVA T/F exiting double pole with the help of crane and safe placing newly side | Removing of old & use 400 KVA T/F exiting double pole with the help of crane and safe placing newly side | 3 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
57 | Fixing and providing of stone paid & complete work in all respect as per RESPO norms. | Fixing and providing of stone paid & complete work in all respect as per RESPO norms. | 12 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
58 | Fixing and providing MS pole clamp with nut & bolt defrent size | Fixing and providing MS pole clamp with nut & bolt defrent size | 36 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
59 | dismentling of all fitting and conductor on ST pole (Double pole ) effected exiting double pole | dismentling of all fitting and conductor on ST pole (Double pole ) effected exiting double pole | 3 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
60 | Dismantling of ST pole old and use exiting double pole with the help of crane | Dismantling of ST pole old and use exiting double pole with the help of crane | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
61 | Cartage of old materials scrap (Channel/angle. Pin insulator ,Conductor.etc ) from Site to Je/Store center including loading and unloading at both end. | Cartage of old materials scrap (Channel/angle. Pin insulator ,Conductor.etc ) from Site to Je/Store center including loading and unloading at both end. | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
62 | Cartage of old pole from Site to Je/Store center including loading and unloading both end. | Cartage of old pole from Site to Je/Store center including loading and unloading both end. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
63 | Cartage of old & use 400 KVA T/F from Site to Je/Store center including loading and unloading both end. | Cartage of old & use 400 KVA T/F from Site to Je/Store center including loading and unloading both end. | 3 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
64 | Making of all cable connection properly | Making of all cable connection properly | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information