## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For the work of Shifting of 11 KV Fedder No-8 and 33 KV SURYA PROCESSOR Lal kuan, near Railway over Bridge proposed new line for over head line to under ground Line Jurisdiction of EUDD-9 Ghaziabad.
Contract No: 49/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Shifting of 11 KV line Fedder No-8 Lal Kuwna near Railway over Bridge perposed new line for over hed line to under ground line. | Laying, sagging, stringing, binding and jumpering etc of ACSR dog conductor on the newly erected pole and existing pole as per RESPO manual required for proper completion of work | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2 | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side | (A) ACSR Weasel, Racoon & Dog Conductor | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Safe Cartage & unloading of hevay stock line material ,pin insulator,disc insulator angle ,channel ,jointing kit ,ms earth road and other line material from store center Meerut road GZB/SBD to different site , | (B) 11 KV/ LT. ABC Cable | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Cartage of 11 KV XLPE Cable size 3x240mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side | (C) Laying of 11 KV XLPE Cable in Trench | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Providing and fixing Stone Pad complete work in all respect | Making of Guarding of 11· KV line as per RESPO norms | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Citting /Drilling/Welding of MS Channel and angle & complete work in all respect. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Errection of tripole Structure with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on T/P and refilling by earth & complete work in all respect. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Errection of Single pole Structure with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on S/P and refilling by earth & complete work in all respect. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 3 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Fixing of all assosrieses (channal, angle,clamps , insulator etc ) on 11 KV Single pole & complete work in all respect. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 4 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | laying of 11 KV XLPE cable size 3x240 mm2 after digging of cable trench Kuccha Puccka /inter locking /RCC/Damer Road & complete work in all respect. (350x2) | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Road restoration charge Kuccha Puccka /Inter locking /RCC/Damer Road after laying of cable in tranch as per site inspection | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 350 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Filling of 11 KV Jointong kit size 3x240 mm2 | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Fixing and providing of G.I. Pipe 6'' Dia for cable support | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 12 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Earthing of pole with MS earth road complete work in all respect | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 3 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Concreting of ST pole with cement,sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Fixing and providing MS pole clamp with nut & bolt defrent size | Installation of 33.KV Metering cubical in meter room complete work as per RESPO manual | 12 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Dismentling of old and use ACSR dog conductor on pole Existing 11 KV line & making bundal and catage of old materials work site To JE Store | Providing and fixing of holding clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 No. bolts and Nuts size 16x100 mm as RESSPO specification. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Dismantling of ST pole 13 mtr long old and use exiting double pole and single pole exting 11 KV Line with the help of crane | Providing and fixing of I/D and O/D , cable box of 11 KV 3x185 mm 2 XPLE Cable | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Cartage of old materials scrap from Site to Je Store including loading and unloading at both end. | Providing and fixing of LT clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 Nos. bolts and nuts size 16x100 mm as RESPO specification. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Cartage of old pole from Site to Je Store including loading and unloading both end. | Providing and fixing of stay / sted/brassing clamp made of MS flat size 50x6 mm suitable for ST pole with 3 Nos. bolts and nuts size 16x65 mm as RESSPO specification. | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Making of all connection on 11 KV Line properly | Providing and fixing of GI pipe B class 6" inch dia. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Providing and fixing and Laying of HDPE Pipe | Providing and fixing of MS bolt and nuts of size (16x150mm, 4"x1/2" inch, 1.5" x 1/2" inch, 1" x 1/2" inch each) and off size half threaded of good quality. | 102 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Shifting of 33 KV SURYA PROCESSOR Lal kuan, near Railway over Bridge proposed new line for over head line to under ground Line. | Laying, sagging, stringing, binding and jumpering etc of ACSR dog conductor on the newly erected pole and existing pole as per RESPO manual required for proper completion of work | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24 | Cartage of ST pole 11 meter long from store center Meerut road GZB/SBD to site including loading and unloading at both side | (A) ACSR Weasel, Racoon & Dog Conductor | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
25 | Safe Cartage & unloading of hevay stock line material ,pin insulator,disc insulator angle ,channel ,jointing kit ,ms earth road and other line material from store center Meerut road GZB/SBD to different site , | (B) 11 KV/ LT. ABC Cable | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Cartage of 33 KV XLPE Cable size 3x300mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side | (C) Laying of 11 KV XLPE Cable in Trench | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
27 | Providing and fixing Stone Paid complete work in all respect | Making of Guarding of 11· KV line as per RESPO norms | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Citting /Drilling/Welding of MS Channel and angle & complete work in all respect. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | Errection of tri pole Structure with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on T/P and refilling by earth & complete work in all respect. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Errection of Single pole Structure with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on S/P and refilling by earth & complete work in all respect. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 3 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Fixing of all assosrieses (channal, angle,clamps , insulator etc ) on 33 KV Single pole & complete work in all respect. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 4 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Laying of 33 KV XLPE cable size 3x240 mm2 after digging of cable tranch Kuccha Puccka /Inter locking /RCC/Damer Road & complete work in all respect. (350x2) | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | Road restoration charge Kuccha Puccka /Inter locking /RCC/Damer Road after laying of cable in tranch as per site inspection | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 350 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
34 | Filling of 33 KV Jointong kit size 3x240 mm2 | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
35 | Fixing and providing of G.I. Pipe 6'' Dia for cable support | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 18 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
36 | Earthing of pole with MS earth road complete work in all respect | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 3 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
37 | Concreting of ST pole with cement,sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
38 | Fixing and providing MS pole clamp with nut & bolt defrent size | Installation of 33.KV Metering cubical in meter room complete work as per RESPO manual | 16 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
39 | Dismentling of old and use ACSR conductor on pole Existing 33 KV line & making bundal and catage of old materials work site To JE Store | Providing and fixing of holding clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 No. bolts and Nuts size 16x100 mm as RESSPO specification. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
40 | Dismantling of ST pole 13 mtr long old and use exiting double pole and single pole exting 33 KV Line with thehelp of crane | Providing and fixing of I/D and O/D , cable box of 11 KV 3x185 mm 2 XPLE Cable | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
41 | Cartage of old materials scrap from Site to Je Store including loading and unloading at both end. | Providing and fixing of LT clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 Nos. bolts and nuts size 16x100 mm as RESPO specification. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
42 | Cartage of old pole from Site to Je Store including loading and unloading both end. | Providing and fixing of stay / sted/brassing clamp made of MS flat size 50x6 mm suitable for ST pole with 3 Nos. bolts and nuts size 16x65 mm as RESSPO specification. | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
43 | Making of all connection on 33 KV Line properly | Providing and fixing of GI pipe B class 6" inch dia. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
44 | Providing and fixing and Laying of HDPE Pipe | Providing and fixing of MS bolt and nuts of size (16x150mm, 4"x1/2" inch, 1.5" x 1/2" inch, 1" x 1/2" inch each) and off size half threaded of good quality. | 108 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information