## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority:-Executive Engineer, ECDD Ghaziabad, PVVNL
Name of Work:- Annual M&R Work for Non-Residential Buildings ( DR. Center)at sec-58, Shakti Sadan(Guest House) at sec-38 and Chief office at 33/11 kv s/s sec-16 Noida Distt. Gautambuddhnagar for Year 2023-24.
Tender Specification No : 14/ECDD/GZB/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Excavation in foundation in ordinary soil (loam clay or sand) including lift upto 1.5 Meter and lead upto 30 metre and including filling, watering, and ramming of excavated earth into the trenches or into the space between the building and the side of the foundation. CSI No. 4.01 |  | 2 | Cum. | 195 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Clearing jungle including uprooting of rank vegetations,grass, bush, wood, trees and saplings of girth upto 30cm measured at a height of 1.0m above ground level and removal of rubbish upto a distance of 50m outside the periphery of UPPCL area cleared. CSI No. 4.08 |  | 100 | Sqm | 8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | Earth filling under floors and/or sub station area including cost of earth when obtained from with in 8 km outside UPPCL area including its roylty and carriage including watering, ramming in 20 cm layers and dressing of earth etc. all complete. CSI No. 4.10 |  | 5 | Cum. | 433 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Concrete with 4cm gauge stone ballast down graded, coarse sand (FM 1.8 to 2.5) and cement in proportion of 12:6:1 in foundation and under floors including supply of all materials, labour, tools and plants etc. required for proper completion of the work. CSI No. 5.02 |  | 0.5 | Cum. | 5928 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Cement concrete with 2cm gauge approved hard stone ballast, coarse sand and cement in proportion of 1:1.5:3 including supply of all materials, labour,side shuttering if required and T&P etc. required for proper completion of work. CSI No. 5.21 |  | 0.5 | Cum | 7926 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Precast cement concrete door sills, Chaukhats, boundary posts, shelves and similar small work with cement, approved coarse sand and 20mm gauge down graded stone ballast in proportion of 1:1.5:3 excluding supply of reinforcement and its bending but including its cutting, fixing and binding the same with 24 B.W.G. G.I. binding wire including the cost of binding wire, moulds and all other materials, labour and T&P etc. required for proper completion of the work. CSI No. 5.22 |  | 0.3 | Cum | 9478 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granit, quartzite etc from Dalla, Jhansi or other quarries in proportion 1:2:4 in lintels of doors and windows, excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P. CSI No. 5.10 |  | 0.2 | Cum | 8663 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc from Dalla, Jhansi or other quarries in proportion 1:1.5:3 in lintels of doors and windows, excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P. CSI No. 5.23 |  | 0.2 | Cum | 9134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9 | RCC work with cement, approved coarse sand (F.M. 1.8 to 2.5) and 2 cm gauge graded approved hard stone ballast like granite, quartzite etc from Dalla, Jhansi or other quarries in proportion 1:1.5:3 in slab, excluding supply of reinforcement & its bending but including its fixing and binding the same with binding wire, including cost of all other materials labour and T&P CSI No. 5.24 |  | 0.1 | Cum | 10518 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
10 | 1st class brick work in 1:6 cement and coarse sand mortar in foundation and plinth including supply of all material, labour and T&P etc. required for proper completion of work. CSI No. 6.01 |  | 0.5 | Cum. | 5213 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | First class brick work in 1:6 cement and coarse sand mortar for one brick thick wall (230mm) in super structure including supply of all materials, labour & T&P etc. required for proper completion of work For wall of one brick thick (230mm) CSI No. 6.01+6.07+6.08 |  | 0.5 | Cum | 5908 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | First class brick work in 1:4 cement and coarse sand mortar for wall of 1/2 brick thick (115 mm) in super structure including supply of all materials, labour & T&P etc. required for proper completion of work for wall of 1/2 brick thick (115 mm) CSI No. 6.03+6.07+6.09 |  | 0.2 | Cum | 6266 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Brick work in foundation & plinth with old dismantled bricks (supplied by department free of cost) and coarse sand of F.M. 1.8 to 2.5 mortar in 1:6 including supply of all other materials, labour, removing mortar & cleaning of old & used bricks,T&P etc complete. CSI No. 6.18 |  | 0.2 | Cum | 2905 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Same as in item 6.18 above but in super structure for 230 mm thick wall. CSI No. 6.19 |  | 0.1 | Cum | 3600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Indian Sal wood wrought framed and fixed including simple, mouldings straight work as in Chaukhats including supply of all materials, labour and T&P etc.required for proper completion of the work CSI No. 8.03 |  | 0.01 | Cum | 89987 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing& fixing Roller Blind of Approved Quality and shade over windows as per direction of E/I including all accessories required for fixing complete. (old CSI 8.39) |  | 1 | SQM | 1950 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Providing& fixing CP Brass 100mm Mortice latch& Lock with 6 levers and a pair of handles of approved quality (godrej/doorset etc.) with necessary screws etc with all materials,labour and T&P etc. required for proper complete (old CSI 26.20) |  | 1 | Each | 2250 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | S/F of Country wood battens 8cm x 1cm Galvanized Mosquitos proof heavy quality iron wire gauge (14x24) over window frames and including supply of C.P. Teak wood battens 8cm x 1cm. and including supply and fixing of necessary screws, all materials,labour and T&P etc. required for proper complete. CSI No. 8.45 |  | 0.5 | Sqm | 906 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19 | Providing and fixing 1.2 cm thick and 15 cm wide wooden pelmets with 19 mm dia alluminium curtain rod and bracket, top closed with same wood plank 1.2 cm thick including fixing with 2.5 x 0.3 cm M.S. flat 20 cm long and plug etc. complete with painting polishing or oiling as required made of with C.P.Teak wood CSI No. 8.48 |  | 0.5 | RM | 596 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Fixing of Departmental doors & windows shutters including supply & fixing of hinges and other fixtures.(excluding their supply) including all materials, labour & T&P etc. required for proper completion of work. CSI No. 8.51 |  | 1 | SQM | 984 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21 | P/F fully Anodized aluminium fixed glazing with HINDALCO or equivalent extruded standard sections14gauge (2.41mm thick) of various cross sections and joints mitred and jointed as shown in drawing including providing & fixing 5.5 mm thick toughened glass with Neoprene beading & aluminium glazing clips all around. The minimum thickness of anodizing on all aluminium sections should be 20 microns with a (+) 2 microns tolerance . The rate should include the cost of fixing the aluminum frame on Teak wood frame or finished wall (RB/RCC/Masonry) surface by means of 80 mm long approved counter sunk screws provided at 500 mm c/c or part there of starting from 100 mm above the bottom in vertical member and 100 mm from both the ends of horizontal top and bottom member excluding cost of Teak frame but including cost of all other material, labour, tools & plants etc. complete. (CSI No. 8.52) |  | 0.5 | SQM | 3975 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Same as above item No. 8.52 but for openable window portion as shown in drawings, including cost of Aluminium hinges and all other fittings like concealed tower bolts handles etc of approved quality and including cost of all other material, labour, tools & plants etc. complete. (CSI No. 8.53) |  | 0.5 | SQM | 4691 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Same as in item No. 8.52 but for openable gate/door portion as shown in drawings including cost of hinges and Aluminium fittings like tower bolts, handles, stoppers, push plates, brass body with brass component 6 levers cocealed lock etc of heavy & approved quality and including cost of all other material, labour, tools & plants etc. complete. (CSI No. 8.54) |  | 0.5 | SQM | 4033 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | S/Fixing of double action floor springs including cutting in floors / RCC slabs and grouting the same with C.C. & finishing the surface properly as and where required under aluminium doors as per direction of Engineer-in-charge. including cost of all other material, labour, tools & plants etc. complete. (CSI No. 8.55) |  | 1 | Each | 2905 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | As in item no. 8.55 but for single action floor springs. (CSI No. 8.56) |  | 1 | Each | 1350 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Supply and fixing brass polished hydraulic door closure of approved make & quality its fixing and adjustment with the help of screws, nuts and bolts including supply of all labour, T & P etc. required for proper completion of the work. CSI No. 8.60 |  | 1 | Nos | 1559 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27 | Supplying & fixing 24 gauge annodized aluminium sheet of approved quality including cutting, wastage and fixing the same over the wooden door shutters with nails with all material, labour and T&P. CSI No. 8.63 |  | 0.5 | SQM | 411 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Supply and fixing of 32 mm thick single leaf flush door shutter ( boiled water resistance, phenol maldehide resin bonded, hot pressed factory made) commercial quality to I.S.2202 part-1 (1983) ISI marked including fixing of wooden cleats and stoppers and including fixing and adjustment of hinges,bolts.locks,handles, springs and other fittings but excluding their supply including all materials, labour & T&P etc. required for proper completion of work CSI No. 8.57 |  | 1 | Sqm | 1927 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | Mild Steel or Iron work in heavy sizes such as trusses built up gates, door frames, record, racks roof work gates etc. wrought to required form including holes rivetting or welding where necessary and also fixing in proper position and alignment including cost of all materials supplied by contractor. CSI No. 9.01 |  | 0.05 | M.T | 98843 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30 | As in item 9.01 above but when steel is to be provided by the department. CSI No. 9.02 |  | 0.05 | M.T | 32513 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | TMT/Tor steel in plain work such as reinforced concrete or reinforced brick work (when not included in an over all rates) wrought to required shape as necessary including bending for proper completion of the work and including supply of steel its wastage, bend, hooks and authorized overlapping shall be measured. (Steel shall be arranged by the contractor) . CSI No. 9.03 |  | 0.1 | M.T | 87899 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
32 | Supply and fixing galvanised mosquito proof jali (16x24 gauge) with M.S. flat of 20 x 3 mm. size, on both sides screwed or welded to window or door frame. CSI No. 9.18 |  | 5 | Sqm | 728 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
33 | S/F welded wire mesh size 75x25mm and rectangular made out of 10 SWG over M.S. angle frame with M.S. flat welded as required including cost of drilling holes, washer welding etc as required including cost of all material, labour and T&P etc. required for proper completion of work . except cost of M.S angle and flat. CSI No. 9.22 |  | 0.5 | SQM | 471 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
34 | Supply and fixing 24 B.W.G , G.C. Iron Sheet roofing .fixed in position with J or U bolts 10 mm. dia with G.I. Limpet & bitumen washers including supply of all materials, labour,wastage. and T&P etc. required for proper completion of the work. CSI No. 10.01 |  | 5 | Sqm | 679 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | Supply and fixing of 6 mm thick grey corrugated asbestos sheet 24 B.W.G , G.C. Iron Sheet roofing .fixed in position with J or U bolts 10 mm. dia with G.I. Limpet & bitumen washers including supply of all materials, labour,wastage. and T&P etc. required for proper completion of the work. CSI No. 10.03 |  | 0.5 | Sqm | 581 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | Spreading over leaky roofs with bitumen paints at 0.45 Kg per sq.m. including sweeping, cleaning the roof with brushes, heating of the paints upto the required temperature,pouring it on the surface, spreading of necessary quantity of approved coarse sand 1 cft. per 100 sft. and including supply of all materials, labour and T&P etc. required for proper completion of the work CSI No. 10.05 |  | 50 | Sqm | 72 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37 | Supply and laying one layer of tar felt or any other equivalent approved material at the junction of wall & roof or at any place as per direction of the Engineer-Incharge including necessary overlap, applying a coat of approved mastic paint below the Tar felt & including supply of all materials, labour and T&P etc. required for proper completion of the work CSI No. 10.06 |  | 5 | Sqm | 416 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
38 | Supply and fixing 6mm thick polycarbonate multiwall sheet, fixing in position with J or U bolts 10 mm dia with GI Limpet & bitumen washers including supply of all material labour,wastage and T&P etc for proper completion of work. CSI No. 10.13 |  | 2 | Sqm | 710 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | 12 mm thick plaster with cement mortar consisting of one part of cement & three part of coarse sand (1:3), minimum thickness not to be less then 10 mm including supply of all material labour and T&P etc for proper completion of work. CSI No. 11.06 |  | 11 | Sqm | 214 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40 | 12 mm thick plaster with cement mortar consisting of one part of cement & four part of coarse sand (1:4), minimum thickness not to be less then 10 mm including supply of all material, labour and T&P etc for proper completion of work. CSI No. 11.07 |  | 55 | Sqm | 197 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41 | 12 mm thick plaster with cement mortar consisting of one part of cement & six part of coarse sand(1:6),minimum thickness not to be less then 10 mm including supply of all material, labour and T&P etc for proper completion of work. CSI No. 11.09 |  | 51 | Sqm | 187 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
42 | Rough cast finish to plasters of different mortars,add extra to plaster items. CSI No. 11.11 |  | 2 | Sqm | 87 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | Add for extra labour and materials for plaster over rough face of one brick thick wall. CSI No. 11.12 |  | 20 | Sqm | 25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
44 | 2 cm. thick cement plaster in dado or skirting in 1:2 consisting of one part of cement and two parts of approved coarse sand laid in panels finished with 3mm.floating coat of neat cement or cement and marble dust in ratio of 5:1 including supply of all materials, labour & T&P etc. required for proper completion of the work. CSI No. 11.13 |  | 2 | Sqm | 289 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
45 | S/mixing approved water proofing compound (CICO,DR FIXIT etc) in cement mortar in plaster or concrete work in the proportion as recommended by the manufacturer. CSI No. 11.15 |  | 10 | Kg | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Providing (12x15) mm section groove in plaster including all material, labour and T&P etc. required for proper completion of the work. (CSI No. 11.16) |  | 10 | Rmt. | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
47 | Making drip coarse (25x12) mm in 1:2 cement and coarse sand including supply of all materials, labour and T&P etc required for proper completion of work. CSI No. 11.19 |  | 10 | RM | 12 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
48 | 3 mm thick floating coat of neat cement finish including supply of all materials,labour and T&P etc. required for proper completion of the work.( cement consumption 0.044 bag/Sq.m.) CSI No. 11.20 |  | 5 | Sqm | 21 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
49 | 4.0 cm thick 1:2:4 plain cement concrete floor with cement, approved coarse sand & 2cm graded approved stone ballast laid in panels finished with 3mm floating coat of neat cement or cement and marble dust in ratio of 5:1 as specified and removing any overlapping mortar at the joints of the panels if any and giving them a uniform finish including supply of all materials, labour and T&P etc, required for proper completion of the work. CSI No. 12.04 |  | 2 | Sqm | 429 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | First class bricks on edge floor laid dry, joints sand filled, including preparation of base to proper slope and its ramming including supply of all material labour & T&P etc. required for proper completion of the work CSI No. 12.07 |  | 1 | Sqm | 582 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
51 | Supply and Laying 8 mm thick glazed floor tiles of Somany, Johnson or equivalent make, , laid with 1:3 cement and approved coarse sand mortar finished with white cement slurry, jointing and polishing complete, including supply of all materials, labour and T&P etc. required for proper completion of the work. CSI No. 12.11 |  | 10 | Sqm | 1096 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | Supply and Laying 6 mm thick glazed tiles in skirting / dado laid with 1:3 cement and approved coarse sand mortar finished with white cement slurry, jointing and polishing complete,including supply of all materials, labour and T&P etc. completion required for proper completion of the work. CSI No. 12.12 |  | 10 | Sqm | 759 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
53 | Providing and fixing glass strips of 3.15 mm thickness & 40mm depth in joints of floor and skirting at the time of laying floors, flush with floor level including supply of all materials, labour& T&P etc. required for proper completion of work.. CSI No. 12.14 |  | 5 | RM | 33 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
54 | Providing and laying floor of 8 mm thick vitrified tiles in flooring or skirting of approved brand (Bell, Johnson or equi. make) size of 600x600 mm of approved shade, colour and pattern , laid over base cement mortar 1:4 mix including finishing the joints with white cement mixed with pigment to match the shade of tile including cost of all material, labour and T&P required for proper completion of the work. CSI No. 12.18 |  | 3 | Sqm | 1346 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | Providing and laying of 16 mm thick granite ( black/ brown) in flooring or skirting ,of approved shade, colour,size and pattern , laid over base cement mortar 1:4 mix including finishing the joints with white cement mixed with pigment to match the shade of granite floor including cost of all material, labour and T&P required for proper completion of the work, as per direction of Engineer incharge.. CSI No. 12.20 |  | 1 | Sqm | 3499 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56 | Supply of 80 mm thick I shaped mechanically compressed inter locking cement concrete paver block manufactured by high pressure & controlled vibration machine having plan dimension 200X(160+120 mm) with minimum 5 mm thick toping of O.P.Cement mixed with 25% marble powder. The compressive strength of concrete pavers blocks shall not be less than 30 MPa & 4.5 Kg/No. including cost of all material, labour, T&P etc. required for proper completion of work as directed by Engineer-in-charge but excluding G.S.T. which shall be paid extra as per rules CSI No. 12.23 |  | 5 | Sqm | 1035 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | Providing and laying of 16 mm thick Baroda Green Stone in flooring or skirting ,of approved shade, colour,size and pattern , laid over base cement mortar 1:4 mix including finishing the joints with white cement mixed with pigment to match the shade of granite floor including cost of all material, labour and T&P required for proper completion of the work, as per direction of Engineer incharge.. CSI No. 12.30 |  | 1 | Sqm | 1701 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
58 | Painting or varnishing on iron works in small areas of new wood work with one coat of ready mixed priming paint and Two coat of approved superior quality ready mixed paint of clear synthetic varnish including supply of all materials, labour and T&P etc. required for proper completion of the work. CSI No. 13.01 |  | 10 | Sqm | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
59 | Same as in Item No.41 above but for every coat after Ist coat old wood or steel work. CSI No. 13.02 |  | 10 | Sqm | 36 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | Same as in item no. 41 above but for every coat on previously painted old wood or steel work. CSI No. 13.03 |  | 20 | Sqm | 49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
61 | Applying BIRLA PUTTY or equivalent putty on new interior or exterior surface over one coat of water base cement primer of ICI or equivalent brand for smoothning and leveling of the surface as per requirement and direction of E/I, including cost of all material,labour and T&P required for proper completion of work CSI No. 13.20 |  | 60 | Sqm | 89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
62 | Applying BIRLA PUTTY or equivalent putty on OLD interior or exterior surface after cleaning the old painted surface as per requirement and direction of E/I, including cost of all material, labour and T&P required for proper completion of work. CSI No. 13.21 |  | 116 | Sqm | 43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
63 | One priming coat & one coat of synthetic/ acrylic distemper on new work including supply of all materials, labour and T&P etc. required for proper completion of the work. CSI No. 13.08 |  | 190 | Sqm | 69 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
64 | Same as in Item no. 63 above but for every coat after the first coat. CSI No. 13.09 |  | 340 | Sqm | 28 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
65 | Same as in item no. 63 above but for every coat on previously old distempered surface. CSI No. 13.10 |  | 150 | Sqm | 35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
66 | Painting one coat with APEX or equivalent brand weather coat paint on new wall surfaces (well prepared with Birla putty and one coat of primer ICI or equivalent which shall be paid separately) including through washing with water including cost of all materials, labour, T&P required for proper completion of work. CSI No. 13.22 |  | 60 | Sqm | 98 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
67 | Same as in CSI 13.22 above but for every coat of additional APEX or equivalent brand weather coat paint . CSI No. 13.23 |  | 60 | Sqm | 43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
68 | Same as in CSI 13.22 but for each coat of APEX or equivalent brand weather coat paint .on previously treated surface CSI No. 13.24 |  | 100 | Sqm | 65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
69 | Dismantling Plastered or un plastered brick work or stone masonry work in lime or cement mortar and including stacking of materials as directed by Engineer-in-charge within a distance of 60 meters. CSI No. 15.01 |  | 8 | Sqm | 575 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
70 | Dismantling reinforced cement concrete or reinforced brick work or Cement.Concrete. including stacking of dismantled material as directed by the Engineer-in-charge within a distance of 60 metres. CSI No. 15.03 |  | 1 | Cum | 1277 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
71 | Dismantling cement concrete or brick or granolithic floor, inclduing base concrete as and where required including stacking of dismantled material as directed by Engineer-in-charge within a distance of 60 meters. CSI No. 15.05 |  | 1 | Sqm | 66 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
72 | Dismantling or taking out doors or windows leaves including stacking of materials as directed by Engineer-in-charge within a distance of 60 meters. CSI No. 15.09 |  | 2 | Sqm | 35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
73 | Dismantling existing plaster including disposal of refuse as directed by the Enginer-in-charge within a distance of 60 metres.CSI No. 15.11 |  | 10 | Sqm | 47 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
74 | Laying cement concrete road slab consisting of 1 part cement 1.5 part approved coarse sand and 3 part approved 20mm down graded stone aggregate over prepared sub grade after its rectification and bringing it to proper camber and shape,finishing with TRIMIX machine ,concrete hardner and making good to the satisfaction of E/I inclduing cost of all materials, labour and T&P etc. required for proper completion of the work.CSI No. 18.13 |  | 1 | Cum | 9199 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
75 | Supply and fixing of 2.5 mm submersible cable for 1 HP and upto 3 HP Havels or equivalent make, for submersible pump complete in all respect. CSI No. 19.33 b |  | 2 | RM | 103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
76 | Maintenance of terraced roof including filling up cracks before rain with approved bituminous filler and stopping leaks during rain including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 20.01) |  | 50 | SQM | 8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
77 | Renewing panes of 4.8 to 5.7 mm glass including supply of glass with putty and brads including supply of all materials, labour and t&P etc. required for proper completion of the work CSI No 20.04 a |  | 5 | Nos | 854 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
78 | Cleaning panes of glass with spirit of caustic soda including supply of all materials,labour and T&P etc.required for proper completion of the work. CSI No. 20.09 |  | 2 | SQM | 89 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
79 | Cleaning of septic tank including disposal of waste out side the UPPCL area as per direction of the Engineer-in-charge including cost of all labour,T&P etc.required for proper completion of the work. CSI No. 20.12 |  | 1 | NO | 1848 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
80 | Throgh cleaning of Inspection Chamber. CSI No 20.13 |  | 25 | Nos. | 259 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
81 | Cleaning ofdrain of width less than 300 mm. including disposal of waste refuses sludge out side the board's area including washing and cleaning by clean water completely as per direction of the Engineer-in-charge including cost of all labour,T&P etc.required for proper completion of the work CSI No 20.15 |  | 240 | RM | 9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
82 | Disposal of rubbish / debris out side the UPPCL area as per direction of Er/in- charge including cartage, labour and materials, T&P etc. required for proper completion of the work. (No. deduction for voids shall be made). CSI No 20.16 |  | 20 | CUM | 370 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
83 | Cleaning and opening of chocked W.C./ bath / kithchen pipe line including opening and refixing of chamber cover including washing etc. complete.(Analysis based on NBO - 11 25.020. CSI No 20.19 |  | 5 | Nos | 265 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
84 | Polishing of marble floor by cleaning with carborandum stone after washing with tartre cleaning powder etc. and finally with French mansion polish including supply of all materials, labour and T&P etc. required for proper completion of the work .(CSI No. 20.22) |  | 50 | Sqm | 27 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
85 | Cleaning of R.C.C. over head tank up to capacity of one lac. Liters and chlorinating with bleaching power mixed to water as per direction of Engineer - in - charge complete CSI No 20.27 |  | 1 | Nos | 2366 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
86 | Supply and replacing of L drops 16mm dia 200/300mm chromium polished iron fittings including cost of nuts, bolts etc.complete. CSI No 20.17A |  | 5 | Nos | 187 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
87 | Supply and replacing of Tower Bolt 200mm long including cost of nuts, bolts etc.complete. CSI No 20.17B |  | 5 | Nos | 88 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
88 | Supply and replacing chromium polished MS Hinges 100mm long including cost of nuts, bolts etc.complete. CSI No 20.17D |  | 20 | Nos | 77 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
89 | Supply and replacing chromium polished MS 10mm diaTower Bolt 100mm long including cost of nuts, bolts etc.complete. CSI No 20.17C |  | 5 | Nos | 64 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
90 | Supply and replacing chromium polished MS Handles 100mm size including cost of nuts, bolts etc.complete. CSI No 20.17f |  | 5 | Nos | 39 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
91 | S/laying chicken mesh of (20 mm.)hexagonal heavy quality over roofs of joints of roof as per direction of the Engineer - in - charge.CSI No. 20.21 |  | 2 | SQM | 82 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
92 | Cleaning of existing water pipe line of different dia up to 2" dia including digging trenches and refilling,opening and cleaning of pipes,cutting,threading,if required fixing and including making good the road and wall etc. as directed by the Engineer in charge.CSI No. 20.26b |  | 20 | RM | 104 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
93 | Wiring point for light with 1.5 sq. mm. FR PVC insulated multistrand single copper conductor cable in PVC conduit pipe concealed in the wall, 14 SWG copper PVC coated Earth continuity wire, and approved quality, piano type switch ceiling rose/angle/batten holder as per approved sample on 3mm thick phenolic laminated bakelite sheet etc. of matching shade with wall colour complete in all respect CSI No UPPWD 131(C) |  | 2 | Nos | 643 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
94 | Wiring point for fan / fesh air fan (light duty exhaust fan) with 1sq.mm. FRLCHLACH PVC insulated multistrand single core copper conductor cable in pvc conduit concealed in the wall, complete with 14 SWG copper earth continuity wire,piano type switch & ceiling rose on 3 mm thick phenolic laminated backelite sheet etc complete in all respect, CSI No UPPWD 133(C) |  | 3 | Nos | 708 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
95 | Wiring point for plug with 1.5 sq. mm FR PVC insulated multistrand single core copper conductor cable in PVC conduit pipe concealed in the wall 14 SWG copper earth continuity wire and approved quality type switch and socket as per approved sample etc. of matching shade with wall colour complete in all repects as per direction of E/I. CSI No UPPWD 134(C) |  | 2 | Nos | 335 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
96 | Supply and wiring of submain with two number 4 sq.mm FR PVC insulated 1100 V grade multistrand single core copper conductor cable in 25 mm dia heavy duty (2 mm thick) PVC conduit concealed in wall complete with one number 2.5 sq.mm FR PVC insulated multistrand copper conductor cable as earth continuity wire etc. complete in all respects. CSI No UPPWD 216(C) |  | 5.5 | RM | 158 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
97 | Supply and wiring of submain with two number 6 sq.mm FR PVC insulated 1100 V grade multistrand single core copper conductor cable in 25 mm dia heavy duty (2 mm thick) PVC conduit concealed in wall complete with one number 4.0 sq.mm FR PVC insulated multistrand copper conductor cable as earth continuity wire etc. complete in all respects. CSI No UPPWD 217(C) |  | 2 | RM | 215 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
98 | S/F 6 Amp. to 32 Amp. “C” series MCB 9 KA/10 KA (Havells/MDS make) CSI No UPPWD 1002(C) |  | 5 | Nos | 206 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
99 | S & F surface/Flush mounting 8ways SPN distribution board without additional metal door without MCB complete in all respect, as direct by Engineer in Charge.. CSI No UPPWD 1024(b) |  | 2 | Nos. | 1575 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
100 | Supply and fixing of power plug with 15A/240V V flush type switch and 5 pin 15A/250V flush type universal socket in suitable M.S. box of 175mmx 100mmx50mm size with phenolic laminated bakelite sheet cover 3mm thick fixed with brass machine screw and cup washer. CSI No UPPWD 1139 |  | 5 | Nos. | 340 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
101 | Supply and fixing of LED Tube Light with batten suitable for up to 1 X 22 watt LED tube light complete including tube etc on surface complete in all respect.. UPPWD 1413 |  | 5 | Nos. | 1020 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
102 | Supply and replacing of Angle Holder of "Anchor" or equivalent make of approved quality including all materials, labour and T&P etc. CSI No 22.01 |  | 20 | Nos. | 43 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
103 | Supply and replacing of 6 Amp. piano tyre switch of " Anchor" or equivalent make of approved quality including all materials, labour and T&P etc.. CSI No 22.02 |  | 8 | Nos. | 49 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
104 | Supply and replacing of 6 Amp. Piano tyre socket of "Anchor" equivalent make of approved quality including all materials, labour and T&P etc. CSI No 22.03 |  | 10 | Nos. | 60 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
105 | Supply and replacing of 16 Amp.Piano type switch of "Anchor" or equivalent make of approved quality including all materials, albour and T&P etc. CSI No 22.04 |  | 8 | Sqm | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
106 | Supply and laying 1.5 Sq.mm gauge copper wire of "Plaza" or equivalent make of approved quality including connecting with existing wiring in existing P.V.C.pipe. including all materials, labour and T&P complete. CSI No 22.06(a) |  | 20 | RM | 74 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
107 | Supply and laying 2.5 Sq.mm gauge copper wire of "Plaza" or equivalent make of approved quality including connecting with existing wiring in existing P.V.C.pipe. including all materials, labour and T&P complete.CSI No 22.06(b) |  | 15 | RM | 96 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
108 | Supply and laying 4.0 Sq.mm gauge copper wire of "Plaza" or equivalent make of approved quality including connecting with existing wiring in existing P.V.C.pipe. including all materials, labour and T&P complete. CSI No 22.06(C) |  | 2 | RM | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
109 | Supply and laying 6.0 Sq.mm gauge copper wire of "Plaza" or equivalent make of approved quality including connecting with existing wiring in existing P.V.C.pipe. including all materials, labour and T&P complete. CSI No 22.06(d) |  | 2 | RM | 178 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
110 | Supply and sprinkling of lime in all drains of colony and water logged area including cost of all labour,materials,and T&P etc, as required for proper completion of the work.CSI No 22.19 |  | 50 | K.G | 11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
111 | Cleaning and sweeping of roof of residence/offices as and when required including uprooting of rank vegetation and disposal of the garbage upto 50 M. CSI No 22.20 |  | 1000 | Sqm | 0.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
112 | Cleaning of roads and their side patteries including sweeping,removing garbage and vegetation from patteries, if any and and its disposal to dust bins. CSI No 22.21 |  | 1500 | Sqm | 0.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
113 | Supply and stacking of compost manure at site including carriage upto 3 km ( Manure measured in stacks will be reduced by 8% for payment). (CSI No. 23.04) |  | 0.5 | Cum | 1507 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
114 | Supply and plantation of approved 2 years old plants duly planted in earthen Gamla of approximate size 300x 300 mm nominal size, filled with compost manure and sand mixed in approved proportion including cost of approved quality earthen gamla, compost manure, sand all other materials, labour and T&P etc reqd. for proper completion of work. (CSI No. 23.08) |  | 3 | NO | 167 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
115 | As in item no 23.08 above but in mosaic gamla. (CSI No. 23.09) |  | 2 | NO | 232 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
116 | Supply and planting Ashoka, Pendula, Mango, Neem,Peepal,Sheesham etc in pits including cost of all materials, labour and T&p etc complete in all respects.(Cost of digging pit shall be paid separetely CSI No. 23.12 |  | 2 | Nos. | 155 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
117 | Supply and planting Desi Doob grass in lawn including cost of Doob, fertilizer, manure,labour, T&P and preparation of bed complete in all respects. (CSI No. 23.13) |  | 10 | SQM | 37 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
118 | Providing and fixing 15 mm dia B-class Jindal,JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes concealed GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.01)A |  | 2 | RM | 219 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
119 | Providing and fixing 20 mm dia B-class Jindal,JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes concealed GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.01)B |  | 1 | RM | 268 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
120 | Providing and fixing 25 mm dia B-class Jindal,JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes concealed GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.01)C |  | 2 | RM | 359 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
121 | Providing and fixing 15 mm dia Jindal, JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes external GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.02)A |  | 5 | RM | 188 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
122 | Providing and fixing 20 mm dia Jindal, JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes external GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.02)B |  | 4 | RM | 230 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
123 | Providing and fixing 25 mm dia Jindal, JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes external GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.02)C |  | 4 | RM | 308 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
124 | Providing and fixing 32 mm dia Jindal, JTC, ISI marked G.I. pipes complete with special such as bend, tee, socket, cross, clamp etc earth work including filling the trenches etc required for proper completion of the work. the rate also includes external GI fitting where required, cutting and making good the walls etc and all materials, labour and T&P complete. (CSI No. 26.02)D |  | 2 | RM | 371 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
125 | Providing & fixing half turn 15mm dia gate valve, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.05)A |  | 2 | Nos. | 702 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
126 | Providing & fixing half turn 20mm dia gate valve, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.05)B |  | 1 | Nos. | 918 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
127 | Providing & fixing half turn 25mm dia gate valve, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.05)C |  | 2 | Nos. | 1257 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
128 | Providing and fixing PVC BALL FLOAT VALVE 20 mm dia. WITH BRASS & UNION COMPLETE, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.06)B |  | 6 | Nos. | 298 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
129 | Providing and fixing PVC BALL FLOAT VALVE 25 mm dia. WITH BRASS & UNION COMPLETE, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.06)C |  | 4 | Nos. | 410 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
130 | Providing and fixing PVC CONNECTION PIPE, 450X15mm with 2 brass units ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.09)B |  | 10 | Nos. | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
131 | P/F GI UNIONS NOMINAL BORE 15 mm, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work (CSI No. 26.10 (A) |  | 2 | Nos. | 102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
132 | P/F GI UNIONS NOMINAL BORE 20 mm, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work (CSI No. 26.10 (B) |  | 2 | Nos. | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
133 | P/F GI UNIONS NOMINAL BORE 25 mm, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work (CSI No. 26.10 (C) |  | 2 | Nos. | 193 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
134 | P/F GI UNIONS NOMINAL BORE 32 mm, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work (CSI No. 26.10 (D) |  | 2 | Nos. | 295 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
135 | Supply and fixing of Syntex or equivalent make water storage tank including all materials, labours, T&P etc required for proper completion of work. (CSI No. 26.12) |  | 200 | liter | 11 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
136 | Providing and fixing CP BRASS BIB COCK15 mm dia. HEAVY QUALITY ( 400gm) ( L & K and equi.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16)A |  | 5 | Nos. | 678 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
137 | Providing and fixing CP BRASS BIB COCK15 mm dia. HEAVY QUALITY ( 200gm) ( L & K and equi.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16)B |  | 4 | Nos. | 420 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
138 | Providing and fixing CP BRASS STOP COCK15 mm dia. HEAVY QUALITY ( 400gm) ( L & K and equi.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16)C |  | 5 | Nos. | 672 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
139 | Providing and fixing CP BRASS WASH BASIN MIXER15 mm dia. HEAVY QUALITY ( 400gm) ( L & K and equi.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16)F |  | 4 | Nos. | 2856 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
140 | Providing and fixing CP BRASS ANGLE VALVE15 mm dia. HEAVY QUALITY ( L & K and equi.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16)i |  | 10 | Nos. | 571 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
141 | Providing and fixing CP BRASS PILLAR COCK15 mm dia. HEAVY QUALITY( L & K and equi.) fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work. (CSI No. 26.16)J |  | 3 | Nos. | 685 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
142 | Providing and fixing of 110 mm dia PVC pipe 6 Kg/ Sq.cm for with special such as Tee, bend, socket, elbow etc including supply of all labour,material,T & P etc complete required for proper completion of work. (CSI No. 26.17 |  | 3 | RM | 261 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
143 | Providing and Fixing 15 mm Dia ISI Approved CPVC Pipes Complete with Special such as bend,Tee, Socket, Cross,clamp etc earth work including filling the trenches etc required for proper completion of the work. The rate also includes concealed GI fitting where required , cutting and making good the walls etc and all materials, labour and T&P complete. CSI No. 26.19 |  | 10 | RM | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
144 | Providing and Fixing 20 mm Dia ISI Approved CPVC Pipes Complete with Special such as bend,Tee, Socket, Cross,clamp etc earth work including filling the trenches etc required for proper completion of the work. The rate also includes concealed GI fitting where required , cutting and making good the walls etc and all materials, labour and T&P complete. CSI No. 26.20 |  | 7 | RM | 122 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
145 | Providing and Fixing 25 mm Dia ISI Approved CPVC Pipes Complete with Special such as bend,Tee, Socket, Cross,clamp etc earth work including filling the trenches etc required for proper completion of the work. The rate also includes concealed GI fitting where required , cutting and making good the walls etc and all materials, labour and T&P complete. CSI No. 26.21 |  | 5 | RM | 154 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
146 | Providing and Fixing 32 mm Dia ISI Approved CPVC Pipes Complete with Special such as bend,Tee, Socket, Cross,clamp etc earth work including filling the trenches etc required for proper completion of the work. The rate also includes concealed GI fitting where required , cutting and making good the walls etc and all materials, labour and T&P complete. CSI No. 26.22 |  | 3 | RM | 224 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
147 | Providing and Fixing 40 mm Dia ISI Approved CPVC Pipes Complete with Special such as bend,Tee, Socket, Cross,clamp etc earth work including filling the trenches etc required for proper completion of the work. The rate also includes concealed GI fitting where required , cutting and making good the walls etc and all materials, labour and T&P complete. CSI No. 26.23 |  | 2 | RM | 301 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
148 | Extra for providing and fixing flush doors and partitions with the teak vineering/sunmica of approved quality as per specification or directed by E/I. including cost of all materials labour, T&P etc required for proper completion of work (from CSI No. 8.27-SOR 2017) (CSI 26.27 - old SOR) |  | 2 | SQM | 533 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
149 | Providing and fixing first quality white glazed "Orissa" pattern W.C.Pan Hindustan, Cera make. size 580 mm.(Hindustan,Cera Make) with out "P" trap including supply of all materials,labour and T&P etc.complete. (CSI No. 27.01) |  | 1 | Nos. | 2379 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
150 | As in item no. 103 but of European type. (CSI No. 27.02) |  | 1 | Nos. | 3179 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
151 | Providing and fixing PLASTIC SEAT COVER COMPLETE WITH PLASTIC LID FOR EUROPEAN TYPE WC ISI MARKED including supply of all materials,labour and T&P etc.complete. (CSI No. 27.04) |  | 2 | Nos | 973 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
152 | Providing and fixing 510X400 mm wash hand basin of white glazed earthern ware first quality I.S.I. marked (Hindustan,Neycer / Cera make) including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.09) |  | 2 | Nos | 3166 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
153 | Providing and fixing 10 litres low level PVC flushing cistern, COMPLETE WITH ALL FITTINGS including supply of all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.12) |  | 2 | Nos | 1320 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
154 | Providing and fixing 600 mm x 450 mm beveled edge mirror of Atul,Kiran makeglass with Indian polish 6.50 mm thick complete with back of 600 mm x 450 mm x 6 mm hard board sheet fixed to wooden cieats with C.P. brass screws and washers including supply of all materials, labour and T&P etc.required for proper completion of the work. (CSI No. 27.15) |  | 2 | Nos. | 968 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
155 | Providing and fixing 600 mm x 20 mm size C.P. brass towel rail of approved quality including brackets including supply of all materials,labour and T&P etc. required for proper completion of the work and cutting and making good the wall plaster etc. required for work. (CSI No. 27.17) |  | 1 | Nos | 566 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
156 | Providing and fixing soap dish chromium plated with brackets fixed to wooden cleats with brass screws including supply of all materials,labour and T&P etc.required for proper completion of the work. (CSI No. 27.19) |  | 2 | Nos | 271 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
157 | Supply and fixing PVC Nahani Trap make of heavy approved quality complete with CI grating, including supply of all materials,labour and T&P etc. required for proper completion of the work. (CSI No. 27.21b) |  | 2 | Nos | 567 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
158 | Providing and fixing CI GRATING 100 mm dia including all materials, labour cartage T&P etc.required for proper completion of the work. (CSI No. 27.25) |  | 2 | Nos | 61 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
159 | Providing and fixing Stainless Steel sink 610x450x200 mm Heavy Quality( ISI MARKED ) including all materials, labour cartage T&P etc.required for proper completion of the work. (CSI No. 27.26) |  | 1 | Nos | 4102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
160 | Providing and laying SWR,75mm PVC ( Finolex or equivalent ) pipe including cost of excavation, C.C etc including its jointing and connection, all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.29)a |  | 2 | RM | 287 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
161 | Providing and laying SWR,110mm PVC ( Finolex or equivalent ) pipe including cost of excavation, C.C etc including its jointing and connection, all materials, labour and T&P etc. required for proper completion of the work. (CSI No. 27.29)c |  | 10 | RM | 397 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
162 | Applying two coat Tapcrete mixed with White Cement and water to proper consistany on leaky surface including supply of all materials, labour etc. required for proper completion of work. (CSI No. 28.16) |  | 27 | SQM | 116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
163 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry (CSI No. 28.26 |  | 18 | SQM | 277 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
164 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. (CSI No. 28.28 |  | 1.5 | SQM | 1039 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
165 | Providing and fixing false ceiling at all heights with integral densifiedr Armstrong false ceiling tiles of Size 595x595 x12 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as perBS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6 SUB HEAD : 26- NEW TECHNOLOGIES AND MATERIALS 1632 mm reveal profile white/black),comprising of main-T runners of size 15x42 mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate cross-T of size 15x42 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in- Charge. 26.23.1 With 12 mm thick Armstrong Miniral Fobre Sound Absorbing Sheet (CSI No. 28.30) |  | 2 | SQM | 1422 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
166 | Supply and Fixing of 5 blade Exhaust fan ventile air dx 225 mm of Havells or equivalent make including all material, T&P etc required for proper completion of work as approved by engineer in charge.(CSI No. 28.38) |  | 3 | Nos | 2344 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
167 | Attending miscellaneous works of BELDAR in Hydel colony monthly basis successfully three days in a month (One job means attending complaints 3 days in a month). CSI Chapter -1,Item02 |  | 12 | Job | 1221 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
168 | Attending complaint of CARPENTER works in Hydel colony monthly basis successfully excluding cost of material three days in a month (One job means attending complaints 3 days in a month). CSI Chapter -1,Item10 + 10% CP |  | 4 | Job | 1386 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
169 | Attending complaint maintenance and repair of water supply works by PLUMBER in Hydel colony monthly basis successfully excluding cost of material, three days in a month (One job means attending complaints 3 days in a month). CSI Chapter -1,Item15 + 10% CP |  | 12 | Job | 1567.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
170 | Attending complaint maintenance and repair of small electrical works at site basis successfully including replacement of electrical accessories such as switches sockets and holders etc. and repairing wiring excluding cost of material three days in a month (One job means attending complaints 3 days in a month). CSI Chapter -1,Item38 + 10% CP |  | 14 | Job | 1287 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
171 | Providing services of part time sweeper for sweeping the colony roads and disposal of refuse as per direction of E/I including all labour T&P etc. (one job will count for one month daily sweeping) CSI Chapter-1,Item-42 |  | 1 | Job | 4000 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
172 | Providing fixing PVC wall Pannel of required Size of approved design and colour including cutting & Fixing accessories with all labour and T&P. NSI |  | 10 | Sqm | 803 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
173 | Providing and fixing first quality white glazed "European type W.C.Pan (S-220) SW Hindware make(HSN/SAC 69101000). with out "P" trap including supply of all materials,labour and T&P etc.complete. (NSI) |  | 1 | Each | 20204 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
174 | Providing and fixing wash hand basinof white glazed earthern ware first quality I.S.I. marked With PEDISTAL, Single Lever Basin Mixer & Waste Pipe including supply of all materials, labour and T&P etc. required for proper completion of the work. (NSI) |  | 1 | Each | 12617 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
175 | Providing and fixing CP BRASS Bib Cock Long Body HEAVY QUALITY (Jaquar)fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work (NSI) |  | 1 | Each | 1920 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
176 | Providing and fixing CP BRASS Shower HEAVY QUALITY (Jaquar)fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work(NSI) |  | 1 | Each | 3313 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
177 | Providing and fixing CP BRASS 2 Way Angle Valve TQT-526A HEAVY QUALITY (Jaquar)fittings, ISI mark heavy quality including supply of all materials, labour and T&P required for proper completion of work(NSI) |  | 1 | Each | 1542 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information