PVVNL-MT/COM/17(S)/22-23

SCHEDULE OF QUANTITIES, DESIRED DELIVERY & EARNEST MONEY

| Sl. No. | Item | Quantity in Nos. | Earnest Money in Rs. | Delivery Period |
| --- | --- | --- | --- | --- |
| 1. | Supply of Three Phase, 4 wire, whole current (20-80amp) pre-paid, key pad type electronic energy meter (Accuracy class - 1) along with 4 core communication cable @ 5 meter cable per energy meter along with In-Home Display Unit and Meter Box along with complete solution. This activity also includes the training of PVVNL employees to configure the meter as per the requirement of consumer/PVVNL along with the necessary software support by the firm to run the system smoothly as per technical specification | 7500 | 7,86,000.00 | Commencement of 25% quantity within 45 days from date of issue of LOI and balance 25% quantity to be supplied in each month thereafter. Total supply shall be completed in 4 months & 15 days. |
| 2. | Token Generation for recharge of meter as per technical specifications for 2 years | 180000 |  |  |

  - The Part-I of tender bid shall contain the earnest money.

  - The tenderers are required to offer at least 100% of tendered quantity.  Tenderers offering less than quantities of the material shall not be considered and their offer shall be summarily rejected. Earnest money may be adjusted proportionately.

  - The quantities can vary + 20 % on either side.

  - Earlier delivery however shall be acceptable. The above schedule shall be guaranteed and subject to penalty for late supplies as per clause No. 27 of contract form B.

  - The commencement of delivery shall be subjected to revision depending as requirement of material and ground balances with store at the time of delivery.

  - The delivery schedule may be revised as per requirement of PVVNL.