## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-I, Noida
Name of Work: DETAILS OF WORK AND QUANTITY AGAINST E-TENDER NO. 46/EUDC-I/2023-24/NOIDA (WORKS) FOR CARRYING OUT THE 16 NOS. WORK STRENGTHENING of 33/11 KV S/S UNDER EUDD-I/VVII, NOIDA IN THE JURIDICTION OF EUDC-I, NOIDA (ADDITIONAL BUSINESS PLAN RS. 30.00 CRORE FOR NOIDA ZONE).
Contact No: 0120-2970431
The bidder quoted rate should be inclusive GST & all other taxes.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Note:- 1. The bidder quoted rate should be inclusive GST & all other taxes. 2. Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC. 3. Payment will be done after complete execution of work/ entire project & submission of executed estimate and after getting satisfactory report in all respect from concern SDO/JE.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder with GST & all other taxes Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Supply and Installation of following item / material in place of damaged item / material with providing and fixing of required galvanised clamps, nuts & bolts etc. by the contractor complete in all respect as per RESPO norms at various 33/11 KV Sub-stations in area of EUDD-I/V/VII, Noida as per following (MATERIAL SUPPLY FROM THE PVVNL APPROVED VENDORS AS PER GTP APPROVED) :- | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.01 | 33 KV Bus Isolator 800 A, |  | 1 | Nos. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | 33 KV Lightening Arrestor. |  | 1 | Nos. | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.03 | 33 KV post Isolator set (3 Nos.) |  | 1 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.04 | Structure for 33 KV post Isolator |  | 1 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Structure for 33 KV Bus Isolator |  | 1 | No. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | Nut & bolts off size, clamp etc. |  | 1 | Kgs. | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.07 | Control Cable 4x2.5 Sq.mm. |  | 1 | Mtrs. | 100 |  |  | Excess(+) | 800 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | Control Cable 2x2.5 Sq.mm. |  | 1 | Mtrs. | 100 |  |  | Excess(+) | 160 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.09 | 33 KV Fuse set 10 MVA T/F |  | 1 | Nos. | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | Wiring & Testing of 11 KV VCB |  | 1 | Nos. | 100 |  |  | Excess(+) | 12 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.11 | Water level pipe earthing 180 Feet of power T/F with M.S. earthing strips of best quality (ISI mark) as per RESPO norms. (all material will be provided by the contractor for Earthing). |  | 1 | Nos. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.12 | Making plinth & foundation of 33 KV VCB. |  | 1 | Nos. | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.13 | WORK REPLACEMENT OF OLD & DAMAGED EXISTING 33 KV / 11 KV V.C.B. AND CONTROL PANEL WITH NEW V.C.B. AND CONTROL PANEL AT VARIOUS 33/11 KV S/S UNDER EUDD-I/V/VII, NOIDA:- | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.14 | CARRIAGE OF NEW 33 KV Control & relay pannel for double T/F (01 No.), 11 KV VCB I/C CTR 600/300/5A, 350 MVA, 24 Volt (05 Nos.), 11 KV VCB O/G CTR 200/100/5A, 350 MVA, 24 Volt (09 Nos.), 11 KV VCB O/G CTR 400/200/5A (09 Nos.), 11 KV Bus Coupler 350 MVA (03 Nos.), 33 KV Control Pannel Double T/F (06 Nos.), 33 KV Control Pannel Single T/F (02 Nos.) FROM GHAZIABAD/ SHAHIBABAD/NOIDA/JE STORE TO SITE OF WORK WITH SAFE LOADING AND UNLOADING AT BOTH ENDS. |  | 1 | Nos. | 100 |  |  | Excess(+) | 35 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.15 | LABOUR CHARGES FOR REPLACEMENT OF 33 KV Control & relay pannel for double T/F (01 No.), 11 KV VCB I/C CTR 600/300/5A, 350 MVA, 24 Volt (05 Nos.), 11 KV VCB O/G CTR 200/100/5A, 350 MVA, 24 Volt (09 Nos.), 11 KV VCB O/G CTR 400/200/5A (09 Nos.), 11 KV Bus Coupler 350 MVA (03 Nos.), 33 KV Control Pannel Double T/F (06 Nos.), 33 KV Control Pannel Single T/F (02 Nos.) WITH ALL ACCESSORIES AND ERRECTION OF ABOVE NEW 33 KV Control & relay pannel for double T/F (01 No.), 11 KV VCB I/C CTR 600/300/5A, 350 MVA, 24 Volt (05 Nos.), 11 KV VCB O/G CTR 200/100/5A, 350 MVA, 24 Volt (09 Nos.), 11 KV VCB O/G CTR 400/200/5A (09 Nos.), 11 KV Bus Coupler 350 MVA (03 Nos.), 33 KV Control Pannel Double T/F (06 Nos.), 33 KV Control Pannel Single T/F (02 Nos.) WITH REMOVING AND RECONNECTING 33 KV / 11 KV INCOMING, OUTGOING, CONTROL PANNEL AND BUS COUPLER CABLES, REMOVING AND REFIXING OF EARTHING AND WIRING AS REQUIRED IN VCB, CONTROL PANNEL AND BUS COUPLER, ALL TESTING OF NEW VCB, CONTROL PANNEL AND BUS COUPLER ETC WITH PROPER SAFETY TO COMPLETE THE WORK ETC IN ALL RESPECT. |  | 1 | Nos. | 100 |  |  | Excess(+) | 35 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.16 | CARRIAGE OF 33 KV VCB with Double T/F Control Pannel and CT 200/100/1A FROM GHAZIABAD/ SHAHIBABAD/NOIDA/JE STORE TO SITE OF WORK WITH SAFE LOADING AND UNLOADING AT BOTH ENDS :- (i) 33 KV VCB. (ii) Control Pannel I/C for 33 KV Single T/F. (iii) CT 200/100/1-1/A. (iv) Steel Structure |  | 1 | Nos. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.17 | LABOUR CHARGES FOR REPLACEMENT OF 33 KV VCB with Double T/F Control Pannel and CT 200/100/1A WITH ALL ACCESSORIES AND ERRECTION OF ABOVE NEW WITH REMOVING AND RECONNECTING 33 KV KV INCOMING/OUTGOING CABLES, REMOVING AND REFIXING OF EARTHING AND WIRING AS REQUIRED IN VCB ALL TESTING OF NEW VCB AND PANNEL ETC WITH PROPER SAFETY TO COMPLETE THE WORK ETC IN ALL RESPECT. (i) 33 KV VCB. (ii) Control Pannel I/C for 33 KV Single T/F. (iii) CT 200/100/1-1/A. (iv) Steel Structure |  | 1 | Nos. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.18 | PROVIDING AND INSTALLATION OF CHEMICAL EARTHING FOR SWITCHGEAR / POWER T/F (WITH ALL MATERIAL AND LABOUR) AFTER INSTALLATION RESISTANCE SHOULD BE LESS THAN ONE OHM. AS PER FOLLOWING (The all material and labour shall be provided by the contractor with 12 month guarantee for resistance value less than one OHM.) :- | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.19 | Providing of earth elctrode for chemical earthing Pipe in pipe type proper hot deep galvanization dia 50 mm length 3 mtr - 32mm x 6mm terminal connection hole dia 8mm The cavity between the pipe & pipe is filled with conductive mixture - for hermetically filling inside the cavity i.e. between secondary conductor & primary conductor, crystalline compound is to be injected in the electrode assembly. It is a combination of high conductivity metal alloys, copper & aluminum power, conductive carbon / cement and bonding material etc the electrode should be sealed from both the ends. The outer pipe of the elctrode should be galavanized the characteristics of this compound is highly cnductive, non magnetic & non corrosive in G.I. Including providing of backfill compound each elctrode should be supplied with bags of 25 kg x 2 bfc compound (ground resistance enhancement powder 50 kgs each CPRI tested for SWITCHGEAR / POWER T/F installed at Above 33/11 KV Substation . |  | 1 | Nos. | 100 |  |  | Excess(+) | 60 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.2 | Providing and fixing of GI strip of size 32 mm x 6 mm suitable for SWITCHGEAR / POWER T/F installed at Above 33/11 KV Substation . |  | 1 | Mtrs. | 100 |  |  | Excess(+) | 18 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.21 | Providing and fixing of PVC Pit covers for above earthing electrode terminals. |  | 1 | Mtrs. | 100 |  |  | Excess(+) | 180 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.22 | DISMANTLING & CARRIAGE OF DAMAGED ITEMS / MATERIAL FROM VARIOUS 33/11 KV S/S TO JE STORE / CENTRAL STORE & PROPER STACKING WITH LOADING & UNLOADING AS PER FOLLOWING. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.23 | Damaged 33 KV Bus Isolator |  | 1 | Nos. | 100 |  |  | Excess(+) | 6 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.24 | Damaged 33 KV Outdoor VCB |  | 1 | Nos. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.25 | Damaged 33 KV Control & relay Pannel Damaged |  | 1 | Nos. | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.26 | 33 KV Outdoor CT damaged |  | 1 | Nos. | 100 |  |  | Excess(+) | 6 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.27 | 33 KV Control Pannel damaged |  | 1 | Nos. | 100 |  |  | Excess(+) | 11 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.28 | 11 KV VCB (Old & Damaged) |  | 1 | Nos. | 100 |  |  | Excess(+) | 23 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.29 | Old & Damaged Bus Coupler |  | 1 | Nos. | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information