## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Eletricity Distribution Circle, Bijnor.
Name of Work: 1- xzke yMkiqjk dks uxj fudk; lhek ds vUrxZr 'kgjh {ks= dh fo¦qr vkiwfrZ iznku djus ,oa xzke yMkiqjk esa LFkkfir ifjorZdks dh vfrHkkfjrk lekIr djus gsrq 01 ux 250 dsoh, ds u;s ifjorZd LFkkfir dj ,oa ,y0Vh0 ykbZu dk lqn`<+hdj.k@foLrkfjr ,oa cs;j dUMDVj ds LFkku ij ,0ch0 dUMDVj Mkyus dk dk;ZA 2- xzke yMkiqjk dks uxj fudk; lhek ds vUrxZr fo¦qr vkiwfrZ gsrq 400 dsoh, ifjorZd dh ,y0Vh0 ykbZu dk lqn`<hdj.k djus dk dk;ZA 3- xzke cD'khokyk ,oa jkeiqj cdyh dks uxj fudk; lhek ds vUrxZr 'kgjh {ks= dh fo¦qr vkiwfrZ iznku djus ,oa xzke cD'khokyk ,oa jkeiqj cdyh esa LFkkfir ifjorZdks dh vfrHkkfjrk lekIr djus gsrq 01 ux 250 dsoh, ds u;s ifjorZd LFkkfir dj ,oa ,y0Vh0 ykbZu dk lqn`<+hdj.k@foLrkfjr dj ,0ch0 dUMDVj Mkyus dk dk;ZA 4- 33@11 dsoh fo¦qr midsUnz fctukSj&1 ls fuxZr 11 dsoh iks"kd Hkjr fogkj ij yxk ,lh,lvkj foty dUMDVj dks ,lh,lvkj Mkx dUMDVj ls cnyus dk dk;ZA 5- 33@11 dsoh fo¦qr midsUnz fctukSj&1 ls fuxZr 11 dsoh iks"kd Vkmu&2 ij fuckZ/k fo¦qr vkiwfrZ gsrq yxk ,lh,lvkj foty dUMDVj dks ,lh,lvkj Mkx dUMDVj ls cnyus dk dk;ZA
Contract No: 54/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price Including Freight & Insurance Charges, Erection charges and applicable taxes (GST) in Rupees for each of the item seperately in respective column. If taxes are not filled seperately, the prices quoted by the bidder will be considered as inclusive of taxes and PVVNL may bifrucate the Price quoted by the bidder into Base Price and applicable taxes as per prevailing rate of taxes. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done on ' SemiTurnkey' basis. Therefore the bidder should include the cost of all the items necessary to complete the work for successful commissioning of the equipment as per RESSPO/ REC norms. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Below Schedule Structure and quantities may vary as per site requirement with due approval . 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09.All Permission and documentation regarding road/ railway crossing and Electrical safety & others are in scope of Bidder and no extra amount will be paid to him for that. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 11. Steel tubulor pole shall be proper painted with red oxide and allumium paint. 12. TF Fancing should be proper painted with primer and synthetic enamle paint in colour as per norms. 13.Received back materials cost includes the cost of dismentling as well as cost of carriage from site to departmental store.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Safe carriage of following material from Store Centre to site / JE store with loading & unloading at both ends respectively distance with in 40 Kms.
1.01 | 11/0.4 KV 250 KVA T/F |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Loading, unloading & safe carriage of heavy other line material such as ACSR Weasal/Rabbit/Dog Conductor, diffrent size of LT AB cable, 11 KV Cable, L.T. Cable, 33 KV Xarm etc. from Store Centre to site / JE store distance with in 40 Kms. and back cartage of material if required.
2.01 | ACSR Weasal conductor |  | 730 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.02 | ACSR Rabbit conductor |  | 25462 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.03 | ACSR Dog conductor |  | 7725 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.04 | AB Cable (3X95+1X70+1X16) sq.mm |  | 2528 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.05 | AB Cable (3X120+1X95+1X16) sq.mm |  | 735 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Providing by contractor as per RESSPO schedule below items :- 11 KV line material (PART- A)
3.01 | 11 KV V-Type Cross Arm 65X65X6 mm |  | 12 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.02 | Stay set Complete Size 16x1800 mm |  | 28 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.03 | Earthing Rod set Complete Size 20x2500 mm |  | 23 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.04 | MS T-off Channel 125X65X1300 mm |  | 18 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.05 | 11 KV Disc Insulator with fitting |  | 43 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | 11 KV Pin Insulator with fitting |  | 69 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.07 | Pipe Earthing for 250 KVA T/F |  | 4 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.09 | Holding Clamp for T-channel, Top, Dropper channel etc. |  | 25 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | LT line material (PART- B)
4.01 | Stone Pad size 300X300X75 mm |  | 69 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.02 | MS Nut & bolt all size |  | 73 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.03 | Holding Clamp with Nut & bolts for AB conductor |  | 30 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.04 | Piercing clamp for AB conductor |  | 188 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.05 | Dead & Clamp for AB conductor |  | 32 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4.06 | PG Clamp for AB conductor |  | 46 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.07 | Suspension with I-Hook for AB conductor |  | 50 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.08 | Distribution Box three phase for AB conductor |  | 46 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.09 | PVC Cable 1x25 sqmm |  | 110 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.1 | Providing of PCC Pole 8.5 Mtr. Long as per RESSPO schedule |  | 53 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.11 | Providing of STP Pole 11 Mtr. Long as per RESSPO schedule |  | 6 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.12 | Providing of Fuse Set as per RESSPO schedule |  | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4.13 | Providing of 250 KVA Fancing as per RESSPO schedule |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Erection of Single Pole suitable for LT line/ HT Line on PCC/ST Pole after digging a pits of required size with fixing accessries complete. |  | 55 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Erection of Double Pole suitable for 11 KV line on PCC/ST Pole after digging a pits of required size with fixing accessries complete. |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Grouting of supports in CC 1:4:8 (cement, sand & 40 mm brick ballast). Grouting will be done in the block of size (450x450) mm x 1/6th of full length of the support up to ground level, 300 mm plinth, above the ground level with CC 1:3:6 (Cement, Coarse Sand & Stone Grit) with muffing as per drawing. Work includes back filling and proper ramming. STP/PCC |  | 59 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Fixing, tightening & nozzling of stay wire with stay rod with the poles of required tension as per drawing, including providing & fixing of stay insulators of 11 KV/LT line and stay clamps. Grouting of Stay Rods (16x1800) mm. including all work of excavation, cement, concreting in size (0.60x0.60x0.30) m in ratio 1:4:8 cement, sand, 40 mm brick ballast as per drawing, including back filling of soil and proper ramming etc. |  | 28 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Earthing of supports with M.S. Earth Rod of including excavation of pit and driving M.S. Rod 3-0 M apart from support and 0.5 m below the ground level and connecting below the earth electrodes with the help of G.I. Wire No. 8 SWG and earthing lugs. |  | 23 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Laying, spreading, lifting and final sagging of 3 phases of ACSR Weasal Conductor in accordance with line chart including binding and fixing of all accessories in conductor in parallel in 11 KV HT Line for material |  | 730 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Laying, spreading, lifting and final sagging of 3 phases of Rabbit Conductor in accordance with line chart including binding and fixing of all accessories in conductor in parallel in 11 KV HT Line for material |  | 25462 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Laying, spreading, lifting and final sagging of 3 phases of Dog Conductor in accordance with line chart including binding and fixing of all accessories in conductor in parallel in 11 KV HT Line for material |  | 7725 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Laying, spreading, lifting and final sagging of AB Conductor 3X95+1X70+1X16 sq.mm in accordance with line chart including binding and fixing of all accessories in conductor in parallel in L.T. Line. |  | 735 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Laying, spreading, lifting and final sagging of AB Conductor 3X120+1X95+1X16 sq.mm in accordance with line chart including binding and fixing of all accessories in conductor in parallel in L.T. Line. |  | 2528 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Erection of Distribution Box |  | 46 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Removal of old existing transformers from double pole/ plinth after dismantling H.T. & L.T. Connections along with back cartage from work site to store centre includng loading & unloading at both ends distance with in 40 Kms.
16.01 | 11/0.2 KV 10 KVA T/F |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16.02 | 11/0.4 KV 100 KVA T/F |  | 1 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Mounting of Erection of following transformers of different capacities on Double Pole/Plinth alongwith fixing of clamps and nuts & bolts with proper binding / jumpering etc.
17.01 | Construction of plinth of 250 KVA T/F with fency as per RESSPO schedule. |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17.02 | Mounting of 11/0.4 KV 250 KVA T/F |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17.03 | Fixing of 11/0.4 KV 250 KVA T/F Fancing |  | 2 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17.04 | Erection of Pipe Earthing for 250 KVA T/F Newtural & body earthing |  | 4 | Nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Back Cartage of Dismentaled Cable/Conductor From Work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. |  | 869 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information