## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I, Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&izFke] eqt¶Qjuxj ds v/khuLFk fo¦qr forj.k mi[k.M&f}rh;] r`rh; o c?kjk&eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr 33@11 dsoh midsUnz c?kjk ls iksf"kr 11 dsoh ulhjiqj iks"kd ls iksf"kr Jh ujsUnz iq= Jh eaxr flag xzke&frrkoh dh ,y0Vh0ykbZu ds {kfrxzLr@ttZj rkj cnyuk] 33@11 dsoh midsUnz c?kjk ij LFkkfir 02 ua0 ikoj ifjorZdksa dh lqj{kk gsrq dh ,y0Vh0 lkbZM ij cl&ckj LFkkfir djuk] 33@11 dsoh midsUnz gMkSyh ls iksf"kr 11 dsoh budfeax ua&2 iks"kd dh {kfrxzLr 11 dsoh lh0Vh0 cnyuk] 33@11 dsoh midsUnz c?kjk ls iksf"kr 11 dsoh c?kjk VkÅu iks"kd ls iksf"kr 100 dsoh, forj.k ifjorZd xSl xksnke c?kjk ls fuxZr ,y0Vh0ykbZu ds {kfrxzLr gksus ij ykbZu ds rkj cnyuk] 33@11 dsoh midsUnz c?kjk ls iksf"kr 11 dsoh f<<koyh iks"kd dh ykbZu esa lqj{kkn`f"V ls yEcs Liku esa iksy yxkuk] 33@11 dsoh midsUnz c?kjk ij LFkkfir ikoj ifjorZd ua0&1 dk vkW;y ysoy de gksus ij ifjorZd dks {kfrxzLr gksus ls cpkus ds fy;s vkW;y ysoy ifjiw.kZ djuk] xzke&ujksRreiqj ektjk esa miHkksDrk Jh ey[kku flag iq= Jh [ktku flag ds tksMs ij LFkkfir 25 dsoh, forj.k ifjorZd dks tehu ls mBkdj Mcy iksy rS;kj dj LFkkfir djuk] 33@11 dsoh midsUnz c?kjk ls iksf"kr 11 dsoh c?kjk iks"kd ds {ks= ds vUrxZr LFkkfir 63 dsoh, o 100 dsoh, forj.k ifjorZdksa dk vkW;y ysoy de gksus ij ifjorZdksa dks {kfrxzLr gksus ls cpkus ds fy;s vkW;y ysoy ifjiw.kZ djuk] 33@11 dsoh midsUnz ykyw[ksMh ij LFkkfir 10 ,eoh, ikoj ifjorZd ua0&1 ds lIykbZ iSuy ij tqMs {kfrxzLr 11 dsoh ,Dl0,y0ih0 dsfcy o tksbZfVax fdV cnyuk] 33@11 dsoh midsUnz ykyq[ksMh ls iksf"kr 11 dsoh ykyq[ksMh VkÅu iks"kd ds xzke&ykyq[ksMh esa LFkkfir 25 dsoh, forj.k ifjorZd ds {kfrxzLr Mcy iksy cnyuk] 33@11 dsoh midsUnz ykyq[ksMh o 33@11 dsoh midsUnz vykoyiqj ektjk ls iksf"kr 11 dsoh iks"kdksa dk 'kqn`<hdj.k djuk] 33@11 dsoh midsUnz vykoyiqj ektjk ij LFkkfir 11 dsoh budfeax ua0&1 iks"kd dh 11 dsoh oh0lh0ch0 ds {kfrxzLr oSD;we bUVªiVj o cSVªh pktZj] cSVªh lSV cnyuk] 33@11 dsoh midsUnz fldjh ls iksf"kr 11 dsoh iks"kdksa dh {kfrxzLr 11 dsoh ,Dl0,y0ih0 dsfcy dh tksbZfVax fdV cnyuk] 33@11 dsoh midsUnz gMkSyh dh {kfrxzLr 33 dsoh ykbZu vkbZlksysVj cnyuk] 33@11 dsoh midsUnz HkksdjgsMh ls fuxZr 11 dsoh iks"kdksa dh ykbZuksa dk 'kqn`<hdj.k djuk] 33@11 dsoh midsUnz ihiygsMk ls iksf"kr 11 dsoh uaxyk fiFkkSjk taxy iks"kd dh ykbZu esa yEcs Liku esa iksy yxkuk] 33@11 dsoh midsUnz tlksbZ ds {ks= ds vUrxZr LFkkfir forj.k ifjorZdksa dh {kfrxzLr dsfcy cnyuk o 11 dsoh ihiygsMk VkÅu ds xzke&ihiygsMk esa tksgM ds ikl LFkkfir ,y0Vh0 ykbZu ds ttZj rkj o fo¦qr iksy cnyuk ,oa 33@11 dsoh midsUnz HkksdjgsMh ls iksf"kr 11 dsoh budfeax ua0&1 dh ykbZu ds {kfrxzLr dsfcy tksbZfVax fdV cnyus dk dk;Z ckg~; ,tsUlh ds ek/;e ls djk;k tkus gsrq dk;ZA
Contract No: 145/2023-24/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | fo¦qr Hk.Mkj dsUnz ls lkbZV rd lkexzh ig¡qpkus dk dk;Z ftlesa nksuksa vksj dh yksfMax o vuyksfMax 'kkfey gSA ¼nwjh 0 ls 50 fd0eh0½ | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | TRANSFORMER OIL FRESH (400 Ltr.) for POWER TRANSFORMER |  | 2 | Mªe | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | TRANSFORMER OIL RECLAIMED (432 Ltr.) for DISTRIBUTION TRANSFORMER |  | 2 | Mªe | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | PCC POLE 8.5 Mtr. Long |  | 42 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 11 KV CT 600/300/5 Amp. |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 11 KV CABLE OUTDOOR JOINTING KIT 3x300 Sqmm |  | 8 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 11 KV CABLE INDOOR JOINTING KIT 3x300 Sqmm |  | 8 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | 11 KV VACUUM INTERRUPTER (MAKE ERL) |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.08 | BATTERY CHARGER 24 Volt. |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.09 | BATTERY SET 24 Volt. |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.1 | 33 KV LINE ISOLATOR 800 Amp. |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.11 | ACSR WEASEL CONDUCTOR |  | 2528 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.12 | LT XLPE AL. CABLE 1x400 Sqmm |  | 180 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.13 | 11 KV CABLE 3x300 Sqmm |  | 120 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.14 | ykbZu lkexzh ¼bUlqysVj] fMLd] rkj] Økl vkeZ vkfn½ |  | 7 | dqary | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Hk.Mkj dsUnz ls izkIr fo¦qr lkexzh dks lkbZV ij LFkkfir djus dk iw.kZ dk;Z A | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa ij ACSR WEASEL CONDUCTOR fcNkus@LFkkfir djus dk iw.kZ dk;ZA |  | 2528 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | fu;ekuqlkj 33@11 dsoh midsUnz tlksbZ ds {ks= esa LFkkfir forj.k ifjorZdksa dh {kfrxzLr LT XLPE AL. CABLE 1x400 Sqmm dks cnyus dk iw.kZ dk;ZA |  | 180 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | 33@11 dsoh midsUnz ykyw[ksMh ij LFkkfir 10 ,eoh, ikoj ifjorZd ua0&1 ds 11 dsoh lYgk[ksMh VkÅu iks"kd ds {kfrxzLr dsfcy dks v.Mxzkm.M Vªap esa LFkkfir@cnyus dk dk;ZA |  | 120 | ehVj | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.04 | jsLiks ekudksa ds vuqlkj x<<k [kksndj ih0lh0lh0@,l0Vh0ih0 iksy [kMk djus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy] LVksu iSM vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 38 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | jsLiks ekudksa ds vuqlkj x<<k [kksndj ih0lh0lh0@,l0Vh0ih0 Mcy iksy [kMk djus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy] LVksu iSM vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 2 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.06 | fu;ekuqlkj lkbZV ij miyC/k 25 dsoh, forj.k ifjorZd dks rS;kj fd;s x;s Mcy ij LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | fu;ekuqlkj 33@11 dsoh midsUnz c?kjk ij LFkkfir 10 ,eoh, ikoj ifjorZd ua0&1 esa rsy ysoy de gksus ds dkj.k ifjorZd dks {kfrxzLr gksus ls cpkus ds fy;s rsy ysoy dh ek=k dkss ifjiw.kZ djus dk dk;ZA |  | 1 | tkWc esa | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.08 | fu;ekuqlkj 33@11 dsoh midsUnz c?kjk ds {ks= ds vUrxZr fofHkUu LFkkuksa ij LFkkfir ehfM;e o Leky 11@0-4 dsoh forj.k ifjorZdksa esa vkW;y ysoy de gksus ds dkj.k forj.k ifjorZd dks {kfrxzLr gksus ls cpkus ds fy;s forj.k ifjorZdksa ds vkW;y ysoy dks ifjiw.kZ djus dk iw.kZ dk;ZA ¼vkW;y dh ek=k 432 yhVj½ |  | 1 | tkc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | fu;ekuqlkj 33@11 dsoh midsUnz HkksdjgsMh ls iksf"kr 11 dsoh budfeax ua0&1 iks"kd dh dsfcy {kfrxzLr gksus ij dsfcy dks oh0lh0ch0 o ikoj ifjorZd ls fMLesaVy dj tksbZfVax fdV LFkkfir dj iwoZ dh Hkkafr dsfcy dks oh0lh0ch0 o ikoj ifjorZd ls tksMdj vkiwfrZ pkyw djkus dk iw.kZ dk;ZA |  | 1 | tkc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | fu;ekuqlkj lkbZV ij LFkkfir 25 dsoh, Mcy iksy ds iksy ttZj gksus ds dkj.k iksy dks fMLesaVy djus dk dk;ZA fMLesaVy djrs le; 25 dsoh, forj.k ifjorZd dks lqjf{kr mrkjuk gSA ftlesa foHkkxh; lkexzh {kfrxzLr ugh gksus pkfg,A |  | 1 | tkc esa | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.11 | fu;ekuqlkj 33@11 dsoh midsUnz vykoyiqj ektjk ij LFkkfir 11 dsoh budfeax ua0&1 iks"kd dh oh0lh0ch0 ds {kfrxzlr 11 KV VACUUM INTERRUPTER cnydj oh0lh0ch0 pkyw djus dk iw.kZ dk;ZA |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.12 | fu;ekuqlkj 33@11 dsoh midsUnz vykoyiqj ektjk dh {kfrxzLr BATTERY CHARGER & BATTERY SET LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.13 | fu;ekuqlkj lkbZV ij 33 KV CT/PT POLE MOUNTED UNIT LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.14 | fu;ekuqlkj lkbZV ij 33 KV LINE ISOLATOR 800 Amp. LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.15 | fu;ekuqlkj 33@11 dsoh midsUnzksa ij 11 KV INDOOR CABLE JOINTING KIT 3x300 Sqmm LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 7 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.16 | fu;ekuqlkj 33@11 dsoh midsUnz ykyq[ksMh ij 11 KV OUTDOOR CABLE JOINTING KIT 3x300 Sqmm LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 7 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.17 | fu;ekuqlkj 33@11 dsoh midsUnz c?kjk ij Lfkkfir 02 ua0 ikoj ifjorZdksa dh ,y0Vh0lkbZV cl&ckj LFkkfir djus dk iw.kZ dk;ZA fodsUnzh; lkexzh fufonkdkj@Bsdsnkj }kjk ns; gksxhA |  | 1 | tkWc esa | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.18 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh vfFkZax jksM LFkkfir djrs gq;s vfFkZax dEiyhV djus dk iw.kZ dk;ZA |  | 2 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.19 | fu;ekuqlkj 11 dsoh LVs lSV DEiyhV LFkkfir djus dk dk;ZA |  | 13 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | dk;Znk;h laLFkk@Bsdsnkj }kjk fuEufyf[kr lkexzzh vko';Drkuqlkj miyC/k djkrs gq, yxkus dk iw.kZ dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 11 KV BUS BAR COPPER 50x12 MM |  | 15 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | NUT & BOLTS |  | 8 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3.03 | X-ARM CLAMP |  | 24 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | fu;ekuqlkj lkbZV ls mrkjh xbZ iqjkuh lkexzh dks ts0bZ0 LVksj@LVksj lSUVj eqt+¶Qjuxj igq¡pkus dk dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 33 KV LINE ISOLATOR DAMAGE |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | BATTERY CHARGER + BATTERY SET SCRAP |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.03 | 11 KV CT/PT UNIT DAMAGE |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.04 | DAMAGE AL. CABLE |  | 140 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.05 | ACSR WEASEL CONDUCTOR OLD & USED |  | 1635 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information