## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&f}rh;] eqt¶Qjuxj ds v/khuLFk fo¦qr forj.k mi[k.M&prqFkZ] eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr 33@11 dsoh midsUnz jksgkuk ij LFkkfir 11 dsoh budfeax ua0&2 iks"kd ØksEiVu esd oh0lh0ch0] 11 dsoh c/kkbZ Vkmu iks"kd ØksEiVu esd oh0lh0ch0] 11 dsoh fllkSuk taxy iks"kd ØksEiVu esd oh0lh0ch0 ,oa 11 dsoh dNkSyh taxy iks"kd ØksEiVu esd oh0lh0ch0 dqy 04 ua0 ¼03 ua0 vkmVxksbZax oh0lh0ch $ 01 ua0 budfeax oh0lh0ch0½ ds lgh izdkj ls dk;Z ugh djus ij 11 dsoh oh0lh0ch0 ds {kfrxzLr lkeku ds LFkku ij u;k lkeku miyC/k djkrs gq;s ejEer djus dk iw.kZ dk;Z ckg~; ,tsUlh ds ek/;e ls djk;s tkus gsrq dk;ZA
Contract No: 105/2023-24/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | 11 KV VCB REPAIR & MAINTENANCE WORK | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Complete reparing of tripping mechanism system and replacement of lever, bush, spring, nuts etc. of 11 KV Crompton Make VCB. |  | 4 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Providing and Replacement of damage tripping coil complete of 11 KV Crompton Make VCB. |  | 6 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.03 | Providing and fixing of Jaw Contact made of copper Suitable for 11 KV Crompton Make VCB. |  | 12 | Nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Providing and fixing of Epoxy Housing Complete with copper contact Suitable for 11 KV Crompton Make VCB. |  | 3 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Providing and fixing of epoxy Bus-Bar spout with copper contact Suitable for 11 KV Crompton Make VCB. |  | 9 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.06 | Providing and fixing of Charging Gerari and Non-Return bearing complete Suitable for 11 KV Crompton Make VCB. |  | 2 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.07 | Providing of 2.5 mm PVC Copper wire Lugs etc. and replacement of damaged burnt wireing Complete for 11 KV Crompton Make VCB. |  | 3 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.08 | Providing and fixing of intruptor connecting Rod Complete Suitable for 11 KV Crompton Make VCB. |  | 6 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.09 | Complete overhauling proper connection & providing and fixing of missing nut & bolts and proper functioning of 11 KV Crompton Make VCB. |  | 4 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information