## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : Work of 33/11 KV Substation Strenthening at various site Under Business Plan Scheme 2023-24 on Semi Turnkey Basis in the Area of EE, EUDD-V Ghaziabad. Under the jurisdiction of SE, EUDC-I, Ghaziabad.
Tender no. 29/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Carriage of 33 KV VACCUM CIRCUIT BREAKER 1250 AMP from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001113 | 1 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 33 KV CT,200/100/1-1-1A from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001114 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Carriage of 33 KV PT,(Outdoor) 33KV/110 V from Store center to various work site loading and unloading both side. distance 1 km to 50 km. | BI01010001010000000000000515BI0100001115 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Safely placing & Commisioning of 33 KV VACCUM CIRCUIT BREAKER 1250 AMP at related Substation complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Safely placing & Commisioning of 33 KV CT,200/100/1-1-1A at related Substation complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Safely placing & Commisioning of 33 KV PT,(Outdoor) 33KV/110 V at related Substation complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 9 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Dismantling of old & used 33 KV VACCUM CIRCUIT BREAKER 1250 AMP, Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001119 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Dismantling of old & usedd Damaged Battery Charger, Battery Set Volt, Damaged Isolater, CT/PT, Fuse set and Safley carriage from work site to Store center/JE store loading and unloading both side. | BI01010001010000000000000515BI0100001114 | 125 | Kg |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Supply & Fixing Battery Charger 24 Volt at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Supply & Fixing Battery set 24 Volt at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001116 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Supply & Fixing Bus Isolatar 800A, 33KV at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001117 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Supply & Fixing Line Isolatar 800A, 33KV at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001118 | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Supply & Fixing 33KV Fuse Set at complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001114 | 1 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Providing/Supply & Fixing Earthing of T/F at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 38 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Providing/Supply & Fixing 11KV VCB Earthing upto Water level at various site complete in all respect as per RESPO norm. | BI01010001010000000000000515BI0100001115 | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | All other works complete in all respect as per site requirement. | BI01010001010000000000000515BI0100001116 | 16 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information