## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work: fo¦qr forj.k [k.M f}rh;] lgkjuiqj ds vUrxZr fo¦qr forj.k mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z{ks= esa 33@11 ds0oh0 vkbZ0VhvkbZ0 ls iksf”kr 11 ds0oh0 QhMj eukuh] ya<ksjk b.MLVªh;y QhMj dh 11 ds0oh0 ,oa ,y0Vh0 ykbZuks dks gVkus@mpk djus@iksy yxkus ,ao 11 dsoh0 ykbZuks dks iqu% tksMus dk dk;ZA
Contract No: 06/W/EDC-II/SRE/2024-25
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Removal of ACSR Rabbit/Weasal/Dog conductor of 11 KV of existing Line from 33/11 KV S/S ITI with making roll of conductor and shifting from safe side including loading and unloding at both ends. |  | 12 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.02 | Removal of 25 KVA T/F from the existing D/P after opening HT & LT connection and with Shifting the T/F from the site to JE store loading & unloading at both ends. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.03 | Dismantting of PCC Pole (8.5 Mtr long ) with the help of crain of 11 KV existing line for raily Place with opening of all accossories & shifting from safe side. |  | 12 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Safely carriage of PCC Pole (8.5 mtr. Long) from ESC, SRE/JE Store to site of work including loading & unloading at both ends. |  | 12 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.05 | Erection of single support on PCC Pole (8.5 Mtr long ) with complete fittings of all accessories of 11 KV/LT lines. |  | 10 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.06 | Erection of Double Pole on PCC Pole (8.5 Mtr long ) with complete fittings Of all accessories. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Providing & fixing of X-arm holding clamps PCC Poles with nuts bolts as per RESPO specification |  | 15 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing & fixing of Double Pole clamps PCC Poles with nuts bolts as per RESPO specification |  | 4 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Rabbit Conductor/Weasal/Dog for 11KV Line on PCC pole as per RESPO specification |  | 12 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Safely installation of 25 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Re-Straightening of tilted PCC Poles of 11 KV/LT lines. with opening, binding and jumpering of conductor. & Re-binding, Re-jumpering the same properly. |  | 25 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Re-sagging of loose conductor of 11 KV/LT lines (consisting of 3 Phase)with opening, binding & Re-binding, Re-jumpering the same properly. |  | 25 | Span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Tightening of loose stay including opening, binding & nuzzling of stay wire properly. |  | 10 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Chopping of tree branches touching the 11 KV/LT lines |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information