## Sheet0 (hidden)
bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k
e.My fctukSj ds {ks=kUrxZr 24 ua0 izkFkfed@mPp izkFkfed fo¦ky;ksa ds Åij@cxy ls xqtj jgh ,y0Vh0@,p0Vh0 ykbZu dks mudh lqj{kk ds n`f”Vxr f’k¶V djus ds dk;Z dks uohu ftyk fo¦qr fodkl fuf/k ls ckg~; ,tsUlh ds ek/;e ls djkus gsrq izdkf’kr gksus okyh bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k ¼Lisf’kfQds’ku@ch0vks0D;w0½
[k.M dk uke%& fo¦qr forj.k [k.M--------------------------------
iSdst uEcj%&--------------------------------------------------------------
fnukad%&---------------------------------
S.No. | Item Discription | Unit | Qty. | 59 | 60 | 61
1 | Safe cartage of 8.5 Mtr.long PCC Pole from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) . | Nos. | 182 | 1
2 | Safe cartage of 9 Mtr.long PCC Pole from Store Centre Joya to works site including loading and unloading at both ends(Appr. 40Kms.) . | Nos. | 2 | 0
3 | Safe cartage of 13 Mtr.long STP Pole from Store Centre Joya to works site including loading and unloading at both ends(Appr. 40Kms.) . | Nos. | 4 | 0
4 | Safe cartage of 11 Mtr.long STP Pole from Store Centre Joya to works site including loading and unloading at both ends(Appr. 40Kms.) . | Nos. | 28 | 1
5 | Safe cartage of line material from Store Centre Joya to works site including loading and unloading at both ends(Appr. 40Kms.) . | Qtl. | 90
6 | Safe cartage of 25 KVA T/F from Store Centre Joya to works site including loading and unloading at both ends(Appr. 40Kms.) . | Nos. | 1
7 | Safe cartage of 11KV XLPE Cable overhaead (3x120sq.mm) from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) | Mtr. | 124
8 | Safe cartage of 11KV XLPE Cable overhaead (3x70sq.mm) from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) | Mtr. | 460
9 | Safe cartage of 11KV XLPE Cable overhaead (3.5x70sq.mm) from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) . | Mtr. | 30
10 | Dismentling of 25 KVA T/F different sites with double pole. | Nos. | 2
11 | Dismentling of 63 KVA T/F with double pole. | No. | 1
12 | Dismentling of 100 KVA T/F with double pole. | No. | 1
13 | Mounting of 25 KVA T/F on the 8.5 mtr. Pcc double pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 2
14 | Mounting of 63 KVA T/F on the 8.5 mtr. Pcc double pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 1
15 | Mounting of 100 KVA T/F on the 8.5 mtr. Pcc double pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 1
16 | Erection of Single Pole on 8.5 Mtr. long PCC Pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 178
17 | Erection of Single Pole on 9 Mtr. long PCC Pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 2
18 | Erection of Double Pole on 8.5 Mtr. long PCC Pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 2
19 | Erection of Single Pole on 13 Mtr. Long STP Pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 4
20 | Erection of Single Pole on 11 Mtr. long STP Pole including fabrication and fitting of all type of accessories etc. as per RESPO Drawing. | No. | 28
21 | Laying spreading lifting and final sagging of ACSR Weasel and Rabbit Conductor in accordance with line chart including binding and fixing of all type accessories. | Mtrs. | 23651 | 234
22 | Laying spreading lifting and final sagging of L.T. ABC Size (3x50+1x35+1x16 sqmm) in accordance with line chart including binding and fixing of all type accessories. | Mtrs. | 708
23 | Laying spreading lifting and final sagging of L.T. ABC Size (3x120+1x70+1x16 sqmm) in accordance with line chart including binding and fixing of all type accessories. | Mtrs. | 97
24 | Laying spreading lifting and final sagging of L.T. ABC Size (3x95+1x70+1x16 sqmm) in accordance with line chart including binding and fixing of all type accessories. | Mtrs. | 110
25 | Laying of 11KV XLPE Cable overhaead (3x120sq.mm) from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) . | Mtrs. | 124
26 | Laying of 11KV XLPE Cable overhaead (3x70sq.mm) from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) . | Mtrs. | 460
27 | Laying of 11KV XLPE Cable overhaead (3.5x70sq.mm) from Store Centre Joya to works site including loading and unloading at both ends(Appr.40Kms.) . | Mtrs. | 30
28 | fixing of I/D and O/D Cable Jointing Kit Suitable for 3x185 Sqmm XLPE Cable | Nos. | 6
29 | Installation of LT Distribution Boxes. | Nos. | 6
30 | Erections of stay Rod complete with nozzling & grouting as per resspo norms. | No. | 137
31 | Earthing complete | No. | 145
32 | Pole Gaurding Angle 50x50x6sqmm. Line by 6SWG and 10 SWG | No. | 7
33 | Providing and fixing of Stone Pad | No. | 59 | 2
34 | Conceriring of support | No. | 216
35 | Foundation of pole | No. | 216
36 | T-Off Channel | no | 49 | 4
37 | Providing and fixing Dangour Board & clamp with bolts and nuts | No. | 10 | 2
37 | Providing and fixing Suspention clamp | No. | 10
38 | Providing and Fixing Pieciring Clamp | NO. | 20
39 | Providing and Fixing Nut Bolt/Eye Bolt | K.G. | 84
40 | Providing and Fixing F-Bracket | No | 28
41 | Providing and Fixing Clamp for X Arm | No | 35
42 | Providing and fixing clamp with nut bolts | set | 36
43 | Providing and fixing Holding clamp for Top Channel TPMO | No | 86
44 | Providing and fixing Gaurding Angle Clamp | No | 19
45 | Providing and fixing LT Clamp with nut bolt | No | 27
46 | Providing and fixing D.B. Clamp | No | 10
47 | Providing and fixing F Clamp | No | 52
48 | Providing and fixing LT Clamp with nut bolt | No | 44
49 | Providing and fixing clamp for stay | No | 22
50 | Providing and fixing LT Shackle strip with nut bolt | K.G. | 4.5
51 | Providing and fixing Dead Clamp | No | 18
52 | Providing and fixing LT Clamp I Hook | No | 24
53 | Providing and fixing PRC | No | 6
54 | cartage of used & old conductor from site to J.E./Store centre Joya with loading and unloading both ends. | K.G. | 1716
55 | cartage of scrap iron from site to J.E./Store centre Joya with loading and unloading both ends. | K.G. | 50

## Sheet2 (hidden)
S.No. | Centralised Material | De-Centralised Material | Erection & Cartage Charges
1 | 1450405.93 | 103464 | 275034.98
2 | 687183.73 | 0 | 121631.52
3 | 478342.32 | 35377 | 90928.32
4 | 2972759.74 | 197834 | 561195.09
5 | 240053.48 | 0 | 42489.47
6 | 455998.1 | 41524 | 88061.41
7 | 1745733.29 | 147902 | 335173.45
8 | 477652.75 | 0 | 84544.54
9 | 1014989.51 | 102770 | 197843.43
10 | 271197.9 | 0 | 48002.03
11 | 703974 | 0 | 124603.4
12 | 478749.75 | 35377 | 91000.43
| 10977040.5 | 664248 | 2060508.07 | 13701796.57
| 26.26 | 14.5 |  | 2724756.07
| 11.93 | 6.87
| 8.91 | 4.7
| 54.77 | 29.72
| 3.78 | 2.4
| 8.63 | 4.5
| 32.87 | 17.45
| 7.68 | 4.7
| 17.71 | 10.14
| 4.22 | 2.71
| 12.22 | 7.03
| 8.92 | 4.7
| 197.9 | 109.42
2626926.74
1193002.49
891855.27
5477028.53
378110.85
863735.68
3287492.89
768281
1771882.34
422459.89
1222151.66
892562.6
19795489.94

## Sheet3 (hidden)
713409.93
74412
562835
68380
18512
12857
1450405.93
S.No. | CEN. | DEC. | CARTAGE
1 | 189294 | 9256 | 35143
2 | 407925 | 16788 | 75174
3 | 981445 | 62290 | 184741
4 | 397417 | 3986 | 71048
5 | 772131 | 6598 | 137835
6 | 2053778 | 195210 | 398070
7 | 478750 | 18673 | 88044
8 | 710349 | 10683 | 127622
9 | 1014990 | 74130 | 192774
10 | 240054 | 2581 | 42946
11 | 477653 | 2940 | 85065
12 | 1745733 | 107805 | 328076
13 | 442848 | 22905 | 82438
14 | 2881875 | 155276 | 537575
15 | 478342 | 22124 | 88582
16 | 1450405 | 82314 | 271291
17 | 687183 | 696721 | 123319
18 | 271198 | 3299 | 48586
19 | 917889 | 0 | 5900
| 16599259 | 1493579 | 2924229 | 21017067
| DEC+CAR. | 4417808
|  |  | 546930.9 | 4964738.9

## meter to kg convert (4) (hidden)
METER TO KG WEASEL CONDUCTOR
METER | 0.128
METER TO KG Rabbit CONDUCTOR | 0.214
METER TO KG Dog CONDUCTOR | 0.394

## EDD-I BIJNOR (hidden)
bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k
fo0fo0[k0iz0] fctukSj ds {ks=kUrxZr 03 ua0 izkFkfed@mPp izkFkfed fo¦ky;ksa ds Åij@cxy ls xqtj jgh ,y0Vh0@,p0Vh0 ykbZu dks mudh lqj{kk ds n`f”Vxr f’k¶V djus ds dk;Z dks uohu ftyk fo¦qr fodkl fuf/k ls ckg~; ,tsUlh ds ek/;e ls djkus gsrq izdkf’kr gksus okyh bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k ¼Lisf’kfQds’ku@ch0vks0D;w0½
[k.M dk uke% fo¦qr forj.k [k.M&izFke] fctukSj
izkFkfed fo¦ky;ksa@mPp izkFkfed fo¦ky;ksa dh la[;k% 03
Lohd`r iSdstksa dh la[;k% Mh&159] Mh&160 ,oa Mh&161@2022&23
S.No. | Item/Work Description | Unit | Qty.
1 | Safe Cartage of Pole 8.5 Mtr. from ESC Bijnor to Above site including loading and unloading at both ends. | Nos. | 3
2 | Safe Cartage of STP Pole 11 Mtr. from ESC Bijnor to Above site including loading and unloading at both ends. | Nos. | 4
3 | Safe Cartage of ACSR Wesael Conductor from ESC Bijnor to Above site including loading and unloading at both ends. | Mtr | 466
5 | Safe Cartage of ABC 3X95+1X50+1X16 mm from ESC Bijnor to Above site including loading and unloading at both ends. | Mtr | 55
7 | Safe Cartage of Line Material from ESC Bijnor to Above site including loading and unloading at both ends. | Qtl. | 6
8 | Erection of PCC Pole 8.5 Mrt. with all accesseires | Nos. | 3
10 | Erection of STP Pole 11 Mrt. with all accesseires | Nos. | 4
11 | Laying Lifting, Saying & buinding properly of ACSR Weasel Conductor suitable for 11 KV Line | Mtr | 466
13 | Laying Lifting, Saying & buinding properly of ABC 3X95+1X50+1X16 mm suitable for 11 KV Line | Mtr | 55
14 | Diging of pits of PCC/STP Pole. | Nos. | 7
18 | Erection of Earthing Rod with GI Wire | Nos. | 9
19 | Erection of Stay Set | Nos. | 8
21 | Grouting of PCC/ST Pole. | Nos. | 7
22 | Grouting of stay with nuzzling. | Nos. | 8
23 | Providing & Fixing of following material at Various Sites.
24 | Dead and Clamp with 1 Hook Installed | Nos. | 2
25 | Jumpring 120 mm to 95 mm | Nos. | 6
26 | PG Clamp 95/70 - 30 (D-Box) | Nos. | 2
27 | Jointing Sleevs MID Span | Nos. | 1
28 | LT Clamp | Nos. | 2
30 | Danger Board & Clamp With Nut & Bolts | Nos. | 6
31 | Danger Board/Number Plate Fixing | Nos. | 5
32 | Stone Pad | Nos. | 7
33 | F-Bracket with bolts & nuts | Nos. | 3
34 | Holding Clamp for Cross Arm/Tee Channel/Guarding Clamp | Nos. | 23
35 | M.S. Bolts & Nuts | Kg. | 14
37 | Stay Clamp | Nos. | 8
38 | Stay Insulator | Nos. | 8
39 | Stay Grouthing | Nos. | 8
40 | Painting of STP | Nos. | 4
42 | LT Incoming Pannel With Metering Equipement | Nos. | 1
43 | Cartage of Receive back Dismentling matrial from Site to ESC Bijnor Above site including loading & unloading at the both end. | Kg. | 55
(Executive Engineer) Electricity Distribution Division Ist, Bijnor

## EDD-II BIJNOR (hidden)
bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k
fo0fo0[k0iz0] fctukSj ds {ks=kUrxZr 03 ua0 izkFkfed@mPp izkFkfed fo¦ky;ksa ds Åij@cxy ls xqtj jgh ,y0Vh0@,p0Vh0 ykbZu dks mudh lqj{kk ds n`f”Vxr f’k¶V djus ds dk;Z dks uohu ftyk fo¦qr fodkl fuf/k ls ckg~; ,tsUlh ds ek/;e ls djkus gsrq izdkf’kr gksus okyh bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k ¼Lisf’kfQds’ku@ch0vks0D;w0½
[k.M dk uke% fo¦qr forj.k [k.M&f}rh;] fctukSj
izkFkfed fo¦ky;ksa@mPp izkFkfed fo¦ky;ksa dh la[;k% 07
Lohd`r iSdstksa dh la[;k% Mh&178] Mh&179] Mh&180] Mh&181] Mh&182] Mh&183 ,oa Mh&184@2022&23
S.No. | Item/Work Description | Qty. | Unit
1 | Cartage of Pole 8.5 Mtr. from ESC Bijnor to Above site including loading and unloading at both ends. | Nos. | 29
2 | Cartage of ACSR Wesael Conductor from ESC Bijnor to Above site including loading and unloading at both ends. | Mtr | 1191
3 | Cartage of ACSR Rabbit Conductor from ESC Bijnor to Above site including loading and unloading at both ends. | Mtr | 80
4 | Cartage of Line Material from ESC Bijnor to Above site including loading and unloading at both ends. | Qtl. | 12
5 | Erection of PCC Pole 8.5 Mrt. with all accesseires | Nos. | 29
6 | Laying Lifting, Saying & buinding properly of ACSR Weasel Conductor suitable for 11 KV Line | Mtr | 1191
7 | Laying Lifting, Saying & buinding properly of ACSR Rabbit Conductor suitable for 11 KV Line | Mtr | 80
8 | Diging of pits of PCC/STP Pole. | Nos. | 29
9 | Making of jointing kit 3x120 sq mm. | Nos. | 10
10 | Erection of Earthing Rod with GI Wire | Nos. | 23
11 | Erection of Stay Set | Nos. | 23
12 | Erection of Guarding Angle with GI Wire | Nos. | 6
13 | Grouting of PCC/ST Pole. | Nos. | 29
14 | Grouting of stay with nuzzling. | Nos. | 23
15 | Erection of Section Pole with all accesseires | Nos. | 1
16 | Providing & Fixing of following material at Various Sites.
16.01 | LT Clamp | Nos. | 15
16.02 | LT Shackle Insulator | Nos. | 15
16.03 | Danger Board & Clamp With Nut & Bolts | Nos. | 18
16.04 | Danger Board/Number Plate Fixing | Nos. | 19
16.05 | Stone Pad | Nos. | 12
16.06 | F-Bracket with bolts & nuts | Nos. | 2
16.07 | Holding Clamp for Cross Arm/Tee Channel/Guarding Clamp | Nos. | 17
16.08 | M.S. Bolts & Nuts | Kg. | 65
17 | Cartage of Receive back Dismentling matrial from Site to ESC Bijnor Above site including loading & unloading at the both end. | Kg. | 191
(Executive Engineer) Electricity Distribution Division Iind, Bijnor

## EDD-II CHANDPUR (hidden)
bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k
fo0fo0[k0iz0] fctukSj ds {ks=kUrxZr 03 ua0 izkFkfed@mPp izkFkfed fo¦ky;ksa ds Åij@cxy ls xqtj jgh ,y0Vh0@,p0Vh0 ykbZu dks mudh lqj{kk ds n`f”Vxr f’k¶V djus ds dk;Z dks uohu ftyk fo¦qr fodkl fuf/k ls ckg~; ,tsUlh ds ek/;e ls djkus gsrq izdkf’kr gksus okyh bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k ¼Lisf’kfQds’ku@ch0vks0D;w0½
[k.M dk uke% fo¦qr forj.k [k.M&f}rh;] pkUniqj
izkFkfed fo¦ky;ksa@mPp izkFkfed fo¦ky;ksa dh la[;k% 06
Lohd`r iSdstksa dh la[;k% Mh&170] Mh&171] Mh&172] Mh&173] Mh&174 ,oa Mh&175@2022&23
S.No. | Item/Work Description | Qty. | Unit
1 | Cartage of Pole 8.5 Mtr. from ESC Bijnor to Above site including loading and unloading at both ends. | Nos. | 18
2 | Cartage of STP Pole 11 Mtr. from ESC Bijnor to Above site including loading and unloading at both ends. | Nos. | 2
3 | Cartage of ACSR Wesael Conductor from ESC Bijnor to Above site including loading and unloading at both ends. | Mtr | 2899
4 | Cartage of 11 KV XLPE cable 3x120/3x185 sqmm from ESC Bijnor to Above site including loading and unloading at both ends. | Mtr | 60
5 | Cartage of Line Material from ESC Bijnor to Above site including loading and unloading at both ends. | Qtl. | 11
6 | Erection of PCC Pole 8.5 Mrt. with all accesseires | Nos. | 18
7 | Erection of STP Pole 11 Mrt. with all accesseires | Nos. | 2
8 | Laying Lifting, Saying & buinding properly of ACSR Weasel Conductor suitable for 11 KV Line | Mtr | 2899
9 | Diging of pits of PCC/STP Pole. | Nos. | 20
10 | Making of jointing kit 3x120 sq mm. | Nos. | 2
11 | Erection of Earthing Rod with GI Wire | Nos. | 18
12 | Erection of Stay Set | Nos. | 13
13 | Grouting of PCC/ST Pole. | Nos. | 20
14 | Grouting of stay with nuzzling. | Nos. | 13
15 | Providing & Fixing of following material at Various Sites.
15.01 | Danger Board & Clamp With Nut & Bolts | Nos. | 15
15.02 | Stone Pad | Nos. | 18
15.03 | Holding Clamp for Cross Arm/Tee Channel/Guarding Clamp | Nos. | 46
15.04 | M.S. Bolts & Nuts | Kg. | 25
16 | Cartage of Receive back Dismentling matrial from Site to ESC Bijnor Above site including loading & unloading at the both end. | Kg. | 208
(Executive Engineer) Electricity Distribution Division IInd, Chandpur

## Sheet5
bZ&fufonk ds lkis{k rduhdh fof'k"Vhdj.k
fo¦qr forj.k [k.M&izFke] fctukSj ds dk;Z{ks= esa foLrkfjr uxj fudk; ds {ks=ksa esa fu/kkZfjr ?k.Vs fo¦qr vkiwfrZ miyC/k djkus ds n`f"Vxr forj.k ifjorZdksa dh {kerko`f)] uohu forj.k ifjorZdksa dh LFkkiuk] uohu ,y0Vh0 ykbZu dk fuekZ.k] ,y0Vh0 ykbZuksa ds lqn`<+hdj.k@foLrkjhdj.k ,oa ,sls fofHkUu dk;Z ftuesa iz.kkyh lq/kkj dh vko';drk gS] ds dk;ksZa dks ckg~; ,tsUlh ds ek/;e ls lseh VuZdh vk/kkj ij djkus gsrq rduhdh fof'k"Vhdj.k
fnukad% ---------------------------
Sl. No. | Work/Item Description | Units | Qty.
1 | 2 | 3 | 4
1 | Safe Carriage of Transformer from ESC Bijnor/ESSC Dhampur to above site including loading & unloading at the both end . 250 KVA | Nos
2 | Safe Carriage of Transformer from ESC Bijnor/ESSC Dhampur to above site including loading & unloading at the both end . 400 KVA | Nos
3 | Safe Carriage of ACSR weasel conductor from ESC Bijnor/ESSC Dhampur to above site including loading & unloading at the both end . | Mtr.
4 | Safe Carriage of LT ABC 3x95 sqmm from ESC Bijnor/ESSC Dhampur to above site including loading & unloading at the both end . | Mtr.
5 | Safe Carriage of LT ABC 3x50 sqmm from ESC Bijnor/ESSC Dhampur to above site including loading & unloading at the both end . | Mtr.
6 | Safe Carriage of 11 KV XLPE from ESC Bijnor/ESSC Dhampur to above site including loading & unloading at the both end . | Mtr.
7 | Laying straighting sagging and binding of ACSR weasel conductor on line. | Mtr.
8 | Laying straighting sagging and binding of LT ABC 3x95 sqmm on line. | Mtr.
9 | Laying straighting sagging and binding of LT ABC 3x50 sqmm Cable on line. | Mtr.
10 | Laying straighting sagging and binding of 11 KV XLPE Cable on line. | Mtr.
11 | Make of 250 KVA Transformer Plinth complete at site | Nos
12 | Erection of 250 KVA Transformer at Site | Nos
13 | Erection of 400 KVA Transformer at Site | Nos
14 | Providing and Erection with Grouting PCC Pole 8.5 Mtr Long | Nos
15 | Provding and Erection of 11 KV V-Type Cross Arm | Nos
16 | Provindg and Erection of Stay Complete set | Nos
17 | Providing and Erection Earthing complete set of PCC Pole | Nos
18 | Providing and Ereciton T-off Channel | Nos
19 | Providing and Erection 11 KV Disc Insulator | Nos
20 | Providing and Erection 11 KV Pin Insulator | Nos
21 | Providing and Erection Stone Pad | Nos
22 | Providning and Erection Clamp with nut & bolts | Nos
23 | Providning and Erection Holding Clamp with nut & bolts | Nos
24 | Providning and Erection Number Plate | Nos
25 | Providning and Erection Danger board with clamp | Nos
26 | Providning and Erection F-clamp | Nos
27 | Safe cartage of 01 Nos. outgoing VCB from ESC Bijnor/ESSC Dhampur at Nagar Panchayat Sahaspur with loading and unloading both ends. | JOB
28 | Opening of 01 Nos. outgoing VCB at site with all connection excting 11 KV cable. | NOS
29 | Dismantling of excting old 01 Nos. Outgoing VCB at site with opening Earthing, nut & bolts of all excting busbar. | JOB
30 | Complete installation with alingment and grouting of 01 nos 11 KV outgoing VCB on newly REG. bolts with fitting of bus bar their proper tapping | JOB
31 | Providing of 11 Kv VCB pannel with providing G.I. strip and first class welding complete in all respect. | JOB
32 | 11/0.4 KV T/F 250 KVA received back to ESC Bijnor | Nos
33 | Line Dismentling & Matrial received back to ESC Bijnor | kg
(Executive Engineer) Electricity Distribution Division Ist, Bijnor

## Sheet1
11/0.4 KV 100 KVA T/F | 3 | 2 | 6
11/0.4 KV 250 KVA T/F | 5 | 2 | 10
11/0.4 KV 400 KVA T/F | 1 | 2 | 2
ACSR Weasal conductor | 3253 | 2 | 6506
ACSR Rabbit conductor | 25462 | 2 | 50924
ACSR Dog conductor | 7725 | 2 | 15450
AB Cable (3X95+1X70+1X16) sq.mm | 11792 | 2 | 23584
AB Cable (3X120+1X95+1X16) sq.mm | 945 | 2 | 1890
11 KV V-Type Cross Arm 65X65X6 mm | 12 | 2 | 24
Stay set Complete Size 16x1800 mm | 97 | 2 | 194
Earthing Rod set Complete Size 20x2500 mm | 81 | 2 | 162
MS T-off Channel 125X65X1300 mm | 64 | 2 | 128
11 KV Disc Insulator with fitting | 129 | 2 | 258
11 KV Pin Insulator with fitting | 225 | 2 | 450
Pipe Earthing for 250/400 KVA T/F | 12 | 2 | 24
Sub Station Angle Size 50x50x6 mm (1300 mm Long) | 6 | 2 | 12
Holding Clamp for T-channel, Top, Dropper channel etc. | 116 | 2 | 232
Stone Pad size 300X300X75 mm | 165 | 2 | 330
MS Nut & bolt all size | 296 | 2 | 592
Holding Clamp with Nut & bolts for AB conductor | 330 | 2 | 660
Piercing clamp for AB conductor | 405 | 2 | 810
Dead & Clamp for AB conductor | 75 | 2 | 150
PG Clamp for AB conductor | 258 | 2 | 516
I Hook for AB conductor | 129 | 2 | 258
Distribution Box three phase for AB conductor | 149 | 2 | 298
PVC Cable 1x400 sqmm (200 mtr) 1x630 sqmm (40 mtr) | 110 | 2 | 220
Cable Jointing Kit 11 KV 3X120 mm out door type | 4 | 2 | 8
HDP Pipe for Railway Crossing | 400 | 2 | 800
GI Pipe for 11 kV cable for railway Crossing | 16 | 2 | 32
Erection of Single Pole suitable for LT line on PCC/ST Pole after digging a pits of required size with fixing accessries complete. | 39 | 2 | 78
Erection of Double Pole suitable for 11 kv line on PCC/ST Pole after digging a pits of required size with fixing accessries complete. | 10 | 2 | 20
PCC Pole 8.5 Mtr. Long | 165 | 2 | 330
S.T. Pole 11 Mtr. Long | 60 | 2 | 120
Fixing, tightening & nozzling of stay wire with stay rod with the poles of required tension as per drawing, including providing & fixing of stay insulators of 11 KV/LT line and stay clamps. Grouting of Stay Rods (16x1800) mm. including all work of excavation, cement, concreting in size (0.60x0.60x0.30) m in ratio 1:4:8 cement, sand, 40 mm brick ballast as per drawing, including back filling of soil and proper ramming etc. | 97 | 2 | 194
Earthing of supports with M.S. Earth Rod of including excavation of pit and driving M.S. Rod 3-0 M apart from support and 0.5 m below the ground level and connecting below the earth electrodes with the help of G.I. Wire No. 8 SWG and earthing lugs. | 81 | 2 | 162
Laying, spreading, lifting and final sagging of 3 phases of ACSR Weasal/Rabbit/Dog Conductor in accordance with line chart including binding and fixing of all accessories in conductor in parallel in 11 KV / L.T. Line for material | 11362 | 2 | 22724
Laying, spreading, lifting and final sagging of AB Conductor 3X120+1X95+1X16 sq.mm & 3X120+1X95+1X16 sq.mm in accordance with line chart including binding and fixing of all accessories in conductor in parallel in 11 KV / L.T. Line. | 12737 | 2 | 25474
11/0.2 KV 10 KVA T/F | 3 | 2 | 6
11/0.4 KV 25 KVA T/F | 1 | 2 | 2
11/0.4 KV 100 KVA T/F | 1 | 2 | 2
11/0.4 KV 100 KVA T/F | 3 | 2 | 6
11/0.4 KV 250 KVA T/F | 5 | 2 | 10
11/0.4 KV 400 KVA T/F | 1 | 2 | 2
Laying of underground 11 KV Cable after digging of trench including cost of sand & brick complete in all respect site Bakshiwala phatak under ground, under Railway Track double Ckt. | 550 | 2 | 1100
Filling & fixing of 11 KV Cable Jointing Kit | 4 | 2 | 8
Fixing of G.I. Pipe 6" dia on double pole with providing & fixing Clamps and Bolts & Nuts complete in all respect. | 16 | 2 | 32
Back Cartage of Dismentaled Cable/Conductor From Work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. | 10208 | 2 | 20416
Construction of plinth of 250/400 KVA T/F with fency as per RESSPO schedule. | 5 | 2 | 10
| 87613 |  | 175226
262839