## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For The work of Electrification of Pradhan Mantri Awash yojna at Madhuban Bapudham, Poket - F under full deposit Charges. Eminating from 33/11 KV S/S Bapudham No-8. in the jurisdiction of EUDD-I Ghaziabad.
Contract No: 74/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Cartage of ST pole 11 meter long from store center Meerut road GZB to site including loading and unloading at both side. | Loading safe Cartage & Unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channels cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Loading safe Cartage & unloading of heavy stock line material 11KV TPMO- 5 NO, 11KV FUSE SET- 5 NO, ACSR Dog Conductor- 120 mtr, Stay Set-20 No, MS Earth road- 14 No, MS CHANNEL- 500 KG, 11 KV PIN ISULATOR- 42 NO, GI WIRE and other line material from store center Meerut road GZB/SHB to different site. | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Cartage of 11 KV XLPE Cable size 3x185 sq mm2 from store center Meerut road GZB to site including loading and unloading at both side. | Cartage of 11 KV XLPE Cable 3x120 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1450 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Cartage of 400 KV T/F from store center Meerut road GZB to site including loading and unloading at both side. | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 5 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Cartage of 11 KV outdoor cable box 3x185 sq mm from store center Meerut road GZB to site including loading and unloading at both side. | Cartage of 11 KV Metering cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Cartage of LT XLPE Lead 1x400 sq mm2 from store center Meerut road GZB to site including loading and unloading at both side. | Citting /Drilling/welding of MS Channel(338KG) angle(210 KG),Top & Dropper Channel & complete work in all respect. | 300 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Cartage of LT XLPE 3.5x150 sq mm2 from store center Meerut road GZB to site including loading and unloading at both side. | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on D/P and refilling by earth & complete work in all respect. | 3250 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Cartage of LT XLPE 3.5x70 sq mm2 from store center Meerut road GZB to site including loading and unloading at both side. | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on single pole and refilling by earth & complete work in all respect. | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Earthing of pole with M S earth road complete work in all respect. | Fixing of all accessosries (Channel/angle, clamps, insulator etc) on Double pole & complete work in all respect. | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10 | Making of 400 KVA T/F plinth including all material complete work in all respect(all materials providing by contractor) & complete work in all respect. | Laying of 11 KV XLPE cable open cut mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | 5 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Making of 400 KVA T/F Fencing making with including all material complete work in all respect (all materials providing by contractor) & complete work in all respect. | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | 5 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Placing of 400 KVA T/F on double pole with the help of crane and making of all connection. | Laying of 11 KV XLPE cable Trench less mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | 5 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Cutting /Drilling/welding of MS Channel Top & Dropper Channel & complete work in all respect. (500 KG CHANNEL) | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Erection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | 7 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Fixing of all accesories (channel/angle, clamps, insulator etc) on 11 KV Double pole & complete work in all respect. | Filling of 11 KV Jointong kit size 3x120 mm2 & complete work in all respect. | 7 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Providing and Fixing of GI Pipe size 6'' Dia. | Fixing and providing Danger Board with nut & bolt defrent size with washer. | 80 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Laying of 11 KV XLPE cable size 3x185 mm2 cable Through open cut method including cost of HDPE PIPE 160 mm OD PN4 & complete work in all respect. | Earthing of pole with MS earth road complete work in all respect. | 1140 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Laying of 11 KV cable size 3x185 mm in loop and riser. | Paint of pole Structure after rubbing/cleaning of surface as per required complete work in all respect as per RESPO norms. | 310 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Filling and fixing of 11 KV out door Jointing kit size 3x185sq mm2 . | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | 28 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Laying Of LT XLPE Lead CABLE AL 1X400 SQMM. | Fixing of 11 KV Metering cubical in meter room & complete work in all respect as per RESPO norms. | 300 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Laying of LT XLPE CABLE AL 3.5X150 SQMM. | Concreting of ST pole with cement, sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | 3250 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Laying of LT XLPE CABLE AL 3.5X150 SQMM. | Fixing and providing of MS Nut & Bolt different size with washer. | 700 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Paint of Double pole Structure after rubbing/cleaing of surface as per required complete work in all respect as per RESPO norms. | Fixing and providing of Barbed wire around the pole. | 7 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Fixing and providing Danger Board with nut & bolt defrent size with washer. | Fixing and providing of stone pad & complete work in all respect as per RESPO norms. | 7 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Fixing and providing Number Plate with nut & bolt defrent size with washer. | Fixing and providing MS pole clamp with nut & bolt defrent size. | 7 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Providing and fixing Stone pad & complete work in all respect. | Dismentling of all fitting and conductor on ST pole (Double pole) effected exiting double pole. | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | Providing and fixing of G.I.Barbed wire & complete work in all respect. | Cartage of old materials scrap (Channel/angle, Pin insulator ,Conductor….. etc) from Site to Je/Store center including loading and unloading at both end. | 35 | KG | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Concreting of ST pole with cement,sand & brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | Dismentling of ACSR Old & Use Weseal conductor exiting 11 KV Line. | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | Fixing and providing MS Holding pole clamp with nut & bolt defrent size. | Laying stringing and proper sagging ACSR onductor and proper jumper & complete work in all respect as per norms. | 70 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Fixing and providing and fixing nut & bolt different size. | Making of all cacble connection properly. | 15 | KG | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Laying and stringing and sagging of ACSR Dog conductor | Chemical of Earthing of with suitable size and fixing suitable G I stripe including all material complete work in all respect(all materials providing by contractor) | 120 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Chemical of Earthing of 400 KVA T/F with suitable size and fixing suitable G I stripe including all material complete work in all respect (all materials providing by contractor). | Loading safe Cartage & unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channals cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | 20 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Chemical Earthing for LT Pannel and LT VCB with GI Strip. | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 77 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | Laying of cable Through open cut Mathod Including cost of HDPE Pipe 140 mn OD PN4. | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 3000 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
35 | Providing and fixing Factory fabricated metal clad dust and vermin proof size 1,45x0,9x0.45 mtr.made of 1.6/2 mm. CRCA Sheet pannel TPN Switch capacity with 100 amp MCCB as per requirement. | Cartage of 11 KV Metring cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 54 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
36 | Making of PLINTH OF LT ACB Pannel 800 AMP with Mounting as per requred size. | Citting /Drilling/welding of MS Channal angle,Top & Dropper Channal & complete work in all respect. | 5 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
37 | Making of PLINTH FOR LT Pannel 500/300 AMP MCCB with Mounting as per requred size. | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | 18 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
38 | Making of Plinth For LT Meter Distribution panel 100 AMP MCCB with mounting as per required size. | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on single pole and refilling by earth & complete work in all respect. | 54 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
39 | Providing and Fixing of DANGER BOARD with Clamps FOR ALL PANNEL AND ACB as per required size. | Fixing of all accessories (Channal/angle,clamps , insulator etc) on Double pole & complete work in all respect. | 77 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
40 | Providing and Fixing Feeder pillar Box size 1.20x0.9x0.45 mtr. made of 16 SWG CRCA Sheet Capacity 500 Amp. incoming 03 Nos. outgoing 300 Amp. with MCCB. | Laying of 11 KV XLPE cable on air size 3x185 mm2 with support GI wire 4/8 SWG at single pole after fixing angle/channal pices with the help & complete work in all respect. | 18 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
41 | Providing and Fixing LT ACB 800 AMP with 4 WAY out going. | laying of 11 KV XLPE cable size 3x185 mm2 in loop and riser & complete work in all respect. | 5 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
42 | Providing and Fixing LT AL Lugs 400 sqmm. | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | 40 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
43 | Providing and Fixing LT ALLUMINIUM bus bar suitable For 400 KVA T/F. | Fixing and providing Danger Board with nut & bolt defrent size with washer | 20 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
44 | Providing and Fixing LT AL Lugs 150 sqmm. | Earthing of pole with M S earth road complete work in all respect | 290 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
45 | Providing and Fixing LT AL Lugs 70 sqmm. | Paint of Double pole Stricture after rubbing/cleaing of surface as per required complete work in all respect as per RESPO norms. | 434 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
46 | Providing and Fixing as per Estimate with all respect in spite of above. | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information