## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For the Deposite work of construction of 11 KV under ground Line for addition Load exiting 471 To 1453.47 KW for DRM NORTHERN RAILWAY, GZB in the jurisdiction of EUDD-3 Ghaziabad.
Contract No: 76/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Cartage of 11 KV XLPE Cable size 3x185 mm2 from store center Meerut road GZB to site including safe loading and unloading at both side or with in 50 KM. | (A) ACSR Weasel, Racoon & Dog Conductor | 1934 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | Cartage of 11 KV Metring Cubical from store center Meerut road GZB to work site including safe loading and unloading at both side. | (B) 11 KV/ LT. ABC Cable | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Cartage of 11 KV out door CT/PT unit from store center Meerut road GZB to work site including safe loading and unloading at both side. | (C) Laying of 11 KV XLPE Cable in Trench | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Cartage of 11 KV OUT GOING VCB PANNEL from store center Meerut road GZB to site including safe loading and unloading at both side. | Making of Guarding of 11· KV line as per RESPO norms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Cartage of 11 KV FUSE SET from store center Meerut road GZB to site including loading and unloading at both side. | Fixing of earthing rod as per RESPO manual required for proper completion of work. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Cartage of ST pole 11 meter long from store center Meerut road GZB to site including safe loading and unloading at both side. | Filling of VD, &O/D, cable box of 11 KV 3Xl85mm2XLPE cable and mounting on D/P and tripole with Making of cable connections at both side as per RESPO manual required for proper completion of work | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Cartage of 11 KV CABLE BOX 3X185mm from store center Meerut road GZB to site including loading and unloading at both side. | Making of Pipe Earthing with GL Pipe 1.25 Inch Dia. as per RESPO manual | 24 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Loading safe cartage & unloading of heavy stock line material ACSR Dog Conductor 100 mtr, MS Earth road, MS ANGLE ,CHANNEL and ST Pole 11 meter long, 11kv cable box 3x185mm and other line material from store center Meerut road GZB to site work. | Cutting and chopping of tree branches from the way of the line 11 KV Feeder. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Cutting /Drilling/welding of MS Channel and angle & complete work in all respect. | Dismentling and Removing of 25/63/100 KVA T/F 33/11 KV CT/PT Unit and 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Errection of Double pole Structure with 11 meter long ST pole after digging of pits in proper size 1500x600x500mm and fixing of all material on S/P and refilling by earth & complete work in all respect. | Dismentling and Removing 11 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 4 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Fixing of all accessories (channal, angle, clamps, insulaor... etc) complete work in all respect. | Dismentling and Removing 33 KV Metering Cubical from Existing DP/Meter Room with carriage from Site to JE Store Complete work | 4 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Laying of 11 KV XLPE cable size 3x185 mm2 (double circuit) 2x967) WITH TRENCHLESS BORING method with road restoration charges required to be deposit in Nagar Nigam. | Installation of25 to 100 KV A T/F on DIP complete work. as per RESPO manual | 967 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Filling and fixing of 11 KV out door Jointong kit size 3x185 sq mm2. | Installation of 11 KV CT/PT unit on D/P with fixing of fitting complete work. as per RESPO Manual | 24 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Lying stringing and proper sagging ACSR dog conductor in 11kv line & complete work in all respect as per norms. | Installation of 11.KV Metering cubical in meter room complete work as per RESPO manual | 100 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Earthing of pole with M S earth road complete work in all respect. | Installation of 33.KV Metering cubical in meter room complete work as per RESPO manual | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Concreting of ST pole with cement, sand, & brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | Providing and fixing of holding clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 No. bolts and Nuts size 16x100 mm as RESSPO specification. | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Paint of Double pole Stricture after rubbing/cleaing of surface as per required complete work in all respect as per RESPO norms. | Providing and fixing of I/D and O/D , cable box of 11 KV 3x185 mm 2 XPLE Cable | 4 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Fixing of 11 KV OUT GOING VCB PANNEL complete work in all respect. | Providing and fixing of LT clamp made of MS flat size 50x6 mm suitable for ST/PCC pole with 2 Nos. bolts and nuts size 16x100 mm as RESPO specification. | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Fixing of 11 KV metring Cubical in meter room and making of all connection with the complete work in all respect. | Providing and fixing of stay / sted/brassing clamp made of MS flat size 50x6 mm suitable for ST pole with 3 Nos. bolts and nuts size 16x65 mm as RESSPO specification. | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Fixing of 11 KV CT/PT unit on Double pole and making of all connection with the help of cran/hadra & complete work in all respect. | Providing and fixing of GI pipe B class 6" inch dia. | 2 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Fixing and providing MS Holding pole clamp with nut & bolt defrent size. | Providing and fixing of MS bolt and nuts of size (16x150mm, 4"x1/2" inch, 1.5" x 1/2" inch, 1" x 1/2" inch each) and off size half threaded of good quality. | 40 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Providing and Fixing of Alluminium Luge 3x70 mm. | (A) ACSR Weasel, Racoon & Dog Conductor | 60 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
23 | Fixing and providing nut & bolt defrent size. | (B) 11 KV/ LT. ABC Cable | 25 | KG | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Dismentling of old and use 11 KV Metring cubical exting meter room after removing all connection properly as per & complete work in all respect and cartage for site to store as per norms. | (C) Laying of 11 KV XLPE Cable in Trench | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Dismentling of old and use 11 KV out Door CT/PT unit exting Double pole after removing all connection properly as per & complete work in all and carriage for site to store as per norms. | Making of Guarding of 11· KV line as per RESPO norms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information