## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work: For The work of Electrification of Pradhan Mantri Awash yojna (G+3) AT SECTOR-11 H-BLOCK Pratap Vihar in the jurisdiction of EUDD-V Ghaziabad.
Contract No: 75/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE (Without GST) In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of PCC Pole/ ST Pole 8.5/11 Mtr pole from store center Meerut road GZB to site including loading and unloading at both side. | Loading safe Cartage & Unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channels cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | 158 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 11/0.4 KV 400 Kva Transformer from store center Meerut road GZB to site including loading and unloading at both side. | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Carriage of 11 kv VCB O/G CTR 200/100/5A from store center Meerut road GZB to site including loading and unloading at both side. | Cartage of 11 KV XLPE Cable 3x120 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | Loading safe Cartage & unloading of hevay stock line material, pin insulator, disc insultor, angle, channel, Tpmo, Jointing Kit, barbed wire, stay set, 11 KV XLPE Cable 185 SQMM- 4040 Mtr, weasel, LT abc- 9 km. and other line material from store center Meerut road GZB/SHB to different site. | Cartage of 11 KV CT/PT Uint from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | Cutting /Drilling/welding of MS Top Channel, Dropper & Support Channel With complete work in all respect. | Cartage of 11 KV Metering cubical from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Errection of D/P For 11/0.4 kv 400 kva TF with ST pole after digging of pits in proper size and fixing of all material on D/P and refilling by earth & complete work in all respect. | Citting /Drilling/welding of MS Channel(338KG) angle(210 KG),Top & Dropper Channel & complete work in all respect. | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | Fixing of all assosrieses ( Channel/ angle, clamps, insulator etc ) on 11 KV Double pole & complete work in all respect. | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on D/P and refilling by earth & complete work in all respect. | 6 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Errection of Riser for 11 kv XLPE sqmm with ST pole after digging of pits in proper size and fixing of all material on D/P and refilling by earth & complete work in all respect. | Errection of singal pole with 11 meter long ST pole after digging of pits in proper size 1500x600x500 mm and fixing of all material on single pole and refilling by earth & complete work in all respect. | 8 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Errection of 8.5 meter long PCC Pole 8.5 Mtr Long after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | Fixing of all accessosries (Channel/angle, clamps, insulator etc) on Double pole & complete work in all respect. | 130 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10 | Fixing of all assosrieses (channeal/angle, clamps, insulator etc) on PCC Pole 8.5 Mtr Long & complete work in all respect. | Laying of 11 KV XLPE cable open cut mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | 130 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Mounting & Installation Of 11 kv VCB O/G CTR 200/100/5A complete work in all respect. | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Providing and Errection of HDPE Pipe Double pole cable size 4.5'' Dia | Laying of 11 KV XLPE cable Trench less mathod size 3x120 mm2 including 140 mm HDPE Pipe & complete work in all respect. | 210 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Laying of 11 KV XLPE cable size 3x185 mm2 with tranch less mathod With HDPE Pipe & complete work in all respect. | Laying of 11 KV XLPE cable size 3x120 mm2 in loop and riser & complete work in all respect. | 3200 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Laying of 11 KV XLPE cable in loop and riser & complete work in all respect. | Filling of 11 KV Jointong kit size 3x185 mm2 & complete work in all respect. | 840 | MTR | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Errection of LT ABC cable size 120 mm2 on PCC Pole With connection And complete work in all respect. | Filling of 11 KV Jointong kit size 3x120 mm2 & complete work in all respect. | 9 | KM | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Filling of 11 KV Cable Box O/D Jointing kit size 3x185 mm2. | Fixing and providing Danger Board with nut & bolt defrent size with washer. | 42 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Fixing and providing Danger Board with Clamp defrent size with washer. | Earthing of pole with MS earth road complete work in all respect. | 14 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Earthing of pole with MS earth road complete work in all respect. | Paint of pole Structure after rubbing/cleaning of surface as per required complete work in all respect as per RESPO norms. | 28 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Providing and fixing Stone Pad complete work in all respect. | Fixing of 11 KV CT/PT Unit on D/P & complete work in all respect as per RESPO norms. | 158 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Providing and Fixing Piercing Connector for 120 sqmm ABC Complete work in all respect. | Fixing of 11 KV Metering cubical in meter room & complete work in all respect as per RESPO norms. | 1040 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Providing and Fixing STP Clamp with nut bolt Complete work in all respect. | Concreting of ST pole with cement, sand,& brick ballast in ratio 1:4:8 including cost of all materials & complete work in all respect as per RESPO norms. | 120 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Providing and Fixing GI barbed wire work in all respect. | Fixing and providing of MS Nut & Bolt different size with washer. | 138 | KG | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Providing and Fixing LT Clamp with nut bolt Complete work in all respect. | Fixing and providing of Barbed wire around the pole. | 390 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Providing and Fixing EYE Hook for fix pole clamps Complete work in all respect. | Fixing and providing of stone pad & complete work in all respect as per RESPO norms. | 390 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Providing and Fixing Dead and clamp Complete work in all respect. | Fixing and providing MS pole clamp with nut & bolt defrent size. | 144 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Providing and Fixing Chemical Earthing For T/F Complete work in all respect. | Dismentling of all fitting and conductor on ST pole (Double pole) effected exiting double pole. | 18 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | Providing and Fixing Concreating of pole Complete work in all respect. | Cartage of old materials scrap (Channel/angle, Pin insulator ,Conductor….. etc) from Site to Je/Store center including loading and unloading at both end. | 158 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Providing and Fixing Plinth of 400 KVA T/F Complete work in all respect. | Dismentling of ACSR Old & Use Weseal conductor exiting 11 KV Line. | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | Providing and Fixing Fancing of T/F with insulated frame Complete work in all respect. | Laying stringing and proper sagging ACSR onductor and proper jumper & complete work in all respect as per norms. | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Providing and Fixing MS nut & bolt diffrent size. | Making of all cacble connection properly. | 20 | KG | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Providing and Installation of ACB with Complete structure with civil work in all respect. | Chemical of Earthing of with suitable size and fixing suitable G I stripe including all material complete work in all respect(all materials providing by contractor) | 6 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Fixing of three Phase Distribution Box with LT cable 1x50 sqmm Complete work with all respect. | Loading safe Cartage & unloading of heavy stock line material GI wire ,pin insulator,disc insulator angle ,channals cable box, earth road,ACSR dog & weasel/dog conductor and other line material from store center Meerut road GZB/SBD to different site , distance with in -50 Kms | 280 | NO | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Making of all connection on 11 KV Line properly. | Cartage of 11 KV XLPE Cable 3x185 mm2 from store center Meerut road GZB/SBD to site including loading and unloading at both side distance with in -50 Kms | 1 | JOB | 1 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 0 | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information