**PRE QUALIFYING CONDITONS FOR TENDERERS**

1. The bidder shall have minimum 05 years of manufacturing experience. Necessary documentary proof towards the same shall be furnished along with the attached bid.
2. Bidder should also have supplying experience minimum 05 years for Polycarbonate Meter Box for Single Phase Meter confirming to IS 13410 directly to Electricity Board . Power utility /Govt of India Undertaking organizaton (Minimum 50000 nos. Single PO copy /performance Report required to be attached). Documentary proof such as PO copies as well as Performance certificates received from same utility should be attached in the bid offer. In absence of same Part II (Price Bid) shall not be opened.
3. The Manufacture Should give undertaking on Rs. 100 Non Judicial Stamp paper that they have not Blacklisted / Debarred by any Government Undertaking / Government Departments / State Electricity Boards / Power Utilities Company in last 07 financial year. If blacklisted / debarred by any department and revocal for same has been received than proof of supplies against the same tender to be provided along with the technical bid otherwise their offer may not be considered. If any fake document provided in tender for qualification, legal action will be initiated against the manufacturer.
4. **Turnover Requirement:** The bidder should have a minimum average annual turnover of Rs. 1.50 crore for best three years out of last five financial years. The audited balance sheet/CA’s certificate with UDIN number shall be enclosed in support of above, failing which the bid shall not be considered.
5. **Operational experience:** Offered or equivalent equipment should have given three years proven trouble free operational service in tropical climate prevailing in India**.**
6. The copy of Purchase Orders / Performance Certificates are to be enclosed with offer in support of manufacturing & supply experience otherwise offer may not be considered.
7. **Testing Facilities:** The tenderer must have all necessary facilities at their works for carrying out such routine and acceptance tests as prescribed in the relevant ISS and any other routine and acceptance test as specified in the specification. Documentary evidence of existence of such facilities will be filed along with the tender.
8. **Type Test:**
9. **For indigenous bids or fully imported bids:**

The offered equipment i.e. Polycarbonate Meter Box for Single Phase Meter must have been fully type tested as per relevant ISS and/or any other specified international standards during the last 5-year period to be reckoned from the date of opening of tender. Photocopy of such type test reports/certificates must be submitted along with tender bid. The type test certificates of proto type manufactured and tested by foreign collaborators of the tenderer at their works shall not be acceptable for indigenously manufactured equipment.

**(B) For indigenous bids under valid foreign collaboration**.

(i) The offered indigenously manufactured or collaborators manufactured equipment should have been type tested and report submitted with the tender.

(ii) The collaborator's equipment shall have three years’ operating experience under tropical climate.

**IMPORTANT**: The tenderers shall submit along with a copy of test certificates of all tests viz. Type Tests routine tests and acceptance tests performed for the sample within 07 days after opening of Part- I of the tender. Tender Bid-Part-II (Price Bid) of only those tenderers shall be opened whose samples will be found in accordance with the technical specifications.

***All statements and claims regarding turnover, operational and manufacturing experience and production capacity should be duly supported by authenticated copies of documents without which the tender is liable to be rejected summarily. PVVNL may call the tenderer to produce original purchase order/despatch instruction or any other document for verification of submitted documents during the evaluation of their bid. The bidder is also required to submit an affidavit on stamp paper regarding the firm not being blacklisted by any government utility any where in India. If any information provided by the bidder is found to be concealed, supressed or incorrect at the later date, may lead to not only the cancellation of purchase order, if placed by on the tenderer, along with imposement of financial penalty and business debarment.***

***Note: PVVNL reserves the right to waive minor deviation if they do not materially affect the capability of the applicant to perform the contract.***