## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Electricity Superintending Engineer Electricity Circle III Bulandshahr.
Name of Work: lkekU; bZ fufonk }kjk fo¦qr forj.k [k.M&fMckbZ ds v/khu fctusl Iyku o’kZ 2023&24 ds vUrxZr lseh VuZdh vk/kkj ij forj.k ifjorZdksa dh {kerko`f)] ykbZuksa ds lqn`<+hdj.k o vU; dk;ZA
TENDER NO. - 53/BSR-III/B/2023-2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
0 | lkekU; bZ fufonk }kjk fo¦qr forj.k [k.M&fMckbZ ds v/khu fctusl Iyku o’kZ 2023&24 ds vUrxZr lseh VuZdh vk/kkj ij forj.k ifjorZdksa dh {kerko`f)] ykbZuksa ds lqn`<+hdj.k o vU; dk;ZA
1 | Carriage of fallowings from ESC BSR to pit site on kachcha pacaa road including loading and unloading chagres at both ends, required ccompletion of work, distance about to 0 to 70 Km. approx.
1.01 | STP POLE 11 MT. LONG |  | 16 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.02 | PCC POLE 8.5 MTR LONG |  | 1166 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | 11 KV PIN INSULATOR |  | 2049 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | 11 KV DISK INSULATOR POLYMERIC |  | 96 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 63 KVA Transformer |  | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 100 KVA Transformer |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | ABC CABLE (3X50+1X35+1X16) Sq |  | 200 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | ABC CABLE (3X95+1X70+1X16) Sq |  | 3910 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | ABC CABLE (3X120+1X70+1X16) Sq |  | 5030 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.1 | ACSR RABBIT/RACOON CONSUCTOR |  | 9900 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.11 | ACSR DOG CONSUCTOR |  | 1000 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.12 | XLPE CABLE (3X300) |  | 80 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.13 | XLPE CABLE (3X185) |  | 60 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | The following meterial Erection & Fixing as per RESPO manual and as per direction fo Supervising Engineer. It includes the cost of labour, T&P, Carrier etc. required for proper completion of work.
2.01 | STP POLE 11 MT. LONG |  | 16 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.02 | PCC POLE 8.5 MTR LONG WITH ALL ACCESSORIES |  | 1128 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.03 | ERACTION OF NEW DP WITH ALL ACCESSORIES |  | 19 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.04 | 63 KVA Transformer MOUNTING |  | 16 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.05 | 100 KVA Transformer MOUNTING |  | 3 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.06 | ABC CABLE (3X50+1X35+1X16) Sq |  | 200 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.07 | ABC CABLE (3X95+1X70+1X16) Sq |  | 3910 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.08 | ABC CABLE (3X120+1X70+1X16) Sq |  | 5030 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.09 | ACSR RABBIT CONSUCTOR |  | 9900 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.1 | ACSR DOG CONSUCTOR |  | 1000 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.11 | XLPE CABLE (3X300) |  | 80 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.12 | XLPE CABLE (3X185) |  | 60 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.13 | ERACTION OF STAY SET WITH ALL ACCESSORIES |  | 96 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.14 | CONCRETIONG OF POLE |  | 1182 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.15 | CONCRETIONG OF STAY |  | 115 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.16 | EARTHING ROD |  | 388 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.17 | 11 KV OUT GOING VCB CTR 600/300/5A,350MVA |  | 2 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2.18 | 11 KV INCOMING VCB CTR 600/300/5A,350MVA |  | 2 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Providing meterial at site by the contractor including carrage charges & nuts bolts required for Accessories in installation.
3.01 | GALVANIZED 11 KV STAY SET COMPLETE |  | 115 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.02 | GALVANIZED CLAMP WITH NUT BOLT |  | 20 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.03 | GALVANIZED 11 KV X ARM 'V' TYPE |  | 923 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.04 | GALVANIZED TEE OFF CHANNEL 100X50X1300 MM |  | 19 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.05 | GALVANIZED DROPPER CHANNEL 100X50X2028 MM |  | 38 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.06 | MS TOP CHANNAL 125X65X2240 MM. |  | 19 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.07 | LT CLAMP With Nuts & Bolts |  | 1402 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.08 | MS ANGLE 75X75X6 MM |  | 38 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.09 | MS EARTHING ROD |  | 388 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.1 | LT PVC CABLE (3.5X150/70) MM |  | 570 | MTR |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.11 | GALVANIZED 'X' ARM CLAMP WITH NUT BOLT |  | 999 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.12 | F CLAMP AS PER RESPO WITH NUT BOLT |  | 683 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.13 | DEAD END CLAMP FOR ABC CABLE |  | 30 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.14 | SUSPENTION CLAMP |  | 30 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.15 | J HOOK FOR ABC CABLE |  | 30 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.16 | LT SHACKLE INSULATOR |  | 1383 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.17 | 11 KV JOINTING KIT 3X185 |  | 3 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.18 | 33 KV JOINTING KIT 3X300 |  | 3 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.19 | BATTERY CHARGER |  | 15 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.2 | BATTERY SET 24 VOLTS |  | 15 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.21 | Fabricated Extension Piece 1.5 meter Long for Pole Height Extension for Crossing (Angle Size 65x65x1500 mm). |  | 5 | NOS |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3.22 | Extra Milage charges and carriage from PCC/ST Pole/TF & other material from each 10 Km. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Above work shall be done as per UPPCL/RESPO Rules.
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information