## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority:- Executive Engineer,ECDD, Ghaziabad, PVVNL.
Name of Work:- Supply and Installation of Furniture for SCADA Control room at 33/11 KV S/S Company Baag Distt. Moradabad under Moradabad Smart City Project Distt. Moradabad
Contract No:- T.S. No. 100 /ECDD/GZB/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Supply and Fxing Combind 5 User Console Desk Size 5500mmx800mmx750mm Operator Control Desk Will Have Following Features: 1- Profile Structure of Operator Desk Will Be Of 3mm Thick Extruded Aluminium with Supporting CRCA Top & Bottom Frame. Colour: As Per Approval. 2- Tabletop Is Made Of 25mm MDF Board. Colour: As Per Approval 3- Separate HORZ. Cable Routing Wire Baskets for Power & Data Cables Will Be Provided 4- Power Distribution Sockets (Each User Stations Will Be Provided With 2 No's Separate PDB Units (1 For Main & 1 For Ups Line) Each PDB Unit Will Have 6 Points Of 5/15a Sockets With MCB. 5- 25mm MDF Board Side Panels (Fixed Side Panels). Colour: As Per Approval. 6- 18mm MDF Front & Back Modesty Panel/Shutter (Openable with Hinge and Locks). 7- CPU Sliding Tray and Back Modesty Will Be Made of Powder Coated CRCA Sheet. Colour: As Per Approval.8- 2 Nos of Exhaust Fan Will Be Provided for Adequate Heat Management for Each Section.9- Ventilation Louvers Will Be Provided on Both Front & Rear Modesty with Air Filters.10- Retractable Key Board Tray Will Be Provided in Each Section. 11- CPU Will Be Mounted on CPU Sliding Tray.12- Hinges For the Doors Shall Be Provided. 13- Earthing Busbar Will Be Provided. 14- CFL/LED Lamp Will Be Provided for Internal Illumination. 15- Per Console 2 Nos. 10 AMP DP MCB (total 10 nos.) Siemens/Havells make complete with wiring and fitting will be Provided. 16- Per console 2 nos. 6 way PDU 5/15 Power Socket (Total 10 nos.) complete with wiring and fitting will be Provided. 17- Per Console 2 nos FAN (total 10 nos.) Rexnord make Complete with wiring and fitting will be Provided. 18- Per Console 2 nos Toggle swich for FAN (total 10 nos.) Complete with wiring and fittings will be Provided. 19- Per Console 2 nos, Data socket (RJ45) (total 10 nos.) D-Link/Legrand make complete with wiring and fitting will Be Provided, 20- Per console 02 nos Telephone Socket (RJ11) (total 10nos.) D-Link/Legrand make complete with wiring and fitting will Be Provided, 21- Per console 1 nos Keyboard Tray (total 5 nos) EBCO/innofit/Harmoni make complete with all manner will be Provided. 22- Per consol 2 nos monitor Arm (total10 nos) Innofit/Harmoni make complete with all manner will be Provided. 23- looping will be provided for both type of power Supply . All specification include the cost of all material , labour , T&P and other nessesary things required for proper completion of work. Colour of Lamination of Table top , side , front ,back shutter and profile & frame is as per approved by E/I NSI (Other important specification in Annexure (1) attached as PDF) |  | 1 | Nos | 649136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply and Fxing Combind 4 User Console Desk Size 4000mmx800mmx750mm, Operator Control Desk will Following Features: 1- Profile Structure of Operator Desk Will Be Of 3mm Thick Extruded Aluminium with Supporting CRCA Top & Bottom Frame. Colour: As Per Approval. 2- Tabletop Is Made Of 25mm MDF Board. Colour: As Per Approval 3- Separate HORZ. Cable Routing Wire Baskets for Power & Data Cables Will Be Provided. 4- Power Distribution Sockets (Each User Stations Will Be Provided With 2 No's Separate PDB Units (1 For Main & 1 For Ups Line) Each PDB Unit Will Have 6 Points Of 5/15a Sockets With MCB. 5- 25mm MDF Board Side Panels (Fixed Side Panels). Colour: As Per Approval. 6- 18mm MDF Front & Back Modesty Panel/Shutter (Openable with Hinge and Locks). 7- CPU Sliding Tray and Back Modesty Will Be Made of Powder Coated CRCA Sheet. Colour: As Per Approval.8- 2 Nos of Exhaust Fan Will Be Provided for Adequate Heat Management for Each Section.9- Ventilation Louvers Will Be Provided on Both Front & Rear Modesty with Air Filters.10- Retractable Key Board Tray Will Be Provided in Each Section. 11- CPU Will Be Mounted on CPU Sliding Tray.12- Hinges For the Doors Shall Be Provided. 13- Earthing Busbar Will Be Provided. 14- CFL/LED Lamp Will Be Provided for Internal Illumination.15- Per Console 2 nos 10AMP DP MCB (Total 8 nos.) siemens/Havells make complets with wiring and fittings will be Provided. 16- Per console 2 nos. 6 way PDU 5/15 Power Socket (Total 8 nos.) complete with wiring and fitting will be Provided. 17- Per Console 2 nos FAN (total 8 nos.) Rexnord make Complete with wiring and fitting will be Provided. 18- Per Console 2 nos Toggle swich for FAN (total 8 nos.) Complete with wiring and fittings will be Provided. 19- Per Console 2 nos, Data socket (RJ45) (total 8 nos.) D-Link/Legrand make complete with wiring and fitting will Be Provided, 20- Per console 02 nos Telephone Socket (RJ11) (total 8 nos.) D-Link/Legrand make complete with wiring and fitting will Be Provided, 21- Per console 1 nos Keyboard Tray (total 4 nos) EBCO/innofit/Harmoni make complete with all manner will be Provided. 22- Per consol 2 nos monitor Arm (total 8 nos) Innofit/Harmoni make complete with all manner will be Provided. 23- looping will be provided for both type of power Supply . All specification include the cost of all material , labour , T&P and other nessesary things required for proper completion of work. Colour of Lamination of Table top , side , front ,back shutter and profile & frame is as per approved by E/INSI(Other important specification in Annexure (1) attached as PDF) |  | 1 | Nos | 536688.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supply and Fxing Combind 3 User Console Desk Size 2800mmx800mmx750mm Operator Control Desk will Have Following Features: 1- Profile Structure of Operator Desk Will Be Of 3mm Thick Extruded Aluminium with Supporting CRCA Top & Bottom Frame. Colour: As Per Approval. 2- Tabletop Is Made Of 25mm MDF Board. Colour: As Per Approval 3- Separate HORZ. Cable Routing Wire Baskets for Power & Data Cables Will Be Provided 4- Power Distribution Sockets (Each User Stations Will Be Provided With 2 No's Separate PDB Units (1 For Main & 1 For Ups Line) Each PDB Unit Will Have 6 Points Of 5/15a Sockets With MCB. 5- 25mm MDF Board Side Panels (Fixed Side Panels). Colour: As Per Approval. 6- 18mm MDF Front & Back Modesty Panel/Shutter (Openable with Hinge and Locks). 7- CPU Sliding Tray and Back Modesty Will Be Made of Powder Coated CRCA Sheet. Colour: As Per Approval.8- 2 Nos of Exhaust Fan Will Be Provided for Adequate Heat Management for Each Section.9- Ventilation Louvers Will Be Provided on Both Front & Rear Modesty with Air Filters.10- Retractable Key Board Tray Will Be Provided in Each Section. 11- CPU Will Be Mounted on CPU Sliding Tray.12- Hinges For the Doors Shall Be Provided. 13- Earthing Busbar Will Be Provided. 14- CFL/LED Lamp Will Be Provided for Internal Illumination. 15- Per Console 2 Nos. 10 AMP DP MCB (total 6 nos.) Siemens/Havells make complete with wiring and fitting will be Provided. 16- Per console 2 nos. 6 way PDU 5/15 Power Socket (Total 6 nos.) complete with wiring and fitting will be Provided. 17- Per Console 2 nos FAN (total 6 nos.) Rexnord make Complete with wiring and fitting will be Provided. 18- Per Console 2 nos Toggle swich for FAN (total 6 nos.) Complete with wiring and fittings will be Provided. 19- Per Console 2 nos, Data socket (RJ45) (total 6 nos.) D-Link/Legrand make complete with wiring and fitting will Be Provided, 20- Per console 02 nos Telephone Socket (RJ11) (total 6 nos.) D-Link/Legrand make complete with wiring and fitting will Be Provided, 21- Per console 1 nos Keyboard Tray (total 3 nos) EBCO/innofit/Harmoni make complete with all manner will be Provided. 22- Per consol 2 nos monitor Arm (total 6 nos) Innofit/Harmoni make complete with all manner will be Provided. 23- looping will be provided for both type of power Supply . All specification include the cost of all material , labour , T&P and other nessesary things required for proper completion of work. Colour of Lamination of Table top , side , front ,back shutter and profile & frame is as per approved by E/INSI (Other important specification in Annexure (1) attached as PDF) |  | 1 | Nos | 387780.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply and inInstallation High quality Operator Chair with cushioned seat and Mesh fabric with Mediun Back , PP arm , Nylon base , gas lift and adjustable Armset and Adjustable Lumber support . All specification include the cost of all material , labour , T&P and other nessesary things required for proper completion of work.NSI |  | 12 | Nos | 21025 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | #VALUE! | #VALUE! | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information