## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer EDC Amroha.
'Name of Work:fo¦qr forj.k [k.M&f}rh; vejksgk esa fctusl Iyku 2024&25 ;kstuk ds vUrxZr 11 @0-4 dsoh midsUnz dk fuekZ.k ,ao ,p0Vh0@,y0Vh0 ykbZu dk fuekZ.k ,ao ckbZQjds”ku dk;Z
Contract No: E-Tender Specification No.T-96/2023-24/EDCA Due On:03.05.2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price Including Freight & Insurance Charges, Erection charges excluding GST. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done as per RESSPO/ REC norms. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09.All Permission and documentation regarding road/ railway crossing and Electrical safety & others are in scope of Bidder and no extra amount will be paid to him for that. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 11. TF Fancing should be proper painted with primer and synthetic enamle paint in colour as per norms. 12.Received back materials cost includes the cost of dismentling as well as cost of carriage from site to departmental store.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supply of following material including freight and insurance charges. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | LT Shackle insulator |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Top Channel |  | 18 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Dropper Channel |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.4 | MS Angle for T/F Base Angle |  | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.5 | MS Channel |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.6 | Holding clamp with Nut & bolt |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.7 | Nut & Bolt |  | 18 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.8 | Clamp with Nut Bolt |  | 114 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.9 | Stay set Complete |  | 31 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Earthing Complete |  | 33 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.1 | T-Off Channel |  | 13 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.2 | Pircing of Connector |  | 9 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.3 | J hook with clamp |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.4 | I hook with clamp |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | The following material Erection/ Fixing & laying as per RESPO manual and as per direction to Supervising Engineer (complete in all respect). Its includes the cost of labour,T&P & safe cartage etc.required all acessaries for proper completion of work.
3.1 | 25 KVA TF |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.2 | 63 KVA TF |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.3 | 100 KVA TF |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.4 | P.C.C. Pole 8.5 mtr |  | 46 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.5 | STP SP-55 11 mtr. Long |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.6 | ACSR Weasel Conductor |  | 2422 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.7 | LT ABC Cable 3x50+1x35+1x16 |  | 220 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.8 | LT ABC Cable 3x95+1x70+1x16 |  | 1350 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.9 | LT ABC Cable 3x120+1x70+1x16 |  | 100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | 11 KV XLPE Cable 3*120 |  | 370 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.1 | 11 KV XLPE Cable 3*185 |  | 525 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.2 | 12 KV XLPE Cable 3*300 |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.3 | 11 KV Jointing kit 3x120 Indoor |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.4 | 11 KV Jointing kit 3x120 Outdoor |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.5 | 11 KV Jointing kit 3x185 Indoor |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.6 | 11 KV Jointing kit 3x185 Outdoor |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.7 | 12 KV Jointing kit 3x300 Indoor |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.8 | 11 KV Disc Insulator |  | 96 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.9 | 11 KV Disc fitting |  | 76 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | 11 KV Pin insulator |  | 87 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.1 | 11 KV cross Arm V Type |  | 13 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.2 | LT Shackle insulator |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.3 | Top Channel |  | 18 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.4 | Dropper Channel |  | 17 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.5 | MS Angle for T/F Base Angle |  | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.6 | MS Channel |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.7 | Holding clamp with Nut & bolt |  | 11 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.8 | Nut & Bolt |  | 18 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.9 | Clamp with Nut Bolt |  | 114 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Stay set Complete |  | 31 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.1 | Earthing Complete |  | 33 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.2 | Concreting of pole |  | 21 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.3 | Concreting of Stay |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.4 | T-Off Channel |  | 13 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.5 | Pircing of Connector |  | 9 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.6 | J hook with clamp |  | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.7 | I hook with clamp |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.8 | Old and used scrab Recived Back to concern store. |  | 200 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Superintending Engineer
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information