## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer EDC Amroha.
'Name of Work:fo¦qr forj.k [k.M&f}rh; xtjkSyk esa fctusl Iyku 2024&25 ;kstuk ds vUrxZr 11 @0-4 dsoh midsUnz dk fuekZ.k ,ao ,p0Vh0@,y0Vh0 ykbZu dk fuekZ.k ,ao ckbZQjds”ku dk;Z
Contract No: E-Tender Specification No.T-98/2023-24/EDCA Due On:01.05.2024
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only. 3. Bidders shall fill Ex-work Price Including Freight & Insurance Charges, Erection charges excluding GST. 4. If any taxes are exempted/waived by Union/State Government during the currency of contract, it shall be the responsiblity of the contractor to avail such exemptions. Payment against such exempted taxes shall not be released. 5. The entire work is to be done as per RESSPO/ REC norms. 6. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS. 7. Indicative scope of works and quantity of Items/Materials required for above work shall be as per the Price Bid. Any other material if required to complete the job and not mentioned above, shall have to be provided by the bidder without additional cost. 8. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 09.All Permission and documentation regarding road/ railway crossing and Electrical safety & others are in scope of Bidder and no extra amount will be paid to him for that. 10. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 11. TF Fancing should be proper painted with primer and synthetic enamle paint in colour as per norms. 12.Received back materials cost includes the cost of dismentling as well as cost of carriage from site to departmental store.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE with In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Supply of following material including freight and insurance charges. | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.1 | MS Angle 75x75x6x2028 mm with clamp & nut bolts for TF Base |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | LT PVC CABLE AL 3.5xx400 sqmm |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Guarding channel |  | 26 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.4 | Guarding channel clamp |  | 26 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.5 | MS Channel Dropper Channel |  | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.6 | MS Top Channel 125x65x2240 mm |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.7 | T-Off Channel |  | 58 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.8 | Stone pad 300x300x75 |  | 43 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.9 | Cross Arm Holding Clamp with Nut&bolt |  | 330 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | BARBED WIRE |  | 75 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.1 | Clamp for LT T-Off with nut and bolts |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.2 | Danger board with clamp |  | 176 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.3 | Clamp with nut and bolts |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.4 | F-Clamp |  | 122 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.5 | F-Bracket with nut & bolts |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2.6 | Nut & Bolt |  | 40 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | The following material Erection/ Fixing & laying as per RESPO manual and as per direction to Supervising Engineer (complete in all respect). Its includes the cost of labour,T&P & safe cartage etc.required all acessaries for proper completion of work.
3.1 | P.C.C. Pole 8.5 mtr |  | 200 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.2 | STP Pole 11 mtr Long |  | 27 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.3 | ACSR Dog Conductor |  | 45 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.4 | ACSR Rabbit Conductor |  | 23947 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.5 | ACSR Weasel Conductor |  | 7753 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.6 | 11 KV Disc Insulator with fitting |  | 162 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.7 | 11 KV Pin insulator with fitting |  | 906 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.8 | 100 KVA |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3.9 | 63 KVA TF |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | 250 KVA TF |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.1 | G.I. Wire 6 SWG |  | 100 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.2 | G.I. Wire 8 SWG |  | 100 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.3 | LT ABC Cable 3x50+1x25+1x16 |  | 190 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.4 | Stay set complete rod |  | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.5 | Earthing of pole by MS Earthing rod of 20x2500 mm and 6 swg earthing wire etc. |  | 225 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.6 | 11 KV TPMO |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.7 | 11 KV Fuse set |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.8 | V type 11 kv Cross Arm 65x65x6 |  | 261 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4.9 | MS Angle 75x75x6x2028 mm with clamp & nut bolts for TF Base |  | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | LT PVC CABLE AL 3.5xx400 sqmm |  | 40 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.1 | Guarding channel |  | 26 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.2 | Guarding channel clamp |  | 26 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.3 | MS Channel Dropper Channel |  | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.4 | MS Top Channel 125x65x2240 mm |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.5 | T-Off Channel |  | 58 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.6 | Stone pad 300x300x75 |  | 43 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.7 | Cross Arm Holding Clamp with Nut&bolt |  | 330 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.8 | Concreting of pole |  | 173 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5.9 | BARBED WIRE |  | 75 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | Clamp for LT T-Off with nut and bolts |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.1 | Plinth 2x2x1.5 M(LS) with fencing |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.2 | Danger board with clamp |  | 176 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.3 | Pipe Earthing of 250 KVA Transformers with all required material complete in all respect. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.4 | 11/.40 KVA TF Plinth suitable upto 250 KVA as per RESSPO Drawing with proper fancing 3500x3500x2200mm in frame (including plinth and fancing material). |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.5 | Clamp with nut and bolts |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.6 | F-Clamp |  | 122 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.7 | F-Bracket with nut & bolts |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6.8 | Nut & Bolt |  | 40 | K.g. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Superintending Engineer
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information