## BoQ1 (hidden)
Item Wise BoQ | [13 empty] | 15
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Tender Inviting Authority: Superintending Engineer Electricity Urban Distribution Circle-Moradabad.
Name of Work: Capacity enhancement of 11/0.4 KV Sub-station, New 11/0.4 KV S/s and renovation/Augmentation of LT/HT Line under the Electricity urban Distn. Division-I/II/III, Moradabad on Semi-turnkey basis under Nagar Nigam Plan.
Tender No: 27/EUDC(M)2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE 1. This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns after validating the sheet, else the bidder is liable to be rejected for this tender. 2. Bidders are allowed to enter the Bidder Name and Values only and then save file to check the total amount. 3. Bidders shall fill Ex-work Price, Freight & Insurance Charges, Erection charges excluding GST in Rupees for each of the item seperately in respective column. 4. The entire work is to be done on 'Semi Turnkey' basis. Therefore the bidder should include the cost of all the complement items necessary to complete the work for successful commissioning of the equipment. 5. All the material and erection practices shall be as per tender specification and wherever not specified, shall be as per RESSPO and if not mentioned in RESSPO shall be as per IS/Pvvnl Norms. 6. Below Schedule Structure and quantities is provisional and may vary as per site requirement with due approval of CEO of the work. 7. All the hardware items such as Nut-Bolts, Washer, Steel structures and clamps etc. shall be hot-dip galvanised. 8. Permission and documentation regarding Electrical safety & others are in scope of Bidder. 9. Quoted rate must be identical for similar item in each schedule. If any variation then lowest rate of that item must be considered for evaluation and award of BOQ. 10. Safe carriage of departmental material from store center to site with loading and unloading both and respectivily distance within 30 Km. 11. All type and size of Conductor, Cable (XLPE,AB,Control), VCB, Distributin T/F , Pole (PCC/STP), Control Pannel and Insulators with fitting shall be provided by Department and rest shall be supplied by Contractor.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units |  |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Unit Ex-Works Supply Prices (in. Rs./Unit) (Excluding Taxes) | Unit Freight & Insurance Charges (in Rs./Unit) (Excluding Taxes) |  | Unit Erection Charges (in Rs./Unit) (Excluding Taxes) |  |  |  |  | Total Unit Rate (Ex works(Supply+ F&I) & Erection | GST on Total Unit Rate @18% (Rs/Unit) | Unit Rate With Taxes/GST for supply,F&I and installation (in Rs.) | [29 empty] | TOTAL AMOUNT excluding taxes in Rs. P | Total Cost including Tax (Rs.) | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 10 | 11 | 12 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 13 | 14 | 15
1 | HOLDING CLAMP WITH NUT & BOLT FOR X-ARM & ANGLE, CHANNEL | item1 | 2019 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
2 | I- HOOK WITH HOLDING CLAMP & NUT | item2 | 1517 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
3 | HOLDING CLAMP WITH NUT & BOLT FOR POLE | item3 | 828 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
4 | Piercing Clamp (95/120) | item4 | 93 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
5 | Construction of PLINTH. Brick Ballast ratio (1:4:8) (cement, sand & brick ballast ) for foundation work of 250 kva and 400 kva T/F (size 2 × 2 x 1.5) m complete work. | item5 | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
6 | Providing the Fencing. (Size 2 x 2 x 1) m | item6 | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
7 | G I PIPE 6" DIA | item7 | 832 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
8 | AL Lug 185/240 sqmm | item8 | 56 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
9 | AL Lug 400 sqmm | item9 | 356 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
10 | Danger Board | item10 | 52 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
11 | Aluminium Paint | item11 | 359 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
12 | Red oxide Paint | item12 | 359 | Ltr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
13 | CHEMICAL EARTHING FOR VCB | item13 | 39 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
14 | CHEMICAL EARTHING FOR DIST. T/F | item14 | 525 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
15 | EARTHING WATER LEVEL | item15 | 107 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
16 | Suspension Clamp with I-Hook, nut & bolts complete fixing work. | item16 | 454 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
17 | PG CLAMP | item17 | 18 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
18 | F BRACKET | item18 | 62 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
19 | Dead End Clamp with all attachment and fixing | item19 | 97 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
20 | Concreting of Pole/Support (Quote only in Erection part) | item20 | 1118 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
21 | LT Insulation Piercing Connectors of 120-50 sq. mm -50-35 sq. mm size for energizing distribution kiosk/box | item21 | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
22 | 4 CORE LT MCB WITH BOX | item22 | 18 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
23 | COPPER L-PIECE 50X225X12 | item23 | 80 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
24 | COPPER L-PIECE 62X225X12 | item24 | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
25 | COPPER L-PIECE 65X225X12 | item25 | 44 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
26 | LT INCOMING PANEL WITH METERING EQUIPMENT | item26 | 26 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
27 | LT MCB | item27 | 123 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
28 | Concreting of Stay complete work | item28 | 912 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
29 | Road Restoration charge for Pucca Road Crossing (Quote only in Erection part) | item29 | 5300 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
30 | Road Restoration charge for foot path side (Quote only in Erection part) | item30 | 43 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
31 | Barbed wire | item31 | 62 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
32 | Mobile Distribution Transformer Trolly without T/F | item32 | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
33 | Number Plate | item33 | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
34 | MS Twisted wire Size 20 MM | item34 | 240 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
35 | Laying of LT XLPE Cable AL.3.5X400 sq.mm | item35 | 320 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
36 | Laying of LT XLPE Cable AL.1 X240 sq.mm | item36 | 120 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
37 | Laying of LT XLPE Cable AL.1 X400 sq.mm | item37 | 840 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
38 | Laying of LT XLPE Cable AL.1 X630 sq.mm | item38 | 1220 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
39 | Laying of Cable AL.3 X 70 sq.mm XLPE 11 KV | item39 | 550 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
40 | Laying of Cable AL.3 X 120 sq.mm XLPE 11 KV | item40 | 5030 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
41 | Laying of Cable AL.3 X 185 sq.mm XLPE 11 KV | item41 | 21110 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
42 | Laying of Cable AL.3 X 300 sq.mm XLPE 11 KV | item42 | 240 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
43 | Laying of Cable LT ABC (3X120 + 1X95+1X16) sq.mm | item43 | 20101 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
44 | Laying of Cable LT ABC (3X95 + 1X70+1X16) sq.mm | item44 | 700 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
45 | Laying of Cable LT ABC (3X50 + 1X35+1X16) sq.mm | item45 | 100 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
46 | PCC Pole 8.5 Mtr | item46 | 176 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
47 | STP 9 M -IS 410 SP-33 | item47 | 258 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
48 | STP 11 M -IS 410 SP-55 | item48 | 637 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
49 | STP SP-70, 13 Mtr | item49 | 47 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
50 | Polymeric Disc Insulator 45 KN(T&C Type) | item50 | 186 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
51 | Polymeric Disc Insulator 70 KN(B & S Type) | item51 | 32 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
52 | Disc Fitting 45 KN (T&C TYPE) | item52 | 135 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
53 | Disc Fitting 70 KN (B & S TYPE) | item53 | 15 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
54 | 11 kv Bus Coupler 350 MVA | item54 | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
55 | Polymeric 11 KV Pin Insulator | item55 | 2311 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
56 | 11 KV V Type Steel Cross Arm | item56 | 107 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
57 | ACSR Weasel Conductor | item57 | 1080 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
58 | ACSR Dog Conductor | item58 | 10235 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
59 | Stay Wire (3.15 MM,) 7/10 SWG (GSS Wire) | item59 | 877 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
60 | Stay Wire (3.15 MM,) 7/10 SWG (GSS Wire) | item60 | 877 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
61 | Stay Wire (4.0 MM,) 7/8 SWG (GSS Wire) | item61 | 15 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
62 | G.I. Wire 3.15 MM 10 SWG | item62 | 2250 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
63 | G.I. Wire 4MM 8 SWG | item63 | 9456 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
64 | G.I. Wire 5 MM 6 SWG | item64 | 25939 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
65 | Stay Set G.I 16x1800 mm | item65 | 141 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
66 | Earthing of Pole with M.S Earthing rod (2540x20 mm) and GI Wire | item66 | 795 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
67 | 11KV VCB, I/C CTR 600/300/5A, 350MVA, 24 Volt | item67 | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
68 | 11KV VCB For O/G CTR 200/100/5A, 350MVA | item68 | 21 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
69 | T/F 0.4KV, 100 KVA | item69 | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
70 | T/F 0.4KV, 250 KVA | item70 | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
71 | T/F 0.4KV, 400 KVA | item71 | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
72 | 11 KV Cable Jointing Kit (3×120sq.Mm) - Outdoor | item72 | 42 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
73 | 11 KV Cable Jointing Kit (3×120sq.Mm) - Indoor | item73 | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
74 | 11 KV Cable Jointing Kit (3×70 sq.Mm) :- Outdoor | item74 | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
75 | 11 KV Cable Jointing Kit (3×185sq.Mm) :- Outdoor | item75 | 161 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
76 | 11 KV Cable Jointing Kit (3×185sq.Mm) :- Indoor | item76 | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
77 | 11 KV Cable Jointing Kit (3×185sq.Mm) :-Staight Through | item77 | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
78 | 11 KV Cable Jointing Kit (3×300sq.Mm) :- Indoor | item78 | 4 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
79 | 11 KV Cable Jointing Kit (3×300sq.Mm) :- outdoor | item79 | 6 | set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
80 | 11KV TPMO With Polymer Insulator | item80 | 75 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
81 | 3-phase D.O. Fuse Set | item81 | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
82 | Battery Charger 24 Volt | item82 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
83 | Battery Set 24 Volt | item83 | 2 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
84 | 11 kv Fuse Set | item84 | 81 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
85 | 11 KV CT/PT Unit | item85 | 46 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
86 | M.S Angle (65X65X6) | item86 | 6738 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
87 | M.S Channel (100X50) | item87 | 1424 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
88 | Guarding Angle 1.6 mtr Long 65x65x6 sqmm | item88 | 707 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
89 | MS TOP CHANNEL 125X65X2240 MM | item89 | 31 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
90 | MS DROPPER CHANNEL 125X65X2028 MM | item90 | 8 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
91 | T-off Channel | item91 | 71 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
92 | MS CHANNEL 65 X 65X 6 Sqmm | item92 | 23 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
93 | Stay set complete | item93 | 22 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
94 | LT Distribution box 3 phase | item94 | 285 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
95 | Plinth foundation of 33 KV VCB | item95 | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
96 | MS ANGLE IRON 65X65X6 MM BRACING WITH 4 CLAMP | item96 | 23 | Set |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
97 | LT PVC CABLE SIZE 1X16 SQMM | item97 | 90 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
98 | HDPE Pipe DIA 160 MM | item98 | 3000 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
99 | Cable Route Marker | item99 | 70 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
100 | CONTROL CABLE 4X2.5 mm | item100 | 450 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
101 | CONTROL CABLE 2X2.5 mm | item101 | 250 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
102 | Drilling for Laying of HT Under Ground double CKT cable using HDD Method without using HDD Pipe. | item102 | 10000 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
103 | Mounting of cable on DP Structure (including loop and riser) | item103 | 160 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
104 | Digging of open trench for laying of 11 kv U/G Cable | item104 | 18000 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
105 | Digging of open trench for laying LT U/G Cable | item105 | 50 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
106 | Febrication of Half Four pole structure for 250 KVA T/F | item106 | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
107 | Febrication of Half Four pole structure for 400 KVA T/F | item107 | 20 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
108 | Repairing of Plinth of Different size LT distribution T/F | item108 | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
109 | Back cartage of dismalted cable/ Conductor/250 kva T/F and other related material from work site to store center Moradabad with loading and unlaoding at boths site. | item109 | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [8 empty] | 0 | 0 | 0 | [29 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information