## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY DISTRIBUTION CIRCLE, A-BLOCK, HYDEL COLONY, KAVI NAGAR, GHAZIABAD.
Name of Work: fo¦qr forj.k [k.M] eqjknuxj ds vUrxZr 33@11 dsoh midsUnz jkoyh] U;w eqjknuxj ,oa Mkluk ij LFkkfir iqjkus ikoj ifjorZdksa ij yxs ,p0Vh0 cqflax] ,y0Vh0 cqflax] jsfM;sVj ,oa VkWi IysV vkfn ls gks jgs rsy fjlko dks jksd dj ikoj ifjorZdksa dks {kfrxzLrrk ls cpkus dk dk;ZA
Tender No. 04/2024-25/E.D.C/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 8 | 8
1 | Opening of jumpers and cable lugs connected to the T/F &drain out of transformer oil from the T/F in to the oil Drums after opening the valve of the tank. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Dismantling of old broken/damage radiator with help of crane and re fixing the same after completion of work. |  | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | cartage of damage radiator up to fabricator shop for welding of damage radiator and back upto S/S Switch yard. |  | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Opening of inspection plate & replacing the damage packing sheet. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Re-fixing of inspection plate with tightening of bolt & nut. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Providing PVC insulation on old T/F bus bar by using 11 Kv PVC insulation. |  | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Replacement of LT bushing made of good quality porcelain Complete with etc packing. |  | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Replacement packing sheet of HT side bushing after ipening the bolt & nut of bushing re-fixing the packing sheetts and Re tightening the same. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Replacement packing sheet of LT side bushing after opening the bolt & nut of bushing re-fixing the packing sheets and Retightening with help of nut and bolt. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Providing & Replacement of brass bolted type lug/Connector for power T/F. |  | 3 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Replacement of HT bushing rod made of solid copper/brass with not bolt and washer. |  | 4 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Replacement of LT bushing rod made of solid copper/brass with nut bolt and washer. |  | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Replacement the packing sheet of neutral bushing on the top of T/F after opening the bushing bolts & nut and earthing strip& re-fixing the neutral bushing on the top of T/F and tightening of the bolts & nut and re-fixing the earthing strip. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Replacement of HT bushing made of good quality porcelain complete with etc packing. |  | 2 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Replacement of damage/defective radiator packing and tightening of loose nut & bolt. |  | 16 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Replacement of damage/defective radiator value packing and tightening of loose nut & bolt. |  | 30 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Replacement of old and damage jumper by new. |  | 10 | Nos |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Tightening of all nut & bolt property & refilling the T/F oil in T/F up to the oil mark. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Reconnecting the cable lugs HT& LT side & its tightening reconnecting the jumpers & energisation of T/F. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Cleaning the above T/F after completing all works. |  | 2 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Repairing of defective value relay. |  | 1 | Job |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information