## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M f}rh; ds vUrxZr fo¦qr forj.k mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z{ks= esa iw.kZ tek ;kstuk ds vUrxZr u;s l;akstu voeqDr dk dk;Z xzke lkWoyiqj uoknk uxj fuxe l0iqj] isUV QSDVh ,.M uUnh’kkyk Jh eqds’k dqekj] iz/kku fyfid dks Hkkj 20 fd0ok0 dk u;k la;kstu djus] Jh efr lq”kek nsoh ifRu Jh ekepUn xzke euksgjiqj l0iqj dks Hkkj 2 fd0ok0 dk u;k ?kjsyw la;ksatu voeqDr djus] eS0 jksM Vsd valQkYV VsDuksykWth izk0fy0 [kljk ua0&144]114 ch] xzke tU/ksMk leliqj] fnYyh jksM l0iqj dks Hkkj 42 ds0oh0,0 dk u;k la;kstu voeqDr djus] uxj fuxe l0iqj] ds xzke ckn’kkg es jktdh; ‘kkSpky; gsrq 2 fd0ok0 dk u;k la;kstu voeqDr djus] eS0 rkU;k vkWVkseksckbZy izk0fy0 Mk;jsDVj Jh g”kZ xxZ xzke eohdyk fnYyh jksM l0iqj ds la;kstu dh lIykbZ iSjkekmUV QhMj ls gVkdj vkS¦ksfxd QhMj&izFke ls tksMus gsrq] xzke pquSVh xkMk esa ver ljksoj ds e/; ls xqtj jgh 11 ds0oh0 ykbZu dks LFkkukUrkfjr djus gsrq ,oa Jh vfuy dqekj iq= Lo0 Jh ujs’k dqekj Vijh vMMk¼fudV vkLFk vkbZ0Vh0vkbZ0½ ds ifjlj ds Åij ls xqtj jgh 11 ds0oh0 ykbZu dks f’k¶V djus dk dk;ZA
Contract No:169/W/EDC-II/SRE/2023-24
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely carriage of PCC/ST poles (up to 11 Mtr. long) from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends. |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely carriage of other complete line material with ABC cable (Except PCC/ST Poles) from ESC, SRE/JE store to site of work at various including loading, unloading at both ends. |  | 1 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely carriage of 25 & 63 KVA T/F from ESC, SRE to site of work including loading & unloading at both ends. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.04 | Erection of Single Support on PCC/ST poles (up to 11 Mtr. long) with complete fitting with all accessories of 11KV/LT line complete. |  | 7 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Erection of Double Pole on PCC/ST poles (up to 11 Mtr. long)with complete fitting With all accessories complete. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.06 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.07 | Earthing of poles by earthing rod. |  | 19 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing of nut & bolt |  | 32 | kg |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing of All Type clamp PCC/ST Pole with nuts bolts made of new MS falt iron 50x6 mm. |  | 36 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Weasel Conductor for 11KV Line including complete. . |  | 963 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Laying, lifting, Stringing, sagging & jumpring with binding of ACSR Rabit Conductor for 11KV Line including complete. . |  | 175 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Concreting of PCC/ST Poles up to 11 Mtr. Long with cement concreting in block of 600x600x1500 mm. in ratio 1:4:8 with cement, sand and brick ballast size 1"x1.5" with plinth. |  | 13 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.13 | Safely installation of 25 & 63 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Laying, lifting, Stringing, Proper sagging ABC cable of size 3x50+1x35+1x16 sq mm. including fixing of all accessories. |  | 120 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information