## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: vf/k'kklh vfHk;Urk] fo¦qr forj.k [k.M&f}rh;] eqt¶Qjuxj ds dk;Z {ks= ds vUrxZr xzke&jlwyiqj tkVku esa rkykc ds ikl LFkkfir 250 dsoh, forj.k ifjorZd ds vfrHkkfjr gksus ds dkj.k ifjorZd dh vfrHkkfjrk lekIr djus ds fy;s vfrfjDr 100 dsoh, Mcy iksy dk fuekZ.k djuk] Vkmu&iqjckfy;ku esa ukoyk okys jkLrs ij LFkkfir 400 dsoh, forj.k ifjorZd ds vfrHkkfjr gksus ds dkj.k ifjorZd dh vfrHkkfjrk lekIr djus ds fy;s vfrfjDr 100 dsoh, Mcy iksy dk fuekZ.k djuk] xzke&eUlwjiqj esa cl LVs'ku ds ikl LFkkfir 400 dsoh, forj.k ifjorZd ds vfrHkkfjr gksus ds dkj.k ifjorZd dh vfrHkkfjrk lekIr djus ds fy;s vfrfjDr 100 dsoh, Mcy iksy dk fuekZ.k djuk] xzke&[kkuwiqj esa iSVªksy iEi ds ikl LFkkfir 100 dsoh, forj.k ifjorZd ds vfrHkkfjr gksus ds dkj.k ifjorZd dh vfrHkkfjrk lekIr djus ds fy;s vfrfjDr 100 dsoh, Mcy iksy dk fuekZ.k djuk ,oa xzke&fctksiqjk esa miHkksDrk Jh jktdqekj iq= Jh vQykrqu ds futh uydwi tksMs ij LFkkfir 63 dsoh, forj.k ifjorZd ds vfrHkkfjr gksus ds dkj.k ifjorZd dh vfrHkkfjrk lekIr djus ds fy;s vfrfjDr 25 dsoh, Mcy iksy dk fuekZ.k djus dk dk;Z ckg~; ,tsUlh ds ek/;e ls djk;k tkuk gSA
Contract No: 80/2023-24/EDC-I MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | fo¦qr Hk.Mkj dsUnz ls lkbZV rd lkexzh ig¡qpkus dk dk;Z ftlesa nksuksa vksj dh yksfMax o vuyksfMax 'kkfey gSA¼nwjh 0 ls 50 fd0eh0½ | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 11/0.4 KV 25 KVA TRANSFORMER |  | 1 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 11/0.4 KV 100 KVA TRANSFORMER |  | 4 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | PCC POLE 8.5 Mtr. |  | 25 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | ACSR WEASEL CONDUCTOR |  | 1745 | ehVj | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.05 | PVC CABLE 3.5x70 Sqmm |  | 30 | ehVj | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.06 | LT ABC CABLE 3x95+1x70+1x16 Sqmm |  | 435 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | ykbZu lkexzh ¼fiu bUlqysVj o fMLd bUlqysVj fQfVax lfgr½ |  | 70 | fd-xzk- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Hk.Mkj dsUnz ls izkIr fo¦qr lkexzh dks lkbZV ij LFkkfir djus dk iw.kZ dk;ZA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | jsLiks ekudksa ds vuqlkj x<<k [kksndj ih0lh0lh0@,l0Vh0ih0 iksy [kMk djus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 15 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | jsLiks ekudksa ds vuqlkj x<<k [kksndj ih0lh0lh0@,l0Vh0ih0 Mcy iksy dk fuekZ.k djus dk dk;ZA ftlesa lHkh ,lsljht tSls fiu@fMLd bUlqysVj] ,afxy pSuy vkfn yxkuk 'kkfey gS ,oa fodsUnzh;Ñr lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxhA |  | 5 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | fu;ekuqlkj lkbZV ij LFkkfir fo¦qr iksyksa ij ACSR WEASEL CONDUCTOR fcNkus@LFkkfir djus dk iw.kZ dk;ZA |  | 1745 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | fu;ekuqlkj lkbZV ij LT ABC CABLE 3x95+1x70+1x16 Sqmm fcNkus@LFkkfir djus dk iw.kZ dk;ZA |  | 435 | ehVj | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | fu;ekuqlkj lkbZV ij rS;kj fd;s x;s Mcy iksy ij 25 dsoh, forj.k ifjorZd dks LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 1 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.06 | fu;ekuqlkj lkbZV ij rS;kj fd;s x;s Mcy iksy ij 100 dsoh, forj.k ifjorZd dks LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 4 | ua- | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.07 | fu;ekuqlkj 11 dsoh LVs lSV DEiyhV LFkkfir djus dk iw.kZ dk;ZA |  | 11 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.08 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh daØhfVax djus dk iw.kZ dk;ZA ftlesa flesUV] ckyw o vU; fodsUnzh; lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxkA |  | 14 | izfr iksy | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | fu;ekuqlkj LFkkfir fd;s x;s fo¦qr iksyksa dh vfFkZax jksM LFkkfir djrs gq;s vfFkZax djus dk iw.kZ dk;ZA ftles fodsUnzh; lkexzh dk;Znk;h laLFkk@Bsdsnkj }kjk ns; gksxkA |  | 6 | izfr iksy | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | fu;ekuqlkj lkbZV ij 11 dsoh ¶;wt lSV LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | fu;ekuqlkj lkbZV ij 3 Phase LT DISTRIBUTION BOX LFkkfir dj pkyw djus dk iw.kZ dk;ZA |  | 6 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | dk;Znk;h laLFkk@Bsdsnkj }kjk fuEufyf[kr lkexzzh vko';Drkuqlkj miyC/k djkukA | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 11 KV STAY SET COMPLETE |  | 11 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.02 | EARTHING COMPLETE |  | 6 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.03 | 11 KV FUSE SET COMPLETE |  | 3 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.04 | 3 Phase LT DISTRIBUTION BOX |  | 6 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.05 | AL. CRIMPING LUGS |  | 8 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.06 | DEAD END CLAMP |  | 10 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.07 | SUSPENSION CLAMP |  | 20 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.08 | J HOOK |  | 20 | ua- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.09 | NUT & BOLTS |  | 36 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.1 | MS ANGLE 65x65x6 MM |  | 175 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.11 | MS CHANNEL 100x50x6 mm |  | 405 | fd-xzk- | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3.12 | SUNDRIES ITEM |  | 3 | tkc | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information