## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&f}rh;] lgkjuiqj ds vUrxZr mi[k.M vkbZ0Vh0vkbZ0 ds dk;Z{ks= es iw.kZ tek ;kstuk es Lohd`r izkDdyuks ds vUrxZr ubZ 11 ds0oh0 o ,y0Vh0 ykbZuks dk fuekZ.k djuk ,oa 25@63@100 ds0oh0,0 ds ifjorZdks dk LFkkfir djus ,oa ifjorZdks dh {kerko`f) djus o ykbZuk dks LFkkukUrj.k djus dk jfuax dkUVSªDV dk dk;
Contract No: 15/w/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of ST/ PCC poles up to 13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends.(Dist.Up to 40 Km.) |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material / 11 KV XLPE cable / ABC cable (Except PCC /ST Poles) from ESC, SRE/ JE store to site of work at various sites including loading, unloading at both ends.( Dist.App. 0 to 40 Km.) |  | 2 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safe cartage of 25/63/ 100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Safe cartage of CT/PT Unit from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safe cartage of Metering cubical from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 40 km.) |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Erection of single support on ST/ PCC poles up to 13 Mtr Long with complete fitting of all accessories of 11 KV/LT line. complete. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Erection of double Pole on ST/ PCC poles up to 13 Mtr Long with complete fitting with all accessories complete. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Earthing of poles by earthing rod |  | 14 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing & fixing of LT clamp with nuts bolts made of new MS flat iron 50x6 mm on PCC poles |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing of LT shekel insulator of size 100x115mm |  | 15 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing of nuts & bolts for LT shekel insulator of size 180x19mm half threading. |  | 10 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.13 | Providing of X-arm holding clamps PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing of F-brackets for PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing of Stay Clamp PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing of I-Hook Clamp for PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Providing of double Pole clamp on PCC /ST poles with nuts bolts made of new MS flat iron 50x6 mm |  | 16 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line including complete. |  | 1500 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Rabbit Conductor for 11KV/LT Line including complete. |  | 800 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Safe installation of 25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Safe installation of CT/PT Unit on the double pole with complete fittings including making connections and commissioning. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Safe installation of Metering cubical in the room with complete fittings including making connections and commissioning. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Laying, lifting, Stringing, proper sagging ABC cable of size 3x50+1x35+1x16/ 3x95+1x70+1x16/ 3x120+1x95+1x16 sq.mm. including fixing of all accessories. |  | 200 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Laying, lifting, stringing proper sagging of 11 KV XLPE cable 3X35/3x70/ 3X120/3x185 sq mm of including complete etc |  | 100 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Fixing & making of 11 KV cable terminations kit out door & indoor of size 3X35/3x70/ 3X120/3x185 sq mm. |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Laying and making connections of LT PVC/XLPE cable 4x16/4x25/4x35/3.5x50/3.5x70/ 3.5x150/ sq.mm. from T/F to double pole (approx to 20 Mtr). |  | 4 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Off shooting of tree branches touching the 11 KV/LT line. |  | 4 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information