## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo¦qr forj.k [k.M&f}rh;] lgkjuiqj ds vUrxZr mi[k.M dSyk’kiqj ds dk;Z{ks= es iz.kkyh lq/kkj ,oa fctusl Iyku ;kstuk es Lohd`r izkDdyuks@iSdstks ds vUrxZr ubZ 11 ds0oh0 o ,y0Vh0 ykbZuks dk fuekZ.k djuk ,oa 25@63@100@250 ds0oh0,0 ds ifjorZdks dks LFkkfir djus ,oa ifjorZdks dh {kerko`f) djus o ttZj rkj cnyus] yEcs Lisuks es iksy yxkus ds dk;Z gsrq orZeku es dksbZ Hkh jafux dkWUVSªDV dk dk;Z
Contract No: 16/w/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safe cartage of PCC poles up to 8.5/9/13 Mtr. from ESC, SRE/JE store to site of work at various sites including loading & unloading at both ends.(Dist.Up to 50 Km.) |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of other complete line material (Except PCC /ST Poles) from ESC, SRE JE store to site of work at various sites including loading, unloading at both ends.( Dist.App. 0 to 50 Km.) |  | 4 | Ton. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safe cartage of 25/63/100 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 50 km.) |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Safe cartage of 250 KVA T/F from ESC,SRE, to the site of work including loading & unloading at both ends. (Dist. Upto 50 km.) |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Erection of single support on PCC poles up to 8.5/9/13 Mtr Long with complete fitting of all accessories of 11 KV/LT line.as per RESPO specification. |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Erection of double on PCC poles up to 8.5/9/13 Mtr Long with complete fitting with all accessories as per RESPO specification. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling of stay wire 7/10 SWG and fitting the same on the pole |  | 3 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Providing & fixing of LT clamp with nuts bolts made of new MS flat iron 50x6 mm on PCC poles as per RESPO specification. |  | 12 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Providing of LT shekel insulator of size 100x115mm |  | 15 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing of nuts & bolts for LT shekel insulator of size 180x19mm half threading. |  | 10 | Kg. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing & fixing of X-arm holding clamps PCC poles with nuts bolts made of new MS flat iron 50x6 mm as per RESPO specification. |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing & fixing of F-brackets PCCpoles with nuts bolts made of new MS flat iron 50x6 mm on PCC poles as per RESPO specification. |  | 10 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.13 | Providing & fixing of double Pole clamp on PCC poles with nuts bolts made of new MS flat iron 50x6 mm on PCC poles as per RESPO specification. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Opening of consumer cable connections for LT line then sagging, binding, jumpering and reconnection of cable of consumer. |  | 60 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Removal of old damaged weasel conductor from the Existing 11KV, LT lines with making roll of conductor and shifting the same to ESC, SRE/J.E (store) including loading and unloading at both ends. |  | 3150 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Weasel Conductor for 11KV/LT Line as per RESPO specification including complete. |  | 1600 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Laying, lifting, Stringing, sagging jumpring & binding of ACSR Dog Conductor for 11KV/LT Line as per RESPO specification including complete. |  | 2750 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Earthing of poles by earthing rod as per RESPO specification. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Removal of 25/63/100 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from the site to ESC, SRE/JE store with loading & unloading at both ends. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Safe installation of 25/63/100 KVA T/F on the double pole with complete fittings including making connections and commissioning. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Construction of plinth for installation of 250 KVA T/F of size 1.5x1.5x1.5 Mtr. made of 9" thick wall in all the four sides with 6" thick RCC top duly filled with sand & plastered 12 mm. thick in ratio 1:4 with cement & sand on outer surface of brick wall . |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Safe installation of 250 KVA T/F on the Plinth with complete fittings including making connections and commissioning. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Laying and making connections of LT PVC/XLPE cable 3.5x70sq.mm./3.5x150/1x240 sq.mm. from T/F to double pole (approx to 20 Mtr). |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Tightening of loose stay including opening, binding and nozzling of stay wire. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Straightening of tilted PCC pole/ST pole up to 13 Mtr.of 11 KV & LT lines with opening, binding and jumpering of conductor. |  | 4 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Re-strengthening of tilted D/P (PCC poles) with removing of T/F along with complete fitting and refitting of complete fitting after re-strengthening of tilted Double Pole. |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Replacement of broken/damaged Disc insulators |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Replacement of broken/damaged pin insulators |  | 6 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Re-sagging of loose conductor of 11 KV / LT line with opening binding & Re-binding with jumpring. |  | 10 | span |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Off shooting of tree branches touching the 11 KV/LT line. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information