## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK, HYDEL COLONY KAVINAGAR, GHAZIABAD
Name of Work : For the work of installation of t/f and other related work under the Business Plan 2023-24 under the jurisdiction of EE, EUDD-I, GZB.
Tender no. 01/2023-24/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | MONTH |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 5 | 7 | 8 | 9 | 10 | 11 | 6 | 7 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 8 | 54 | 9
1 | Cartage of 11 Mtr ST pole from store center Meerut road GZB to different site including loading and unloading at both side within 25 KM | BI01010001010000000000000515BI0100001113 | 2 | NO |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Cartage of 11 KV XLPE Cable size 3x120mm2 from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001114 | 380 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
3 | Cartage of New 250 KVA T/F from store center Meerut road GZB to different site including loading and unloading at both side with in 25 KM | BI01010001010000000000000515BI0100001115 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
4 | Cartage of line material ,pin insulator, PVC LT cable channel ,angle,TPMO ,FUSE Set ,stay, ACSR dog/ weasel conductor and other line material from store center Meerut road GZB to different site including loading and unloading at both side, with in 25 KM | BI01010001010000000000000515BI0100001116 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
5 | Cartage of LT Lead size 1x240 mm2 from store center Meerut road GZB to site including loading and unloading at both side | BI01010001010000000000000515BI0100001117 | 48 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
6 | Errection of D/P with 11 meter long ST pole after digging of pits in proper size 1500x600x500 MM and fixing of all material on D/P and refilling by earth & complete work in all respect. | BI01010001010000000000000515BI0100001118 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7 | Fixing of all fitting on Double Pole with nut and bolt and Clamp & complete work in all respect. | BI01010001010000000000000515BI0100001119 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Making & fixing Fencing of 250 KVA T/F with MS Flat and wire mesh cage Fencing around the plinth with all material & complete work in all respect. | BI01010001010000000000000515BI0100001120 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Making of 250 KVA T/F with plinth with all material as cement ,sand,bricks ,corsand and other materials & complete work in all respect. | BI01010001010000000000000515BI0100001121 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Concreting of ST pole complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001122 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Paint of ST pole with alluminium paint after one coat red oxide complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001123 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Digging of 11 KV cable tranch in proper size in Kachha pakka road & complete work in all respect | BI01010001010000000000000515BI0100001124 | 340 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying of 11 KV XLPE cable 3x120 mm in cable tranch and beck filling of earth & complete work in all respect | BI01010001010000000000000515BI0100001125 | 340 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Laying of 11 KV XLPE cable 3x185 mm in Loop and riser & complete work in all respect | BI01010001010000000000000515BI0100001126 | 40 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Filling of 11 KV XLPE Cable J/Kit size 3x120 mm2 in door and out door yupe | BI01010001010000000000000515BI0100001127 | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Chemical Earthing of 11/0.4 KV T/F with fixing suitable G I stripe including all material complete work in all respect | BI01010001010000000000000515BI0100001128 | 2 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Lying stringing and proper sagging of ACSR Weseal conductor in 11KV line & complete work in all respect as per norms. | BI01010001010000000000000515BI0100001129 | 40 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Lying of LT Lead all 1x240 sq.mm on LT Line & complete work in all respect as per norms. | BI01010001010000000000000515BI0100001130 | 48 | MTR |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Placment of 250 KVA T/F on Plinth with the help of Crane | BI01010001010000000000000515BI0100001131 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Providing & fixing Of MS Holding clamps | BI01010001010000000000000515BI0100001132 | 6 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Providing & fixing of aluminium crimlping Lugs size 400 Sq.mm | BI01010001010000000000000515BI0100001133 | 12 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Providing and Fixing of copper ''L'' piece for LT busing of T/f | BI01010001010000000000000515BI0100001134 | 4 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Providing & fixing Of MS Nut & bolt | BI01010001010000000000000515BI0100001135 | 5 | K G |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Providing & fixing Of Danger board with clamps | BI01010001010000000000000515BI0100001136 | 1 | NO |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Making of all T/F Connection LT/HT side & complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001138 | 1 | JOB |  |  |  |  | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information