## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority : Superintending Engineer, EDC, BIJNOR
Name of Work : Various Work like releasing new connection/shifting of lines/Pole/increasing capacity etc. under deposit scheme for future under jurisdiction of EDD-Ist, Bijnor.
Contract No: E-Tender No 29/2022-23/EDC Bijnor
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Safe carriage of following material from Store Centre to site / JE store with loading & unloading at both ends respectively distance with in 40 Kms. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PCC Pole 8.5 Mtr. Long | BI01010001010000000000000515BI0100001113 | 1 | Nos | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | PCC Pole 9 Mtr. Long |  | 1 | Nos | 101 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.03 | S.T. Pole 11 Mtr. Long |  | 1 | Nos | 102 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.04 | S.T. Pole 13 Mtr. Long |  | 1 | Nos | 103 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.05 | 11/33 KV CT/PT Unit |  | 1 | Nos | 104 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.06 | 11/33 KV Pilfer Proof Metering Cubical |  | 1 | Nos | 105 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.07 | 11/0.4 KV 25 KVA T/F |  | 1 | Nos | 106 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.08 | 11/0.4 KV 63 KVA T/F |  | 1 | Nos | 107 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
1.09 | 11/0.4 KV 100 KVA T/F |  | 1 | Nos | 108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
2 | Loading & safe carriage & unloading of heavy other line material (other than pole) such as ACSR Weasal/Dog Conductor, M.S. Angle, M.S. Channel, Stay Rod, Earthing Rod, 11 KV Cable, L.T. Cable, 33 KV Xarm etc. from Store Centre to site / JE store distance with in 40 Kms. and back cartage of material if required. |  | 1 | Qtl. | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3 | Erection of Single Pole suitable for 11 kv line on PCC/ST Pole with fixing accessries complete. |  | 1 | Nos | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4 | Erection of Double Pole suitable for 11 kv line on PCC/ST Pole with fixing accessries complete. |  | 1 | Nos | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5 | Erection of Try Pole suitable for 33 kv line on STP Pole with fixing accessries complete. |  | 1 | Nos | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6 | Erection of Four Pole suitable for 33 kv line on STP Pole with fixing accessries complete. |  | 1 | Nos | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7 | Digging of Pits of required size | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | PCC Pole 8.5 Mtr. Long |  | 1 | Nos | 108 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.02 | PCC Pole 9 Mtr. Long |  | 1 | Nos | 109 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.03 | S.T. Pole 11 Mtr. Long |  | 1 | Nos | 110 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
7.04 | S.T. Pole 13 Mtr. Long |  | 1 | Nos | 111 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8 | Grouting of supports in CC 1:4:8 (cement, sand & 40 mm brick ballast). Grouting will be done in the block of size (450x450) mm x 1/6th of full length of the support up to ground level, 300 mm plinth, above the ground level with CC 1:3:6 (Cement, Coarse Sand & Stone Grit) with muffing as per drawing. Work includes back filling and proper ramming. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | PCC Pole 8.5 Mtr. Long |  | 1 | Nos | 114 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.02 | PCC Pole 9 Mtr. Long |  | 1 | Nos | 115 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.03 | S.T. Pole 11 Mtr. Long |  | 1 | Nos | 116 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
8.04 | S.T. Pole 13 Mtr. Long |  | 1 | Nos | 117 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
9 | Grouting of Stay Rods (16x1800)/(20x1800) mm. including all work of excavation, cement, concreting in size (0.60x0.60x0.30) m in ratio 1:4:8 cement, sand, 40 mm brick ballast as per drawing, including back filling of soil and proper ramming etc. |  | 1 | Nos | 121 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
10 | Fixing, tightening & nozzling of stay wire with stay rod with the poles of required tension as per drawing, including providing & fixing of stay insulators of 11 KV and stay clamps. |  | 1 | Nos | 122 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
11 | Fixing, tightening & nozzling of stay wire with stay rod with the poles of required tension as per drawing, including providing & fixing of stay insulators of 33 KV and stay clamps. |  | 1 | Nos | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
12 | Earthing of supports with M.S. Earth Rod of including excavation of pit and driving M.S. Rod 3-0 M apart from support and 0.5 m below the ground level and connecting below the earth electrodes with the help of G.I. Wire No. 8 SWG and earthing lugs. |  | 1 | Ckt. Km. | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
13 | Laying, spreading, lifting and final sagging of 3 phases of ACSR Weasal Conductor in accordance with line chart including binding and fixing of all accessories in conductor conductor in parallel in 11 KV / L.T. Line. |  | 1 | Ckt. Km. | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
14 | Laying, spreading, lifting and final sagging of 3 phases of ACSR Rabbit Conductor in accordance with line chart including binding and fixing of all accessories in conductor conductor in parallel in 11 KV / L.T. Line. |  | 1 | Span | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
15 | Laying, spreading, lifting and final sagging of 3 phases of ACSR Dog Conductor in accordance with line chart including binding and fixing of all accessories in 03 Nos. conductor in parallel. |  | 1 | Ckt. Km. | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
16 | Guarding between two poles single poles, double poles etc. to guard L.T. Line, telephone and river crossing, road crossing etc. with G.I. Wire No. 6, 8 & 10 SWG. |  | 1 | Span | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17 | Removal of old existing transformers from double pole/ plinth after dismantling H.T. & L.T. Connections along with back cartage from work site to store centre includng loading & unloading at both ends distance with in 40 Kms. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
17.01 | 11/0.4 KV 25 KVA T/F |  | 1 | Nos | 123 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.02 | 11/0.4 KV 63 KVA T/F |  | 1 | Nos | 124 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
17.03 | 11/0.4 KV 100 KVA T/F |  | 1 | Nos | 125 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18 | Mounting of Erection of following transformers of different capacities, on Double Pole / Plinth alongwith fixing of clamps and nuts & bolts with proper binding / jumpering etc. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
18.01 | 11/0.4 KV 25 KVA T/F |  | 1 | Nos | 127 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18.02 | 11/0.4 KV 63 KVA T/F |  | 1 | Nos | 128 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
18.03 | 11/0.4 KV 100 KVA T/F |  | 1 | Nos | 129 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
19 | Safely laying of 11 KV AB Cable size of cable 3x50 sq. mm. |  | 1 | Mtr. | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
20 | Safely laying of 11 KV AB Cable size of cable 3x95 sq. mm. |  | 1 | Mtr. | 131 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
21 | Safely laying of 11 KV AB Cable size of cable 3x120 sq. mm. |  | 1 | Mtr. | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
22 | Safely laying of 11 KV Cable size of All Size |  | 1 | Mtr. | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
23 | Safely laying of 33 KV Cable size of All Size |  | 1 | Mtr. | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
24 | Erection Distribution Box with Connection |  | 1 | Mtr. | 132 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
25 | Laying of underground 11 KV Cable after digging of trench including cost of sand & brick complete in all respect. |  | 1 | Mtr. | 133 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
26 | Laying of underground 33 KV Cable after digging of trench including cost of sand & brick complete in all respect. |  | 1 | Nos | 134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
27 | Dismantling of old CT/PT Unit from D/P. |  | 1 | Mtr. | 135 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
28 | Mounting of CT/PT Unit on Double Pole. |  | 1 | Nos | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
29 | Dismantling of old metering cubical. |  | 1 | Nos | 137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
30 | Mounting the metering cubical on foundation & grouting with rag bolts. |  | 1 | Nos | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
31 | Filling & fixing of 11 KV Cable Jointing Kit |  | 1 | Nos | 139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
32 | Filling & fixing of 33 KV Cable Jointing Kit |  | 1 | Mtr. | 139 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
33 | Fixing of G.I. Pipe 6" dia on double pole with providing & fixing Clamps and Bolts & Nuts complete in all respect. |  | 1 | Nos | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
34 | Providing & fixing of danger board/Number Plate at each location as per specification of the drawing. |  | 1 | Kg. | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
35 | Wrapping of barbed wire on 11 KV SP-55 S.T. Poles / 8.5 Mtr. PCC Poles, as anti climbing device for a length of 0.9 mtr. Wire pitch / gap 13 mm. and fixing upper and lower end keeping, lower end at a height of 2.75 mtr. From the ground complete with providing and fixing of lower end & upper end clamps made of M.S. Flat 40x5 mm. complete with nuts & bolts. |  | 1 | Kg. | 138 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36 | Dismantling of old existing supports with all accessories for shifting of line complete in all respect. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
36.01 | PCC Pole 8.5 Mtr. Long |  | 1 | Nos | 134 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36.02 | PCC Pole 9 Mtr. Long |  | 1 | Nos | 135 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36.03 | S.T. Pole 11 Mtr. Long |  | 1 | Nos | 136 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
36.04 | S.T. Pole 13 Mtr. Long |  | 1 | Nos | 137 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
37 | Fixing of X-Arm of 11 KV line with nuts & bolts & washers as per RESPO norms complete in all respect. (Provided by department for shifting of line) |  | 1 | Nos | 141 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38 | Fixing of Insulators (Provided by department): | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
38.01 | 11 KV Pin Insulator with Pin |  | 1 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38.02 | 11 KV Disc Insulator with Fitting |  | 1 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38.03 | 33 KV Pin Insulator with Pin |  | 1 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
38.04 | 33 KV Disc Insulator with Fitting |  | 1 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39 | Providing & fixing of Insulators & Clamps: | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
39.01 | 11 KV Holding Clamp with Bolts & Nuts (All Type) |  | 1 | Nos | 140 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.02 | 33 KV Holding Clamp with Bolts & Nuts (All Type) |  | 1 | Nos | 141 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.03 | 11 KV F-Bracket with Bolts & Nuts |  | 1 | Nos | 142 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.04 | 11 KV E-Bracket with Bolts & Nuts |  | 1 | Nos | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.05 | 33 KV F-Bracket with Bolts & Nuts |  | 1 | Nos | 142 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.06 | 33 KV E-Bracket with Bolts & Nuts |  | 1 | Nos | 143 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.07 | P.G. Clamp for Weasal Conductor |  | 1 | Nos | 145 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.08 | P.G. Clamp for Dog Conductor |  | 1 | Nos | 146 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.09 | L.T. Shackle Insulator with Bolts & Nuts |  | 1 | Nos | 147 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.1 | L.T. Clamp with Bolts & Nuts |  | 1 | Nos | 148 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.11 | G.I. Pipe 6" dia |  | 1 | Nos | 149 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.12 | Senspection Clamp with I-Hook |  | 1 | Nos | 150 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.13 | Dead end Clamp with I-Hook |  | 1 | Nos | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.14 | PRC |  | 1 | Nos | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
39.15 | PVC Cable 1x35 for D/B |  | 1 | Nos | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
40 | Back Cartage of Dismentaled CT/PT Unit From Work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. |  | 1 | Nos | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
41 | Back Cartage of Dismentaled Metering Cubical From Work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. |  | 1 | Nos | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
42 | Back Cartage of Dismentaled Cable/Conductor From Work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. |  | 1 | Kg. | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
43 | Back Cartage of Dismentaled all type Iron Scrap from work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. |  | 1 | Kg. | 152 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
44 | Back Cartage of Dismentaled all other Items except above from work site to Store Centre Bijnor with Loading & Unloading at both ends Distance with in 40 Kms. |  | 1 | Job | 151 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE!
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information