## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-I, Noida
Name of Work: DETAILS OF WORK AND QUANTITY AGAINST SHORT TERM E-TENDER NO. 84/EUDC-I/2022-23/NOIDA (WORKS) FOR CARRYING OUT THE WORK REPLACEMENT OF NON REPAIRABLE / DAMAGED 04 NOS. L.T. FEEDER PANNEL WITH PROVIDING AND INSTALLATION IN AREA OF EUDSD-IV, NOIDA UNDER EUDD-I, NOIDA IN THE JURIDICTION OF EUDC-I, NOIDA.
Contact No: 0120-2970431
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (GST Will be paid Extra as per norms) Note:- 1. Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | REPLACEMENT OF DAMAGED 04 NOS. L.T. FEEDER PANNEL OF SIZE 4.5 (HIGHT)x2(WIDTHx1.5(DEPTH) FEET WITH PROVIDING AND INSTALLATION IN AREA OF EUDSD-IV, NOIDA UNDER EUDD-I, NOIDA AS PER FOLLOWING :- | BI01010001010000000000000515BI0100001135 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Supply of new L.T. Feeder Pillar (4 Way) as per following specification :- 1) LT Feeder Pillar Box (4 Way) shall be of 16 SWG HR sheet, having (2) doors, 1 in front and 1 doors on back side of 16 SWG HR sheet. Doors should have proper locking arrangements with providing crome locks of standard make. It should have a canopy on top in order to prevent it from water ingress in rains. 2) The dimension of Feeder Pillar Box (4 way) 4.5(Height) X 2(Width) X 1.5(Depth) Feet (With Canopy). 3) 04 Nos. Bus Bar insulation coated made of aluminum for red, yellow, blue & neutral phases suitable for 400 Amp. and connecting Bus Bar 250 Amp. 4) 12 Nos. KIT KAT Fuse of 415V, 200 Amp. each capacity tested as per IS shall be provided with 4 Nos. on each phase so as to cater to 4 Nos. 3 Phase connections of meter pannels. 5) Aluminum crimping lugs of size 240 / 185 / 120 / 95 / 70 Sq.mm. and proper size thimbles shall be provided for safe termination of incomer as well as individual service cable as per qty. 6) 01 No. Isolator Switch of 250 Amp. 3 Pole. 7) Approx. 01 feet from the earth on powder coating base from with 4 legs. 8) Grouting of Feeder Pillar Box (4 way) as per site requirements complete in all respects. 9) The panel shall be powder coated with chemical process of Off-white color (Or as per direction) both inside and outside. Before painting, the sun faces shall be thoroughly cleaned from dust, grease and rust. Identification no. shall be written as per direction. 10) Sundry item. | BI01010001010000000000000515BI0100001136 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | Disconncetion of all consumer connection from pannel as per requirement. | BI01010001010000000000000515BI0100001137 | 4 | Jobs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Reconncetion of all consumer connection from pannel afater replacement as per requirement. | BI01010001010000000000000515BI0100001138 | 4 | Jobs | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | Dismantling of damaged L.T. Branch Distribution Pannel from earth on work site if any. | BI01010001010000000000000515BI0100001139 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | Carriage of above dismantled Pannel from works site to JE store / central store & proper stacking with loading & unloading. | BI01010001010000000000000515BI0100001140 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | Installation of above new L.T. Feeder Pannel (4 way) complete in all respect. | BI01010001010000000000000515BI0100001141 | 4 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information