## PVVNL-MT/COM/15(s)/22-23

SCHEDULE OF QUANTITIES, DESIRED DELIVERY & EARNEST MONEY

| Sl. No. | Item | Quantity (in Nos.) | Earnest Money (in Rs.) | Delivery Period |
| --- | --- | --- | --- | --- |
| 1. | 3 phase, 4 wire, AC Static (10-60) Amp. whole Current Class-1 Electronic Energy Meter (with pilfer proof box) | 2,00,000 | 40,00,000 | 30% quantity to be supplied within 45 days from the Date of LOI as first lot & balance quantity within next 3 months as subsequent lot. |

  - The Part-I of tender bid shall contain the earnest money.

  - The tenderers are required to offer for min 30% of tendered quantity & has to submit the EMD proportionately. Tenderers offering less than required quantities of the material shall not be considered and their offer shall be summarily rejected.

  - The quantities can vary + 20 %.

  - Earlier delivery however shall be acceptable. The above schedule shall be guaranteed and subject to penalty for late supplies as per clause No. 27 of contract form B.

  - The commencement of delivery shall be subjected to revision depending upon requirement of material and ground balances with store at the time of delivery.

  - Meter with feature of self-locking arrangement of incoming cables may be considered.

  - The delivery schedule may be revised as per requirement of PVVNL.

  - If the tender of firm less than 100% of the tendered quantity then the delivery period will be decided accordingly as per need of DISCOM