## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : tuin xkSrecq) uxj esa uol`ftr@uxj fudk;ksa esa fu/kkZfjr ?k.Vs fo¦qr vkiwfrZ djus ds n`f”Vxr fo¦qr forj.k [k.M & xzsVj uks,Mk ds {ks= esa 13 ua0 LFkkuksa ij vfrfjDr 250 dsoh, ifjorZd dh LFkkiuk ,oa 11 dsoh ykbu dk ,DlVsa”ku ds fuekZ.k ls lEcfU/kr dk;Z vko”;d lkexzh lfgrA
Contract No: SHORT TERM E-TENDER NO 104/EUDC-II NOIDA/2022-23
G.S.T. paid extra as applicable
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) The entire work is to be done on "Semi Turnkey Basis. Therefore the bidder should include the cost of all the items necessary to complete the work for successful commissioning of the equipment as per RESSPO/REC norms. Below schedule structure and quantities may vary as per site requirement with due approval. Steel Tubulor pole shall be proper painted with red oxide paint and alu. paint. GST and all other taxes shall be inclusive in quoted rates. (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by BIDDER (GST and other all taxes are Inclusive) Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with GST and other all taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT with GST and all others taxes In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | fo¦qr forj.k [k.M & xzsVj uks,Mk ds {ks= esa 13 ua0 LFkkuksa ij vfrfjDr 250 dsoh, ifjorZd dh LFkkiuk ,oa 11 dsoh ykbu dk ,DlVsa”ku ds fuekZ.k ls lEcfU/kr dk;Z gsrq ek= VªkalQkeZj] ,lh,lvkj foty dUMdVj ,oa ,ch dsfcy foHkkx }kjk ns; gksxhA blds vfrfjDr dSfjt] LFkkiuk] bjsD"ku vkfn ls lEcfU/kr leLr dk;Z fufonknkrk }kjk djuk gksxkA | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Carriage of 250 KVA New Transformer from Store Center Sahibabad/Noida/Bulandshehr/Ghaziabad/Any Store of PVVNL Discom to work site including safe loading at Store and unloading at site with Installation and Commissioning of 250 KVA New Transformer with mounting on Plinth and making all the connections complete in all respect. (Transformer will be provided by the department) |  | 1 | Nos | 100 |  |  | Excess(+) | 13 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Carriage of ACSR Weasel Conductor fromStore Center Sahibabad/Noida/Bulandshehr/Ghaziabad/Any Store of PVVNL Discom to work site including safe loading at store and unloading at site with Laying, lifting of sagging of Weasel Conductor and fixing of all types clamps & connection complete in all respect. (Weasel conductor will be provided by the department.) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1000 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Carriage of ABC cable 3x120 Sqmm fromStore Center Sahibabad/Noida/Bulandshehr/Ghaziabad/Any Store of PVVNL Discom to work site including safe loading at Store and unloading at site with laying, lifting of sagging of ABC cable 3x120sqmm and fixing of all types clamps & connection complete in all respect. (AB Cable will be provided by the department) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 2400 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | fo¦qr forj.k [k.M & xzsVj uks,Mk ds {ks= esa 13 ua0 LFkkuksa ij vfrfjDr 250 dsoh, ifjorZd dh LFkkiuk ,oa 11 dsoh ykbu dk ,DlVsa”ku ds fuekZ.k ls lEcfU/kr dk;Z gsrq fuEuor~ lkexzh fufonknkrk }kjk Lo;a fMLdkWe ls vuqeksfnr os.Mj ls vuqeksfnr thVhih ds vuqlkj Ø; dj djkdj] lEcfU/kr dk;Z iw.kZ djk;k tk;saxkA ¼lkexzh dk foHkkxh; fu;ekuqlkj fujh{k.k@ijh{k.k djk;k tkuk vko';d gSA½ | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supply, Fixing and Installation of Distribution box(Three Phase) on pole with providing suitable L.T clamps and making LT lead connection complete in all respect. (BOX WILL BE SUPPLIED AS PERAPPROVED GTP OF PVVNL.) |  | 1 | Nos. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supply of ST Pole 11mtr Long Pole and Errection of Single support Pole with proper Grouting, concreting & Plinthing of supports as per RESPO Norms (POLES WILL BE SUPPLY BY THE CONTRACTOR AS PER APPROVED GTP OF PVVNL.) |  | 1 | Nos. | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply of PCC 8.5mtr Long Pole and Errection of Single support pole with proper Grouting, concreting & Plinthing of supports as per RESPO norms. (POLES WILL BE SUPPLY BY THE CONTRACTOR AS PER APPROVED GTP OF PVVNL.) |  | 1 | Per No. | 100 |  |  | Excess(+) | 44 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Fabrication of Double Pole of S.T/PCC Pole 11 Mtr./8.5mtr Long Structure with proper Grouting, concreting & Plinthing of supports as per RESPO norms.Complete work in all respect AS PER RESPO. |  | 1 | Per No. | 100 |  |  | Excess(+) | 13 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Fixing, erection & grouting of Stay set complete with binding & Nozzling of stay wire. (All Material and work in the scope of contractor) |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Earthing of supports with the help of Earthing rod & GI wire/earth wire. (All Material and work in the scope of contractor) |  | 1 | Per No. | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supply and fixing of PVC Cable 1x400sqmm with complete connection in all respect. Material will be as per approved GTP of PVVNL. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 520 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Neutral and Body chemical Earthing of 13Nos. New installed Transformers as per RESPO. (All work and material in the scope of contractor) |  | 1 | Job | 100 |  |  | Excess(+) | 26 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Construction of Plinth and Iron Fencing for 250KVA T/F as per RESPO. (All work and material in the scope of Contractor) |  | 1 | Nos. | 100 |  |  | Excess(+) | 13 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supply and Fixing of X-arm as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 24 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supply and Fixing of Holding Clamps as per site requirement. |  | 1 | Nos | 100 |  |  | Excess(+) | 50 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supply and Fixing of 11 KV Pin Insulator with pin as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 70 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Supply and Fixing of 11 KV Disc Insulator with fitting as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 30 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Supply and Fixing of 11 KV Fuse Set with Clamp for T/F. as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 13 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Supply and Fixing of MS Nut & Bolt off size as per site requirement. |  | 1 | Kg. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Supply and Fixing of 11KV Dropper and Top Channel 100x50x2240mm as per site requirement. |  | 1 | Kg. | 100 |  |  | Excess(+) | 858 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information