## Macros
Please Enable Macros to View BoQ information

## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: SUPERINTENDING ENGINEER, ELECTRICITY URBAN DISTRIBUTION CIRCLE-I, A-BLOCK HYDEL COLONY, KAVI NAGAR GHAZIABAD
Name of Work:- For the work of electrification & giving new connection to various consumers in the area of Sub-Division- Pratap Vihar and Rathi Ispat, Ghaziabad by Running Tender (Deposit Scheme) in the jurisdiction of EE, EUDD-V, GZB.
Tender no:- 13/2022-23/EUDC-I/GZB
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) Applicable GST shall be payable extra on production / submission of evidence.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Quantity |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Carriage of PCC Pole /ST Pole 8.5/9/11/13 Mtr. Long from Central store GZB/Sahibabad/JE store (Dist.) to site of work including loading unloading of both ends . | BI01010001010000000000000515BI0100001114 | 10 | Nos | 54 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | Carriage of other line material (Other than pole) as conductor, pin & Disc insulator , MS Channel, angle, Iron stay Rod & Wire Etc from Central store GZB/Sahibabad/JE store (Dist.) to site of work including loading unloading of both ends. | BI01010001010000000000000515BI0100001115 | 10 | Qtl | 60 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | Excavation of foundation pit in mix soil/ Normal Soil/Soft and Hard Rock and its back filling and leveling etc. Erection of Single support and Double Pole with PCC Pole/ST Pole 8.5/9/11 Mtr. Long Including fixing of all accessories and fabrication as required after digging of a suitable size pit for each pole. Work shall be done as per RESPO specification. | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.01 | Single PCC Pole 8.5 Mtr. Long/ ST Pole /9/11/13 Mtr. Long. | BI01010001010000000000000515BI0100001117 | 10 | Nos. | 4 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.02 | Double Pole of PCC poles 8.5 Mtr. Long/ ST Pole /9/11/13 Mtr. Long. | BI01010001010000000000000515BI0100001118 | 10 | Nos. | 25 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Grouting about PCC Pole /ST Pole 8.5/ 9/11/13 Mtr. Long of support up to ground level including back filling and proper dressing shall be done as per RESPO specification. | BI01010001010000000000000515BI0100001119 | 10 | Nos. | 54 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Erection, Fixing of stay rod 16 x 1800 mm after digging of a suitable size pit shall be done as per RESPO specification including fixing of stay wire clamp and nuzzling etc. | BI01010001010000000000000515BI0100001120 | 10 | Nos. | 40 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6 | Fabrication of M S Top Channel, M S Dropper Channel, T-off Channel & M S Base angle etc including cutting & holes as per RESPO drawing and norms. | BI01010001010000000000000515BI0100001121 | 10 | Nos. | 120 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7 | Earthing of supports with M.S. Earth Rod 20x2500 mm long including excavation of pit and driving of M.S. Rod 1 Mtr. apart from support 0.5 Mtr. Below ground level and connecting with support with the help G.I wire No.6 SWG. | BI01010001010000000000000515BI0100001122 | 10 | Nos. | 54 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | Binding, Sagging and Jumpering etc. of ACSR conductor on the pole as per RESPO specification and as per direction of engineer in charge it includes cost of labor, T&P carrier etc. prepared for proper completion of work. | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.01 | Weasel/Rabbit Conductor | BI01010001010000000000000515BI0100001124 | 10 | Mtr. | 1200 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.02 | Dog/Raccon Conductor | BI01010001010000000000000515BI0100001125 | 10 | Mtr. | 800 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8.03 | ABC Cable | BI01010001010000000000000515BI0100001126 | 10 | Mtr. | 150 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | Construction of plinth of around pole of size 45 mm dia 300mm high above ground level in cc 1:3:6 Complete with all material & shuttering etc. shall be done as per RESPO specification. | BI01010001010000000000000515BI0100001127 | 10 | Nos. | 54 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | Providing & Fixing of Danger Board including clamp etc. as per norms of Safety Department. | BI01010001010000000000000515BI0100001128 | 10 | Nos. | 54 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | Carriage of 11KV 25/63/100 KVA Transformer from Central store GZB/Sahibabad/JE store (Dist.) to site of work including loading unloading of both ends with the help of Crane (Distance up to 0- 50 Km.) | BI01010001010000000000000515BI0100001129 | 10 | Nos. | 20 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | Carriage of 11KV 250 KVA Transformer from Central store GZB/Sahibabad/JE store (Dist.) to site of work including loading unloading of both ends with the help of Crane (Distance up to 0- 50 Km.) | BI01010001010000000000000515BI0100001130 | 10 | Nos. | 2 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | Making of Plinth (Chair) for 250 KVA 11/0.433 KV Transformers with providing all Channels, Angle, Nutt-Bolts & other required materials. Its included the cost of all Channels, Angle, Nutt-Bolts & other required materials etc./Construction of T/F Plinth with cement, concrete, sand and bricks dully plaster around the plinth. Complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001131 | 10 | Nos. | 2 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | Febrication & Fixing of Wire mesh fancing for 250KVA 11/0.433 KV Transformers with providing all Angle, Nutt-Bolts. Its included the cost of all Angle, Nutt-Bolts & other required materials etc. Complete work in all respect as per RESPO norms. | BI01010001010000000000000515BI0100001132 | 10 | Nos. | 2 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | Providing & Making Chamical Earthing and connecting T/F body to G.I strip of size 25x6 mm with the help of nut & bolt. Its include the cost of material, labour, T&P, Carriage etc Doing all necessary work for proper Completion of work. | BI01010001010000000000000515BI0100001133 | 10 | Nos. | 8 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | Mounting, placing & connecting on LT/HT side of 11 KV 25/63/100 KVA Transformer with help of crane. | BI01010001010000000000000515BI0100001134 | 10 | Nos. | 20 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | Mounting, placing & connecting on LT/HT side of 11 KV 250 KVA Transformer with help of crane. | BI01010001010000000000000515BI0100001135 | 10 | Nos. | 2 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | Carriage of 11KV 11 KV metering Cubical/ 11 KV CT/PT Unit from Central store GZB/Sahibabad/JE store (Dist.) to site of work including loading unloading of both ends . | BI01010001010000000000000515BI0100001136 | 10 | Nos. | 4 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | Carriage of 11KV old and used 25/63 KVA Transformer/ 11 KV metering Cubical/ 11 KV CT/PT Unit from site of work to JE store (Dist.)including loading unloading of both ends with the help of Crane (Distance up to 0- 50 Km.) | BI01010001010000000000000515BI0100001137 | 10 | Nos. | 4 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
20 | Dismounting & disconnecting From LT/HT side of 11 KV 25/63 KVA Transformer. | BI01010001010000000000000515BI0100001138 | 10 | Nos. | 2 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
21 | Erection of guarding angle cross arm and other requisite material with guarding by GI wire and providing loops at suitable distance as per RESPO drawing and norms. | BI01010001010000000000000515BI0100001139 | 10 | Span | 6 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
22 | Dismounting & disconnecting of 11 KV metering cubica/ 11 KV CT/PT Unit l with dismantling & removing of 11 KV old cable. | BI01010001010000000000000515BI0100001140 | 10 | Nos. | 2 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
23 | Laying of 3 core 35 to 70 Sq. mm. 11 KV XLPE Cable | BI01010001010000000000000515BI0100001141 | 10 | Nos. | 120 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
24 | Laying of 3 core 120 to185 Sq. mm. 11 KV XLPE Cable | BI01010001010000000000000515BI0100001142 | 10 | Nos. | 80 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
25 | Excavation in soft soil for cable trench and refilling the same the cable protected with local sand cushioning and bricks protection along the cable while buried directly in ground in 2.5 feet depth. | BI01010001010000000000000515BI0100001143 | 10 | Nos. | 80 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
26 | Filling, Fixing & Mounting of Cable Box on 3 core 35 to 70 mm Sq.(O/D & I/D) | BI01010001010000000000000515BI0100001144 | 10 | Nos. | 8 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
27 | Filling, Fixing & Mounting of Cable Box on 3 core 120 to185 mm Sq.(O/D & I/D) | BI01010001010000000000000515BI0100001145 | 10 | Nos. | 6 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
28 | Installation 11 KV CT/PT Unit complete. Work shall be done as per RESPO specification. | BI01010001010000000000000515BI0100001146 | 10 | Nos. | 4 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
29 | Installation 11 KV metering cubical complete. Work shall be done as per RESPO specification. | BI01010001010000000000000515BI0100001147 | 10 | Nos. | 4 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
30 | Providing & Fixing of MS holding clamps, LT pin clamps, Stay clamps for ST Pole/Pcc Pole made from 50 X 6 mm MS flat. | BI01010001010000000000000515BI0100001148 | 10 | Nos. | 180 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
31 | Providing & Fixing of all Type ABC clamps, PG clamps, ABC Holding clamps for ST Pole/Pcc Pole. | BI01010001010000000000000515BI0100001149 | 10 | Nos. | 60 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
32 | Providing & Fixing of GI Pipe 4'' dia of best quality. | BI01010001010000000000000515BI0100001153 | 10 | Mtr. | 30 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
33 | Providing & Fixing of Different sizes of nuts and bolts for different type of clamps with washers of best quality as per requirement. | BI01010001010000000000000515BI0100001154 | 10 | Nos. | 120 |  |  |  | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help