## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : Provision for New Installation of New Transformers and Increasing capacity at 20Nos. various places under EUDD-III,. Noida in Jurisdiction of EUDC-2, Noida
Contract No: SHORT TERM E-TENDER NO 11/EUDC-II NOIDA/2023-24
G.S.T. paid extra as applicable
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) The rate quoted by the tenderer shall be inclusive of all duties, taxes (except GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. GST AND ALL TAXES INCLUSIVE IN QUOTED RATES.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder INCLUSIVE OF ALL TAXES AND GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with All Taxes and GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Provision for New Installation of New Transformers and Increasing capacity at 20Nos. various places under EUDD-III,. Noida in Jurisdiction of EUDC-2, Noida. (Transformer place detail mentioned in Tender form.) | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Safe Carriage of Line Accessories and items releated to work issued from store 22Nos. STP 11Mtr, 6 PCC 8.5Mtr., 17Nos. MS Channel, 700Mtr Dog Conductor, 480mtr Weasel Conductor, 14Nos. MS Top Channel, 84Nos. 11KV Disc Insulator with fittings, 14Nos MS Channel Top, 126 Nos. Pin Insulator with pin, 210mtr LT PVC Cable Al 3.5x240sqmm and any other items/accessories required for work rom Store Centre Sahibabad/Noida/Ghaziabad/Meerut/Any Store of Discom PVVNL/UPPCL to work site including safe loading and unloading at both ends. (Material Qty. are mentioned in Tender Documents.) |  | 1 | Ton | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Laying, lifting and proper sagging of ACSR Dog Conductor as per site requirement and fixing of all types clamps & connection complete in all respect |  | 1 | Mtr. | 100 |  |  | Excess(+) | 700 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Laying, lifting and proper sagging of ACSR Weasel Conductor as per site requirement and fixing of all types clamps & connection complete in all respect |  | 1 | Mtr. | 100 |  |  | Excess(+) | 480 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Safe Cartage of New 08 Nos. 400KVA and 12 Nos. 250 KVA Transformer = total 20 Nos. T/F in the areas mentioned in tender documents of EUDD - III, Noida from Store Centre Sahibabad/Noida/Ghaziabad/Meerut/Any Store of Discom PVVNL/UPPCL to work site including safe loading and unloading at both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Intallation and commissioning of above 8 Nos. 400KVA and 12 No. 250 KVA Transformer with complete connections in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Neutral and Body Water Level Earthing by pipe Earthing of above new Transformers as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Safe Cartage and Dismentaling of Old and Used 05 Nos. 250KVA and 01 Nos. 160 KVA Transformer = total 06 Nos. T/F from different work Site under EUDD-III Noida to Store Centre Sahibabad/Noida/Ghaziabad/Meerut/Any Store of Discom PVVNL/UPPCL including safe loading and unloading at both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 6 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supply and Installation of New 400Amp. LT ACB with compelete Panel for suitable for 400KVA T/F as per PVVNL approved GTP with compete connections in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Errection of Single Supports 8.5mtr PCC Pole with proper grouting and concreting of pole as per RESPO and complete work in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Errection of Single Supports 11mtr ST Pole with GI Bottom with proper grouting and concreting of pole as per RESPO and complete work in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 22 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Fixing of MS Channel (Dropper) 100x50x2028 as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 17 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Supply and Fixing of Stone pad 300x300x75mm as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 28 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Supply and Fixing of Clamps for LT(T-off) with bolts and Nuts as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 14 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supply and Fixing of Holding Clamps for top channel TPMO & Fuse set with bolts and Nuts as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 168 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Fixing of MS Channel (Top) 125x65x2240mm as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 14 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supply and Fixing of 11 KV Fuse Set (Drop out) with Clamp as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 14 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Fixing of 11KV Disc Insulator with fittings as per RESPO> |  | 1 | Nos. | 100 |  |  | Excess(+) | 84 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Fixing of MS Channel (t-off) 125x65x1300mm as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 14 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Fixing of Poly pin Insulator WITH PIN as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 126 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Laying and Fixing of LT PVC Cable Al 3.5x240sqmm as per site requirement. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 210 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Supply and Fixing of Al Leg Long Barrel off size as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 336 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Supply and Fixing of Danger Board as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 14 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Supply and Fixing of Stay Complete (Stay rod 16x1800mm, stay wire 5kg, stay clamp, bolt and nut with grouting) all material and work in the scope of contractor. |  | 1 | Nos | 100 |  |  | Excess(+) | 28 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Earthing of Pole by MS earthing rod of 20x2500mm & 6SWG earthing wire etc. all material and work in the scope of contractor. |  | 1 | Nos | 100 |  |  | Excess(+) | 28 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Supply of RED Oxide Paint and painting of Poles as per site requirement. |  | 1 | Ltr. | 100 |  |  | Excess(+) | 28 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Supply of Aluminium Paint and painting of Poles as per site requirement. |  | 1 | Ltr. | 100 |  |  | Excess(+) | 28 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Construction of Plinth (size 2x2x1.5mtr) for 10Nos.- 250KVA T/F as per RESPO |  | 1 | Job | 100 |  |  | Excess(+) | 10 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Construction of Plinth (size 2x2x1.5mtr) for 04Nos.- 400KVA T/F as per RESPO |  | 1 | Job | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Supply and Fixing of LT Cable1x400sqmm as per site requirement. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information