## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, EUDC-II, Noida
Name of Work : Provision for New Installation of New Transformers and Increasing capacity at 09Nos. various places under EDD-IV, Dadri in Jurisdiction of EUDC-2, Noida
Contract No: SHORT TERM E-TENDER NO 14/EUDC-II NOIDA/2023-24
G.S.T. paid extra as applicable
Name of the Bidder/ Bidding Firm / Company :
(This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) (Note:- Any type of NOC for the completion of following work will be received by the bidder itself only, Department will not be liable for these NOC.) The rate quoted by the tenderer shall be inclusive of all duties, taxes (except GST), fees, octroi and other levies, materials, any type of NOC, labour to & FOR transportation of material and labour charges etc. GST AND ALL TAXES INCLUSIVE IN QUOTED RATES.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Unit | Estimated Rate in Rs. P |  |  | Addition / Deduction | Quantity | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE per unit In Figures To be entered by the Bidder INCLUSIVE OF ALL TAXES AND GST Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT with All Taxes and GST in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 6 | 7 | 8 | 9 | 4 | 11 | 5 | 6 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Provision for New Installation of New Transformers and Increasing capacity at 09Nos. various places under EDD-IV, Dadri in Jurisdiction of EUDC-2, Noida. (Transformer place detail mentioned in Tender form.) | [53 empty] | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Safe Carriage of Line Accessories and items releated to work issued from store 24Nos. STP 11Mtr, 28 Nos. PCC 8.5Mtr., 12Nos. LT Insulator, 410Mtr. LT ABC 3x120sqmm, 725mtr 3x95sqmm LT ABC, 1113 Mtr LT ABC 3x120sqmm, 20mtr LT PVC Alu. Cable 3.5x150sqmm, 346mtr LT XLPE Cable 3x70sqmm, 160mtr LT XLPE 1x400sqmm Cable 3 NOs. Distribution Box, 37Nos. 11 KV Disc Insulator with fitting, 51Nos. Pin Insulator with pin, 9Nos. Top Channel, 13 Nos. Dropper Channel, 622Mtr Weasel Conductor, 8Nos. S/S Base Angle, 2Nos. Indoor Termination Kit, 9 Nos. T-off Channel, 1 Nos. Cross arm, 247mtr ACSR Rabbit Conductor and any other items/accessories required for work rom Store Centre Sahibabad/Noida/Ghaziabad/Meerut/Any Store of Discom PVVNL/UPPCL to work site including safe loading and unloading at both ends. (Material Qty. are mentioned in Tender Documents.) |  | 1 | Ton | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Laying, lifting and proper sagging of ACSR Rabbit Conductor as per site requirement and fixing of all types clamps & connection complete in all respect |  | 1 | Mtr. | 100 |  |  | Excess(+) | 247 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Laying, lifting and proper sagging of ACSR Weasel Conductor as per site requirement and fixing of all types clamps & connection complete in all respect |  | 1 | Mtr. | 100 |  |  | Excess(+) | 622 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Safe Cartage of New 04 Nos. 100KVA, 4 Nos. 250 KVA Transformer and 1 No. 400KVA T/F = total 09 Nos. T/F in the areas mentioned in tender documents from Store Centre Sahibabad/Noida/Ghaziabad/Meerut/Any Store of Discom PVVNL/UPPCL to work site including safe loading and unloading at both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 9 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Intallation and commissioning of above 04 Nos. 100KVA, 4 Nos. 250 KVA Transformer and 1 No. 400KVA T/F = total 09 Nos. Transformer with complete connections in all respect. |  | 1 | Job | 100 |  |  | Excess(+) | 9 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Neutral and Body Water Level Earthing by pipe Earthing of above new Transformers as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Safe Cartage and Dismentaling of Old and Used 01 Nos. 100KVA from work Site to Store Centre Sahibabad/Noida/Ghaziabad/Meerut/Any Store of Discom PVVNL/UPPCL including safe loading and unloading at both ends. |  | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Errection and Fabrication of Single Supports 8.5mtr PCC Pole with proper grouting and concreting of pole as per RESPO and complete work in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 28 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Errection and Fabrication of Single Supports 11mtr ST Pole with GI Bottom with proper grouting and concreting of pole as per RESPO and complete work in all respect. |  | 1 | Nos. | 100 |  |  | Excess(+) | 24 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Fixing of MS Channel (Dropper) 100x50x2028 as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 13 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supply and Fixing of Stone pad 300x300x75mm as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 46 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Supply and Fixing of Suspension Clamps with bolts and Nuts as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 42 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Supply and Fixing of Holding Clamps with bolts and Nuts as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 146 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Fixing of MS Channel (Top) 125x65x2240mm as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 9 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supply and Fixing of 11 KV Fuse Set (Drop out) with Clamp as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 16 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Fixing of 11KV Disc Insulator with fittings as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 37 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Fixing of MS Channel (t-off) 125x65x1300mm as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 9 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Fixing of Poly pin Insulator with pin as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 51 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Laying and Fixing of LT PVC Cable Al 3.5x150sqmm as per site requirement. |  | 1 | Mtr. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Supply and Fixing of Alu. Lug 400mm as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22 | Supply and Fixing of Alu. Bus Bar as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | Earthing of Pole by MS earthing rod of 20x2500mm & 6SWG earthing wire etc. all material and work in the scope of contractor. |  | 1 | Nos | 100 |  |  | Excess(+) | 52 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Construction of Plinth for 03Nos. 250KVA T/F, 01Nos. 100KVA and 01 Nos. 400KVA T/f as per RESPO |  | 1 | Job | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Construction and Fabrication of Fencing with gate of 03Nos. 250KVA T/F, 01Nos. 100KVA and 01 Nos. 400KVA T/f as per RESPO |  | 1 | Job | 100 |  |  | Excess(+) | 5 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
26 | Laying, Sagging and RE-Sagging of LT ABC 3x320sqmm Cable as per site requirement with complete connections in all respect. (Place mentioned in Tender Specification and Estimate) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 410 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Laying, Sagging and RE-Sagging of LT ABC 3x95sqmm Cable as per site requirement with complete connections in all respect. (Place mentioned in Tender Specification and Estimate) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 725 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Laying, Sagging and RE-Sagging of LT ABC 3x120sqmm Cable as per site requirement with complete connections in all respect. (Place mentioned in Tender Specification and Estimate) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 1113 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Laying, Sagging of 11KV XLPE 3x70sqmm Cable as per site requirement with complete connections in all respect. (Place mentioned in Tender Specification and Estimate) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 346 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Laying, Sagging of LT XLPE 1x400sqmm Cable as per site requirement with complete connections in all respect. (Place mentioned in Tender Specification and Estimate) |  | 1 | Mtr. | 100 |  |  | Excess(+) | 160 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
31 | Fixing of Distribution Box as per RESPO with proper connection and complete work in all respect. |  | 1 | Nos | 100 |  |  | Excess(+) | 3 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Complete Chemical Earthing as per requirement. (All work and material in the scope of contractor |  | 1 | Nos. | 100 |  |  | Excess(+) | 16 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Fixing of T/F Base Angle as per RESPO. |  | 1 | Nos. | 100 |  |  | Excess(+) | 8 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
34 | Supply and Fixing of MS Nut & Bolt off size as per site requirement. |  | 1 | Kg. | 100 |  |  | Excess(+) | 56 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
35 | Supply and Fixing of Alu. Lug 150/35sqmm as per site requirement. |  | 1 | Nos. | 100 |  |  | Excess(+) | 20 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Fixing and making of 11KV Outdoor 3x70sqmm 11KV Cable Termination Kits with the help of jointer as per site requirement. (Jointer, crimping lugs and insulating tapes and other material releated to work in the scope of contractor.) only Jointing kit will be provided by the department. |  | 1 | Nos | 100 |  |  | Excess(+) | 2 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | Fixing of 11KV Cross ARM as per RESPO. |  | 1 | Nos | 100 |  |  | Excess(+) | 4 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | #VALUE! | #REF! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!

## Macros
Please Enable Macros to View BoQ information