## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo0fo0mi0[k0 dSyk’kiqj ds dk;Z{ks= es iz.kkyh lq/kkj ds vUrxZr 33@11 ds0oh0 fo¦qr midsUnz dSyk'kiqj f}rh; ls 11 ds0oh0 LorU= nkcdh u;k QhMj cukus dk dk;ZZ
Contract No: 155/w/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely cartage of ST poles (11 Mtr. Long) from ESC, SRE to the site of work including loading & unloading at both ends |  | 199 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of ACSR Dog conductor/XLPE Cable with other complete line material (Except ST poles) from ESC, SRE to the site of work including loading & unloading at both ends. |  | 22 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely cartage of New 11 KV incoming VCB CTR 600/300, 5 Amp and Outgoing VCB CTR 200/100, 5 Amp. from ESC, SRE, to the 33/11 KV S/S Kailashpur-II including loading & unloading at both ends. |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Erection of single support ST poles (11 Mtr. Long) with complete fitting of all accessories for 11 KV line as per RESPO Specifications. |  | 163 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Febraction of double pole (11 Mtr. Long) on ST Poles with complete fitting of bracings & other accessories as per RESPO Specifications. |  | 18 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Grauting stay rods by digging of pits in block of 600X600X300 mm. with new brick sand cement and blasat with nozzling of stay wire. |  | 30 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Laying, lifting, Stringing, sagging jumpering & binding of ACSR Dog conductor on ST Pole for 11 KV Line as per RESPO specifications. |  | 41500 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Earthing of ST Poles by earthing rod 20x2500 mm as per RESPO specifications. |  | 199 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Grouting of ST Pole after digging of pits in block 16x1800mm in ratio 1:4:8 with Ist class brick sand cement ballast with good quality dry river . |  | 199 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Providing X-Arm holding clamp for ST Poles made of new MS flat size 65x8 mm with nuts & bolts. |  | 125 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Providing F- clamp, for ST Poles made of new MS flat size 65x6 mm with nuts & bolts. |  | 185 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Providing Round Pole clamp for ST Poles made of new MS flat size 65x8 mm with nuts & bolts as per RESPO specifications. |  | 465 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.13 | Providing and Fixing of Stone Ped as per RESPO specifications |  | 160 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Gaurding of above 11 KV line on road crossing etc. with GI wire complete fitting in all respect. |  | 10 | Span. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing of J-Hook Clamp for XLPE with nuts & bolts made of new MS flat iron 50x6 mm |  | 150 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Painting of Pole with Red oxide & Alluminium Paint (British/Asian/enamel paint) complete in all Respect. |  | 199 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Digging the Trench 1.5 meter deep and 2 feet wide and Laying of 11 KV XLPE cable 3x300 sq.mm. in to the trench after spreading the sand into the trench and then laying of Ist class bricks into the trench and put the cable on the bricks and then covered the cable with Ist lass bricks from all three sides of cable and then filling the earth with ramming. |  | 90 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Providing and Filling the cable jointing kit Indore & outdoor type size 3x300 Sqmm. with nuts & bolts as per RESPO specification. |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Safely Shifting and installation of 11 KV New 01 No Incoming and 01 No Outgoing VCB complete with proper grouting in all respect and making cable connection in control room |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Safely cartage of New 250 KVA T/F from ESC, SRE, to the site of work including loading & unloading at both ends |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Constriction of plinth for installation of 250 kv T/F of size 1.5x1.5x1.5 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC top duly filled with sand and plastered 12mm thick in ratio 1:4 with cement and sand on outer surface of brick wall as per RESPO Specificaiton. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Safely installation of New 250 KV T/F on the plinth with proper alignment and Complete fitting including making connection 11KV/LT Line commissioning. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Water Lavel Earthing of 250 KVA T/F by boring 60 ft. deep and fixing 60 ft. GI pipe 1/2 dia (Zindal class B) and connecting with GI strip of size 40x5 mm. at the bottom of GI pipe to the T/F with providing of requireed charcoal and salt in the pipe . |  | 2 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Off shooting of tree branches for Clearence of proposed 33/11 KV line. (Approx 13 Km line) |  | 4 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information