## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer Electricity Distribution Circle-II, Saharanpur
Name of Work:fo0fo0mi0[k0 ekudem ds dk;Z{ks= es iz.kkyh lq/kkj ds vUrxZr 33@11 ds0oh0 fo¦qr midsUnz ekudem ls fuxZr 11 ds0oh0 ekudem xzkeh.k iks”kd ij ekudem dks uxj fuxe ls tksMus gsr
Contract No: 158/w/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )GST as applicable shall be paid extra
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Qty. |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 3 | 4 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | Detail of Work | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Safely cartage of PCC/ST poles up to(11 Mtr. Long) from ESC, SRE to the site of work including loading & unloading at both ends |  | 455 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Safely cartage of ACSR Rabbit conductor with other complete line material (Except PCC/ST poles 11 Mtr. Long) from ESC, SRE to the site of work including loading & unloading at both ends. |  | 20 | Ton |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Safely cartage of LT ABC (3X120+1x95+1x16 /3X95+1x70+1x16/ 3X50+1x35+1x16)sq.mm Cable from ESC, SRE to the site of work including loading & unloading at both ends |  | 8070 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
1.04 | Safely cartage of New 63 KVA T/F from ESC, SRE, to the site of work including loading & unloading by private crain at both ends |  | 2 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.05 | Safely cartage of New 100 KVA T/F from ESC, SRE, to the site of work including loading & unloading by private crain at both ends |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.06 | Safely cartage of New 250 KVA T/F from ESC, SRE, to the site of work including loading & unloading at both ends |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | Safely cartage of New 11 KV Outgoing VCB CTR 200/100, 5 Amp. from ESC, SRE, to the site of work including loading & unloading by private vehicle at both ends |  | 1 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.08 | Erection of single PCC/ST poles up to 11 Mtr. long with completing fitting of all accessories of 11 KV line as per RESPO Specifications. |  | 445 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.09 | Febraction of double pole (11/8.5 Mtr. Long) on PCC/ST Poles with complete fitting of bracings & other accessories as per RESPO Specifications. |  | 5 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.1 | Grauting & Fixing of 11 KV stay rods by digging of pits in block of 600X600X300 mm. & with new brick and nozzling with stay wire 7/8 SWG and fitting the same on the pole |  | 42 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.11 | Laying, lifting, Stringing, sagging jumpering & binding of ACSR Rabbit conductor on ST Pole for 11 KV Line as per RESPO specifications. |  | 8350 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.12 | Earthing of PCC/ST Poles by earthing rod 20x2500 mm as per RESPO specifications. |  | 40 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.13 | Grouting o f PCC/ST Pole after digging of pits in block 16x1800mm in ratio 1:4:8 with Ist class brick ballast good quality dry river . |  | 455 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.14 | Providing X-Arm clamp, E- clamp, Channel & Angle clamp, & Guarding clamp for ST Poles made of new MS flat size 65x8 mm with Nut & Bolt as per RESPO specifications. |  | 385 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.15 | Providing & fixing PG-clamp, for PCC Poles made of new MS flat size 65x6 mm with Nut & Bolt as per RESPO specifications. |  | 280 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.16 | Providing & Fixing Suspension-clamp, for PCC/ST Poles made of new MS flat size 65x6 mm with Nut & Bolt as per RESPO specifications. |  | 285 | No. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.17 | Making of breakets with Ms channel/Angale complete all respect. |  | 15 | Jop. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.18 | Providing & fixing of LT clamps for PCC/STP poles with nuts bolts made of new MS flat iron 50x6 mm with nuts bolt. |  | 230 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.19 | Providing of J-Hook Clamp PCC/STP poles with nuts bolts made of new MS flat iron 50x6 mm with nuts bolt. |  | 250 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.2 | Providing & fixing PRC connector size 50/35 sq mm. |  | 1090 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.21 | Fixing of Distribution Box of Single Phase/3-Phase on PCC Pole with providing suitable clamp and connection above Distribution Box with ABC cable connecting jumpering including with service connection. |  | 270 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.22 | Digging of trench 1.5 mtr. Deep and laying of 2 No. Parreral HDPE pipe 150 mm dia on 1 meter distance With Providing of HDPE and Laying of 2 No. Parreral 11 KV XLPE cable 3x185 sq mm in the HDPE pipe 150 mm dia on 1 meter distance The work includes digging laying of cable in underground trenches, back filling of earth, spare length of cable shall be left over and laid in the trenches in shape of 6m rings at both ends. Where the cable is to be laid across pucca/main road, 150mm dia G.I pipe will be weared over the cable in the trench for the protection of cable. |  | 220 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.23 | Providing and Filling the cable jointing kit Indore & outdoor type size 3x185 Sqmm. sq.mm as per RESPO specification. |  | 6 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.24 | Laying, lifting, Stringing, proper sagging ABC cable of size (3X120+1x95+1x16 /3X95+1x70+1x16/ 3X50+1x35+1x16) sq.mm. including fixing of all type clamps and connector . |  | 8070 | Mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.25 | Shifting, fixing and installation of 11 KV 01 No O/G VCB at 11 KV S/S Manakmau complete with proper alignment and concreting all respect and making cable connection. |  | 1 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.26 | Removal of 25/63/100 KVA T/F from the existing D/P after opening HT & LT connection and with shifting the T/F from the site to ESC SRE with loading & unloading at both ends. |  | 7 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.27 | Dismantaling of old & used 11 O/G VCB Carrige from 33/11 Manakmau to ESC SRE with including loading & unloading at both ends. |  | 1 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.28 | Providing & Fixing Steel make good quality Lock |  | 272 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.29 | Safely installation of New 63/100 KV T/F on the D/P with proper alignment and Complete fitting including making connection 11KV/LT Line . |  | 7 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.3 | Constriction of plinth for installation of 250 kv T/F of size 1.5x1.5x1.5 mtr made of 9”inch thick wall in all four sides with 6”inch thick RCC top duly filled with sand and plastered 12mm thick in ratio 1:4 with cement and sand on outer surface of brick wall as per RESPO Specificaiton. |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.31 | Safely installation of New 250 KV T/F on the plinth with proper alignment and Complete fitting including making connection 11KV/LT Line commissioning. |  | 5 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.32 | Water Lavel Earthing of 250 KVA T/F by boring 60 ft. deep and fixing 60 ft. GI pipe 1/2 dia (Zindal class B) and connecting with GI strip of size 40x5 mm. at the bottom of GI pipe to the T/F with providing of requireed charcoal and salt in the pipe . |  | 10 | No |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.33 | Removal of ACSR Weasel conductor from the Existing 11KV/ LT lines with making roll of conductor and Safely carrige from site to ESC, SRE/J.E (store) including loading and unloading at both ends. |  | 1900 | Mtr |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
1.34 | Off shooting of tree branches for Clearence of proposed 33/11 KV line. (Approx 13 Km line). |  | 4 | Job |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information