## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-I, Muzaffarnagar, under the Business Plan 2024-25, Replacement of Old/Jar-Jar Conductor of 11 KV Dhandeda Feeder emanating from 33/11 KV Sub-station Makhiyali from Abdul Qasim's PTW to Bhagwanpuri and Dhandheda "T" to Dhobiwale Double Pole and installation of poles in the long span, Laying underground cable from safety point of view for the crossing of 11 KV line near the sub-station (02 no. crossing) located on Bhopa Road and at the bus stand (02 no. crossing) from village Jatameda under 33/11 KV Sub-station Makhiyali, Strengthening/Maintenance the lines from safety reason for the crossing of 11 KV lines located on Bhopa Road under 33/11 KV sub-station Bhopa, Replacement of Old/Jar-Jar Conductor of 11 KV Jatmujheda feeder line emanating from 33/11 KV sub-station Makhiyali from Tigri "T" point to Kolhu of Bakharnagar Shamsher and Jatmujheda “T” to 250 KVA distribution transformer and installation of poles in long span, Replacement of Old/Jar-Jar Conductor of 11 KV Rudkali feeder emanating from 33/11 KV sub-station Jolly, and replacement of damaged poles Replacement of Old/Jar-Jar Conductor of 11 KV Nunakheda feeder line emanating from 33/11 KV sub-station Baghra from Ghasita Double Pole to Primary school and installation of poles in the long span, Replacement of Old/Jar-Jar Conductor of 11 KV Nunakheda feeder line emanating from 33/11 KV sub-station Baghra from Ghasita Double Pole to Vallab Double Pole and installation of pole in long span, Replacement of Old/Jar-Jar Conductor of 11 KV Titavi feeder line emanating from 33/11 KV sub-station Baghra from Government Tube Well No. 14 to Government Tube Well No. 37 and installation of poles in the long span., the work to be done through external agency.
Contract No: 200/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | PCC Pole 8.5 Meter |  | 131 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | PCC Pole 11 Meter |  | 3 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | ACSR Rabbit Conductor |  | 36959 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 11 KV XLPE CABLE 3x185 Sqmm |  | 300 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 11 KV OUTDOOR CABLE JOINTING KIT 3x185 Sqmm |  | 8 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | LINE MATERIAL (Insulator, Disc, X-Arm, ANGLE, CHANNEL ETC.) |  | 36 | Quintal | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete work of Laying/Installing ACSR RABBIT CONDUCTOR on the Established electric poles installed as per RESPO norms. Including opening / dismantling of old / damaged conductor of the line |  | 36959 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.02 | Complete work of UNDERGROUND Laying / Installing 11 KV XLPE CABLE 3x185 Sqmm on the site as per RESPO norms. |  | 200 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | Complete work of Laying / Installing 11 KV XLPE CABLE 3x185 Sqmm by Installing with G.I. Pipe (16 Mtr.) on the Established electric poles installed as per RESPO norms. |  | 100 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.04 | Work of Fixing/Installing Single Pole of the PCC Pole installed at the site support with proper alignment & upto depth of one sixth of length of pole with proper fabrication as per RESPO standards. Which includes installation of all accessories like pin/disc insulator, angle channel etc. and decentralized material will be provide by the Contractor/Firm. |  | 124 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.05 | Work of Fixing/Installing Double Pole of the PCC Pole installed at the site support with proper alignment & upto depth of one sixth of length of pole with proper fabrication as per RESPO standards. Which includes installation of all accessories like pin/disc insulator, angle channel etc. and decentralized material will be provide by the Contractor/Firm. |  | 5 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.06 | Replace Damage V-Type Cross-Arm to New 11 KV V-Type X-Arm Fixing/installation on Established Single Pole of Line As per the RESPO standards. |  | 19 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.07 | Complete work of installation of Stay Set Complete on Established Double pole & Single Pole of Line As per the RESPO standards. |  | 27 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.08 | Complete work of Installing and Commissioning of 11 KV OUTDOOR CABLE JOINTING KIT 3x185 Sqmm as per RESPO standards. |  | 8 | No | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.09 | Complete work of Pole concreting on Established Double Pole / Single Pole as per RESPO standards. In which cement, sand and other necessary decentralized material will be provide by the Contractor/Firm. |  | 134 | Per Pole | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.1 | Complete work of Pole Guarding by installing G.I.Wire and MS Angle on Established Pole as per RESPO standards. In which necessary decentralized material will be provide by the Contractor/Firm. |  | 24 | Span to Span | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.11 | Complete work of cutting and Chopping the branches of tree standing between the lines established on the site. |  | 6 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.12 | Supply of NUT & BOLT as per RESPO standards |  | 200 | K.G. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.13 | Supply of F-BRACKET as per RESPO standards |  | 129 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.14 | Supply of X-ARM HOLDING CLAMP as per RESPO standards |  | 126 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.15 | Supply of CLAMP as per RESPO standards |  | 127 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.16 | Supply of GI Pipe 6" DIA as per RESPO standards |  | 16 | Mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.17 | SUNDRIES ITEMS |  | 8 | JOB | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | ACSR CONDUCTOR (OLD & USED / SCRAP) |  | 4495 | K.G. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | X-ARM (OLD & USED/SCRAP) |  | 24 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.03 | ST POLE DAMAGE |  | 3 | No | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information