## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer, Electricity Distribution Circle-I Muzaffarnagar
Name of Work: Under the work area of Executive Engineer, Electricity Distribution Division-I, Muzaffarnagar, under the Business Plan 2024-25, Replacement of old/damaged main33 KV VCB Industrial No. 1 feeder installed at 33/11 KV sub-station Nairana and installation work of CT/PT/Structure/Lighting arrester etc., Replacement of old/damaged 33 KV VCB Industrial No. 1 feeder M/s Mahalaxmi installed at 33/11 KV sub-station Nairana and installation work of CT/PT/Structure/Lighting arrester etc., Replacement of old/damaged 33 KV VCB Industrial No. 1 feeder M/s Shakti Craft installed at 33/11 KV sub-station Nairana and installation work of CT/PT/Structure/Lighting arrester etc., Installation of New 33 KV VCB for 10 MVA Power Transformer installed at 33/11 KV sub-station Kutba and installation work of 33 KV Fuse set & Replacement of 33 KV Damage CT to New 33 KV CT, the work to be done through external agency.
Contract No: 204/2023-24/EDC-I/MZN
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only)
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Excluding GST | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 5 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 6 | 54 | 7
1 | The work of delivering following material from the Departmental store center to the site in which includes loading and unloading on both sides. (distance 0 to 50 km) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | 33 KV VCB 750 MVA with STEEL STRUCTURE |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.02 | 33 KV PT as per SIZE |  | 9 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | 33 KV CT as per SIZE |  | 12 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.04 | 33 KV LIGHTNING ARRESTAR |  | 12 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.05 | 33 KV FUSE SET |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.06 | 33 KV LINE ISOLATOR 800 Amp. |  | 2 | SET | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.07 | 33 KV BUS ISOLATOR |  | 1 | SET | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2 | Complete work of installing the electrical material received from the store center at the site. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Complete construction work of Plinth and Foundation / Structure for installing 33 KV VCB at 33/11 KV sub-station. as per RESPO standards. In which bricks, sand, cement and other decentralized materials will be provide by the contractor / Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.02 | Complete construction work of Plinth and Foundation / Structure for installing 33 KV PT at 33/11 KV sub-station. as per RESPO standards. In which bricks, sand, cement and other decentralized materials will be provide by the contractor / Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.03 | Complete construction work of Plinth and Foundation / Structure for installing 33 KV CT at 33/11 KV sub-station. as per RESPO standards. In which bricks, sand, cement and other Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | Complete construction work of Plinth and Foundation / Structure for installing 33 KV FUSE SET at 33/11 KV sub-station. as per RESPO standards. In which bricks, sand, cement and other Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.05 | Complete construction work of Plinth and Foundation / Structure for installing 33 KV BUS ISOLATOR at 33/11 KV sub-station. as per RESPO standards. In which bricks, sand, cement and other Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.06 | Complete work of Removal of old / damaged 33 KV VCB installed at 33/11 KV sub-station and installation and commissioning of new 33 KV VCB. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.07 | Complete work of Removal of old / damaged 33 KV CT installed at 33/11 KV sub-station and installation and commissioning of new 33 KV CT. as per RESPO standards. |  | 9 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.08 | Complete work of installation and commissioning of new 33 KV VCB at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.09 | Complete work of installation and commissioning of new 33 KV CT at 33/11 KV sub-station. as per RESPO standards. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | Complete work of installation and commissioning of new 33 KV PT at 33/11 KV sub-station. as per RESPO standards. |  | 9 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.11 | Complete work of installation and commissioning of new 33 KV LIGHTNING ARRESTAR at 33/11 KV sub-station. as per RESPO standards. |  | 12 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.12 | Complete work of installation and commissioning of new 33 KV FUSE SET at 33/11 KV sub-station. as per RESPO standards. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.13 | Complete work of installation and commissioning of new 33 KV LINE ISOLATOR 800 Amp. at 33/11 KV sub-station. as per RESPO standards. |  | 2 | SET | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.14 | Complete work of installation and commissioning of new 33 KV BUS ISOLATOR at 33/11 KV sub-station. as per RESPO standards. |  | 1 | SET | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.15 | Complete work of Laying/ Installation CONTROL CABLE 4x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 4x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 900 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.16 | Complete work of Laying/ Installation CONTROL CABLE 2x2.5 Sqmm at 33/11 KV sub-station. as per RESPO standards. In which Control Cable 2x2.5 Sqmm and other Decentralized materials will be provide by the contractor / Firm. |  | 400 | Mtr. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.17 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV VCB, at 33/11 KV substation. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.18 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV CT, at 33/11 KV substation. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 2 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.19 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV PT, at 33/11 KV substation. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 3 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.2 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV 33 KV LIGHTNING ARRESTAR, at 33/11 KV substation. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 4 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.21 | Complete work of Pipe Earthing (upto Water Level) of Established 33 KV 33 KV 33 KV BUS ISOLATOR, at 33/11 KV substation. as per RESPO standards. Decentralized materials will be provide by the contractor / Firm. |  | 1 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.22 | Supply of CLAMP L TYPE with SS NUT & BOLTS LA, CT, PT, VCB & ETC. as per RESPO standards. |  | 172 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.23 | Supply of PG CLAMP with SS NUT & BOLTS as per RESPO standards. |  | 52 | NO | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | As per rules, the work of delivering the old material includes loading and unloading on both sides from the site to Store Center Muzaffarnagar. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 33 KV VCB (SCRAP/DAMAGE) |  | 3 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | 33 KV CT (SCRAP/DAMAGE) |  | 9 | NO | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information